## Sheet1
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Arlington | Carl Road | A001 | 010671 | Valve | Ball | [11 empty] | 2", ANSI 300
Arlington | Carl Road | B102 | 010672 | Valve | Gate |  | SPX | M & J | M303A | 1000002986981 | [6 empty] | 8", ANSI 300 | FE-FE
Arlington | Carl Road | B102 | 010673 | Gearbox | Bevel Gear Operator
Arlington | Carl Road | B101 | 010674 | Valve | Gate |  | SPX | M & J | M303A | 1000002986981 | [6 empty] | 8", ANSI 300 | FE-FE
Arlington | Carl Road | B101 | 010675 | Gearbox | Bevel Gear Operator
Arlington | Carl Road | FY401 | 010676 | Flow Meter | Ultrasonic |  | Siemens
Arlington | Carl Road | LSHH-501 | 010677 | Switch | Level
Arlington | Carl Road | LSHH-502 | 010678 | Switch | Level
Arlington | Carl Road | PIT-601 | 010679 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CG5A22A1AM5B4DFE5
Arlington | Carl Road | PCV601 | 010680 | Valve | Surge Relief |  | Daniel | [9 empty] | 6", ANSI 300 | FE-FE
Arlington | Carl Road | TIT-701 | 010681 | Transmitter | Temperature |  | Rosemount | Rosemount | 3144PD1A1E5M5T1C2XA
Arlington | Carl Road | VM-01 | 010682 | Transmitter | Hazardous Atmosphere |  | General Monitors |  | S4000CH