## Slots0825
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
GLN | Glenpool | 10 | Gate Valve | PM
GLN | Glenpool | 390 | Gate Valve | PM
GLN | Glenpool | B110 | Gate Valve | PM
GLN | Glenpool | B111 | Gate Valve | PM
GLN | Glenpool | B112 | Jump Around Valve to 20" Magellan Control Valve | DOT | Pipeline Block Valve
GLN | Glenpool | C133 | Valve | PM
GLN | Glenpool | C136 | Valve | PM
GLN | Glenpool | FCV403 | Control Valve | PM
GLN | Glenpool | LS-520 | Tank 320 Level Switch | PM
GLN | Glenpool | LS-521 | Tank 321 Level Switch | PM
GLN | Glenpool | LS-522 | Tank 322 Level Switch | PM
GLN | Glenpool | LS-523 | Tank 323 Level Switch | PM
GLN | Glenpool | LS-524 | Tank 324 Level Switch | PM
GLN | Glenpool | LS-525 | Tank 325 Level Switch | PM
GLN | Glenpool | LS-526 | Tank 326 Level Switch | PM
GLN | Glenpool | LS-530 | Tank 330 Level Switch | PM
GLN | Glenpool | LS-531 | Tank 331 Level Switch | PM
GLN | Glenpool | LS-532 | Tank 332 Level Switch | PM
GLN | Glenpool | LS-533 | Tank 333 Level Switch | PM
GLN | Glenpool | LS-534 | Tank 334 Level Switch | PM
GLN | Glenpool | LS-535 | Tank 335 Level Switch | PM
GLN | Glenpool | LS-536 | Tank 336 Level Switch | PM
GLN | Glenpool | LS-537 | Tank 337 Level Switch | PM
GLN | Glenpool | LS-550 | Tank 350 Level Switch | PM
GLN | Glenpool | LS-551 | Tank 351 Level Switch | PM
GLN | Glenpool | LS-552 | Tank 352 Level Switch | PM
GLN | Glenpool | LS-553 | Tank 353 Level Switch | PM
GLN | Glenpool | LS-554 | Tank 354 Level Switch | PM
GLN | Glenpool | LS-560 | Tank 360 Level Switch | PM
GLN | Glenpool | LS-561 | Tank 361 Level Switch | PM
GLN | Glenpool | LS-562 | Tank 362 Level Switch | PM
GLN | Glenpool | LS-570 | Tank 370 Level Switch | PM
GLN | Glenpool | LS-571 | Tank 371 Level Switch | PM
GLN | Glenpool | LS-572 | Tank 372 Level Switch | PM
GLN | Glenpool | LS-573 | Tank 373 Level Switch | PM
GLN | Glenpool | LS-574 | Tank 374 Level Switch | PM
GLN | Glenpool | LS-575 | Tank 375 Level Switch | PM
GLN | Glenpool | LSHH-551 | Level Switch High | PM
GLN | Glenpool | M169 | Gate Valve | PM
GLN | Glenpool | PCV601 | Control Valve | PM
GLN | Glenpool | PCV602 | Control Valve | PM
GLN | Glenpool | PSH-617 | Pressure Switch | PM
GLN | Glenpool | PSHH-618 | Pressure Switch High High | PM
GLN | Glenpool | PSL-616 | Pressure Switch Low | PM
GLN | Glenpool | PT-612 | Pressure Transmitter | PM
GLN | Glenpool | PT-639 | Pressure Transmitter | PM
GLN | Glenpool | R101 | Brodie Valve | PM
GLN | Glenpool | R-104 | Strainer | PM
GLN | Glenpool | RV1302 | Valve | PM
GLN | Glenpool | RV1310 | Valve | PM
GLN | Glenpool | TT-701 | Tank 320 Temperature Transmitter | PM
GLN | Glenpool | TT-702 | Tank 321 Temperature Transmitter | PM
GLN | Glenpool | TT-703 | Tank 322 Temperature Transmitter | PM
GLN | Glenpool | TT-704 | Tank 323 Temperature Transmitter | PM
GLN | Glenpool | TT-705 | Tank 324 Temperature Transmitter | PM
GLN | Glenpool | TT-706 | Tank 325 Temperature Transmitter | PM
GLN | Glenpool | TT-707 | Tank 326 Temperature Transmitter | PM
GLN | Glenpool | TT-708 | Tank 330 Temperature Transmitter | PM
GLN | Glenpool | TT-709 | Tank 331 Temperature Transmitter | PM
GLN | Glenpool | TT-710 | Tank 332 Temperature Transmitter | PM
GLN | Glenpool | TT-711 | Tank 333 Temperature Transmitter | PM
GLN | Glenpool | TT-712 | Tank 334 Temperature Transmitter | PM
GLN | Glenpool | TT-713 | Tank 335 Temperature Transmitter | PM
GLN | Glenpool | TT-714 | Tank 336 Temperature Transmitter | PM
GLN | Glenpool | TT-715 | Tank 337 Temperature Transmitter | PM
GLN | Glenpool | TT-716 | Tank 360 Temperature Transmitter | PM
GLN | Glenpool | TT-717 | Tank 361 Temperature Transmitter | PM
GLN | Glenpool | TT-718 | Tank 362 Temperature Transmitter | PM
GLN | Glenpool | TT-719 | Tank 370 Temperature Transmitter | PM
GLN | Glenpool | TT-720 | Tank 371 Temperature Transmitter | PM
GLN | Glenpool | TT-721 | Tank 372 Temperature Transmitter | PM
GLN | Glenpool | TT-722 | Tank 373 Temperature Transmitter | PM
GLN | Glenpool | TT-723 | Tank 374 Temperature Transmitter | PM
GLN | Glenpool | TT-724 | Tank 375 Temperature Transmitter | PM
GLN | Glenpool | TT-725 | Tank 350 Temperature Transmitter | PM
GLN | Glenpool | TT-726 | Tank 351 Temperature Transmitter | PM
GLN | Glenpool | TT-727 | Tank 352 Temperature Transmitter | PM
GLN | Glenpool | TT-728 | Tank 353 Temperature Transmitter | PM
GLN | Glenpool | TT-729 | Tank 354 Temperature Transmitter | PM
GLN | Glenpool | TT-790 | Tank 390 Temperature Transmitter | PM
GLN | Glenpool | TT-791 | Tank 391 Temperature Transmitter | PM
GLN | Glenpool | VS-103 | Vibration Switch | PM
GLN | Glenpool | VS-104 | Vibration Switch | PM
GLN | Glenpool | VT-104 | Vibration Transmitter | PM
GLN | Glenpool | X105 | Gate Valve | PM
GLN | Glenpool | B102 | Gate Valve | PM
GLN | Glenpool | B106 | Gate Valve | PM
GLN | Glenpool | B109 | Gate Valve | PM
GLN | Glenpool | C132 | Valve | PM
GLN | Glenpool | C133 | Valve | PM
GLN | Glenpool | C135 | Valve | PM
GLN | Glenpool | C136 | Valve | PM
GLN | Glenpool | M179 | Magellan Gasoline Line Block Valve | DOT | Pipeline Block Valve
GLN | Glenpool | M180 | Gate Valve | PM
GLN | Glenpool | M181 | Gate Valve | PM
GLN | Glenpool | S101 | Gate Valve | PM
GLN | Glenpool | S102 | Gate Valve | PM
GLN | Glenpool | S103 | Gate Valve | PM
GLN | Glenpool | HOV180 | Magellan Holley Connection Block Valve | DOT | Pipeline Block Valve

## Equip0825
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | SIZE - CLASS | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Glenpool | Glenpool | 10 | 012043 | Valve | Gate
Glenpool | Glenpool | 10 | 012044 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 390 | 012045 | Valve | Gate
Glenpool | Glenpool | 390 | 012046 | Valve | Gate
Glenpool | Glenpool | B102 | 012047 | Valve | Gate |  | Cameron | Grove | G4 |  |  |  | 1344 |  |  |  |  | 20", ANSI 400
Glenpool | Glenpool | B106 | 012048 | Valve | Gate |  | Cameron | Grove | G5 |  |  |  | SA-300 |  |  |  |  | 16", ANSI 150
Glenpool | Glenpool | B109 | 012049 | Valve | Gate |  | WKM | [5 empty] | SA-299 |  |  |  |  | 14", ANSI 150
Glenpool | Glenpool | B110 | 012050 | Valve | Gate
Glenpool | Glenpool | B110 | 012051 | Valve Actuator | Hydraulic
Glenpool | Glenpool | B111 | 012052 | Valve | Gate
Glenpool | Glenpool | B111 | 012053 | Valve Actuator | Hydraulic
Glenpool | Glenpool | B112 | 012054 | Valve | Gate
Glenpool | Glenpool | B112 | 012055 | Valve Actuator | Hydraulic
Glenpool | Glenpool | C132 | 012056 | Valve | [13 empty] | 16", ANSI 150
Glenpool | Glenpool | C133 | 012057 | Valve
Glenpool | Glenpool | C133 | 012058 | Valve |  |  | Tom Wheatley | Tom Wheatley | Figure 15WC12 | [8 empty] | 12", ANSI 150
Glenpool | Glenpool | C135 | 012059 | Valve |  |  | Tom Wheatley | Tom Wheatley | 30FOW15F | [8 empty] | 30", ANSI 150
Glenpool | Glenpool | C136 | 012060 | Valve
Glenpool | Glenpool | C136 | 012061 | Valve |  |  | Tom Wheatley | Tom Wheatley | Figure 55 (Swing) |  |  |  | 10553 |  |  |  |  | 20", ANSI 300
Glenpool | Glenpool | FCV403 | 012062 | Valve | Control
Glenpool | Glenpool | LS-520 | 012063 | Switch | Level
Glenpool | Glenpool | LS-521 | 012064 | Switch | Level
Glenpool | Glenpool | LS-522 | 012065 | Switch | Level
Glenpool | Glenpool | LS-523 | 012066 | Switch | Level
Glenpool | Glenpool | LS-524 | 012067 | Switch | Level
Glenpool | Glenpool | LS-525 | 012068 | Switch | Level
Glenpool | Glenpool | LS-530 | 012069 | Switch | Level
Glenpool | Glenpool | LS-531 | 012070 | Switch | Level
Glenpool | Glenpool | LS-532 | 012071 | Switch | Level
Glenpool | Glenpool | LS-533 | 012072 | Switch | Level
Glenpool | Glenpool | LS-534 | 012073 | Switch | Level
Glenpool | Glenpool | LS-535 | 012074 | Switch | Level
Glenpool | Glenpool | LS-536 | 012075 | Switch | Level
Glenpool | Glenpool | LS-537 | 012076 | Switch | Level
Glenpool | Glenpool | LS-550 | 012077 | Switch | Level
Glenpool | Glenpool | LS-551 | 012078 | Switch | Level
Glenpool | Glenpool | LS-552 | 012079 | Switch | Level
Glenpool | Glenpool | LS-553 | 012080 | Switch | Level
Glenpool | Glenpool | LS-554 | 012081 | Switch | Level
Glenpool | Glenpool | LS-560 | 012082 | Switch | Level
Glenpool | Glenpool | LS-561 | 012083 | Switch | Level
Glenpool | Glenpool | LS-562 | 012084 | Switch | Level
Glenpool | Glenpool | LS-570 | 012085 | Switch | Level
Glenpool | Glenpool | LS-571 | 012086 | Switch | Level
Glenpool | Glenpool | LS-572 | 012087 | Switch | Level
Glenpool | Glenpool | LS-573 | 012088 | Switch | Level
Glenpool | Glenpool | LS-573 | 012089 | Switch | Level
Glenpool | Glenpool | LS-574 | 012090 | Switch | Level
Glenpool | Glenpool | LS-575 | 012091 | Switch | Level
Glenpool | Glenpool | LSHH-551 | 012092 | Switch | Level
Glenpool | Glenpool | M169 | 012093 | Valve | Gate
Glenpool | Glenpool | M169 | 012094 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M179 | 012095 | Valve | Gate
Glenpool | Glenpool | M180 | 012096 | Valve | Gate |  | Chronister | Chronister |  |  |  |  | 7057 |  |  |  |  | 12", ANSI 150
Glenpool | Glenpool | M181 | 012097 | Valve | Gate |  | Cameron | Grove | G4 |  |  |  | 7171 |  |  |  |  | 16", ANSI 150
Glenpool | Glenpool | PCV601 | 012098 | Valve | Control
Glenpool | Glenpool | PCV601 | 012099 | Valve Actuator | Electric
Glenpool | Glenpool | PCV602 | 012100 | Valve | Control
Glenpool | Glenpool | PSH-617 | 012101 | Switch | Pressure
Glenpool | Glenpool | PSHH-618 | 012102 | Switch | Pressure
Glenpool | Glenpool | PSL-616 | 012103 | Switch | Pressure
Glenpool | Glenpool | PT-612 | 012104 | Transmitter | Pressure
Glenpool | Glenpool | PT-639 | 012105 | Transmitter | Pressure
Glenpool | Glenpool | R101 | 012106 | Valve
Glenpool | Glenpool | R-104 | 012107 | Strainer | [13 empty] | 4", ANSI 300
Glenpool | Glenpool | RV1302 | 012108 | Valve
Glenpool | Glenpool | RV1310 | 012109 | Valve
Glenpool | Glenpool | S101 | 012110 | Valve | Gate |  | WKM | SAF-T-SEAL | UP302RP | [8 empty] | 24", ANSI 300
Glenpool | Glenpool | S102 | 012111 | Valve | Gate |  | WKM | SAF-T-SEAL | UP302RP | [8 empty] | 20", ANSI 300
Glenpool | Glenpool | S103 | 012112 | Valve | Gate |  | WKM | SAF-T-SEAL | UP102RP | [8 empty] | 24", ANSI 150
Glenpool | Glenpool | TT-701 | 012113 | Transmitter | Temperature
Glenpool | Glenpool | TT-702 | 012114 | Transmitter | Temperature
Glenpool | Glenpool | TT-703 | 012115 | Transmitter | Temperature
Glenpool | Glenpool | TT-704 | 012116 | Transmitter | Temperature
Glenpool | Glenpool | TT-705 | 012117 | Transmitter | Temperature
Glenpool | Glenpool | TT-706 | 012118 | Transmitter | Temperature
Glenpool | Glenpool | TT-707 | 012119 | Transmitter | Temperature
Glenpool | Glenpool | TT-708 | 012120 | Transmitter | Temperature
Glenpool | Glenpool | TT-709 | 012121 | Transmitter | Temperature
Glenpool | Glenpool | TT-710 | 012122 | Transmitter | Temperature
Glenpool | Glenpool | TT-711 | 012123 | Transmitter | Temperature
Glenpool | Glenpool | TT-712 | 012124 | Transmitter | Temperature
Glenpool | Glenpool | TT-713 | 012125 | Transmitter | Temperature
Glenpool | Glenpool | TT-714 | 012126 | Transmitter | Temperature
Glenpool | Glenpool | TT-715 | 012127 | Transmitter | Temperature
Glenpool | Glenpool | TT-716 | 012128 | Transmitter | Temperature
Glenpool | Glenpool | TT-717 | 012129 | Transmitter | Temperature
Glenpool | Glenpool | TT-718 | 012130 | Transmitter | Temperature
Glenpool | Glenpool | TT-719 | 012131 | Transmitter | Temperature
Glenpool | Glenpool | TT-720 | 012132 | Transmitter | Temperature
Glenpool | Glenpool | TT-721 | 012133 | Transmitter | Temperature
Glenpool | Glenpool | TT-722 | 012134 | Transmitter | Temperature
Glenpool | Glenpool | TT-722 | 012135 | Transmitter | Temperature
Glenpool | Glenpool | TT-723 | 012136 | Transmitter | Temperature
Glenpool | Glenpool | TT-724 | 012137 | Transmitter | Temperature
Glenpool | Glenpool | TT-725 | 012138 | Transmitter | Temperature
Glenpool | Glenpool | TT-726 | 012139 | Transmitter | Temperature
Glenpool | Glenpool | TT-727 | 012140 | Transmitter | Temperature
Glenpool | Glenpool | TT-728 | 012141 | Transmitter | Temperature
Glenpool | Glenpool | TT-729 | 012142 | Transmitter | Temperature
Glenpool | Glenpool | TT-790 | 012143 | Transmitter | Temperature
Glenpool | Glenpool | TT-791 | 012144 | Transmitter | Temperature
Glenpool | Glenpool | VS-103 | 012145 | Switch | Vibration
Glenpool | Glenpool | VS-104 | 012146 | Switch | Vibration
Glenpool | Glenpool | VT-104 | 012147 | Transmitter | Vibration
Glenpool | Glenpool | X105 | 012148 | Valve | Gate | [7 empty] | SA-274 |  |  |  |  | 16", ANSI 300
Glenpool | Glenpool | X105 | 012149 | Valve Actuator | Electric
Glenpool | Glenpool | HOV180 | 012150 | Valve | Gate
Glenpool | Glenpool | HOV180 | 012151 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 1310 | 012152 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 1311 | 012153 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 1320 | 012154 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 1321 | 012155 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 1330 | 012156 | Valve Actuator | Hydraulic
Glenpool | Glenpool | 1331 | 012157 | Valve Actuator | Hydraulic
Glenpool | Glenpool | B101 | 012158 | Valve Actuator | Hydraulic
Glenpool | Glenpool | B103 | 012159 | Valve Actuator | Hydraulic
Glenpool | Glenpool | B104 | 012160 | Valve Actuator | Hydraulic
Glenpool | Glenpool | B108 | 012161 | Valve Actuator | Hydraulic
Glenpool | Glenpool | BP101 | 012162 | Valve Actuator | Hydraulic
Glenpool | Glenpool | BP102 | 012163 | Valve Actuator | Hydraulic
Glenpool | Glenpool | BP103 | 012164 | Valve Actuator | Hydraulic
Glenpool | Glenpool | BP104 | 012165 | Valve Actuator | Hydraulic
Glenpool | Glenpool | BP105 | 012166 | Valve Actuator | Hydraulic
Glenpool | Glenpool | BP106 | 012167 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M101 | 012168 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M102 | 012169 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M103 | 012170 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M104 | 012171 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M105 | 012172 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M106 | 012173 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M107 | 012174 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M108 | 012175 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M109 | 012176 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M110 | 012177 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M111 | 012178 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M112 | 012179 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M113 | 012180 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M114 | 012181 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M115 | 012182 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M116 | 012183 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M117 | 012184 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M118 | 012185 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M119 | 012186 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M120 | 012187 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M121 | 012188 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M122 | 012189 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M123 | 012190 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M124 | 012191 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M125 | 012192 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M126 | 012193 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M127 | 012194 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M129 | 012195 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M131 | 012196 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M132 | 012197 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M133 | 012198 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M134 | 012199 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M135 | 012200 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M136 | 012201 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M137 | 012202 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M138 | 012203 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M139 | 012204 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M140 | 012205 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M141 | 012206 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M142 | 012207 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M143 | 012208 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M144 | 012209 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M145 | 012210 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M146 | 012211 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M147 | 012212 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M148 | 012213 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M150 | 012214 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M152 | 012215 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M153 | 012216 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M154 | 012217 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M155 | 012218 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M156 | 012219 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M157 | 012220 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M158 | 012221 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M159 | 012222 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M160 | 012223 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M161 | 012224 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M162 | 012225 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M163 | 012226 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M164 | 012227 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M165 | 012228 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M166 | 012229 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M167 | 012230 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M168 | 012231 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M170 | 012232 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M172 | 012233 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M173 | 012234 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M174 | 012235 | Valve Actuator | Hydraulic
Glenpool | Glenpool | M175 | 012236 | Valve Actuator | Hydraulic
Glenpool | Glenpool | P101 | 012237 | Valve Actuator | Hydraulic
Glenpool | Glenpool | P102 | 012238 | Valve Actuator | Hydraulic
Glenpool | Glenpool | P103 | 012239 | Valve Actuator | Hydraulic
Glenpool | Glenpool | P104 | 012240 | Valve Actuator | Hydraulic
Glenpool | Glenpool | X101 | 012241 | Valve Actuator | Hydraulic
Glenpool | Glenpool | X102 | 012242 | Valve Actuator | Hydraulic
Glenpool | Glenpool | X103 | 012243 | Valve Actuator | Hydraulic