## Sheet1
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Arlington | Irving | A8 | 010708 | Valve | Ball
Arlington | Irving | A9 | 010709 | Valve | Ball
Arlington | Irving | B104 | 010710 | Valve | Plug
Arlington | Irving | B104 | 010711 | Valve Actuator | Electric
Arlington | Irving | B105 | 010712 | Valve | Gate
Arlington | Irving | B105 | 010713 | Gearbox | Bevel Gear Operator
Arlington | Irving | BP101 | 010714 | Valve Actuator | Electric
Arlington | Irving | BP102 | 010715 | Valve Actuator | Electric
Arlington | Irving | BP103 | 010716 | Valve Actuator | Electric
Arlington | Irving | C110 | 010717 | Valve | Swing Check
Arlington | Irving | DT-302 | 010718 | Transmitter | Density
Arlington | Irving | DT-303 | 010719 | Transmitter | Density
Arlington | Irving | M14 | 010720 | Flow Meter | Turbine
Arlington | Irving | PCV605 | 010721 | Valve Actuator | Electraulic
Arlington | Irving | PIT-606 | 010722 | Transmitter | Pressure
Arlington | Irving | PIT-607 | 010723 | Transmitter | Pressure
Arlington | Irving | PIT-608 | 010724 | Transmitter | Pressure
Arlington | Irving | PIT-609 | 010725 | Transmitter | Pressure
Arlington | Irving | TIT-708 | 010726 | Transmitter | Temperature
Arlington | Irving | TRP-101 | 010727 | Trap
Arlington | Irving | TRP-102 | 010728 | Trap
Arlington | Irving | TRV-110 | 010729 | Thermal Relief
Arlington | Irving | TRV-111 | 010730 | Thermal Relief
Arlington | Irving | TRV-112 | 010731 | Thermal Relief
Arlington | Irving | TT-702 | 010732 | Transmitter | Temperature
Arlington | Irving | TT-703 | 010733 | Transmitter | Temperature
Arlington | Irving | BS-1 | 010734 | Battery Cells | 24VDC