## New Equipment
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Hammond | Peotone | B1 | 012314 | Valve | Plug |  |  |  | 241RF | 120199591002 | [6 empty] | 3", ANSI 600 | FE-FE
Hammond | Peotone | B103 | 012315 | Valve | Gate |  | SPX | M & J | M303A | 1000002952892 | [6 empty] | 20", ANSI 600 | FE-FE
Hammond | Peotone | B103 | 012316 | Gearbox | Bevel Gear Operator
Hammond | Peotone | B105 | 012317 | Valve | Ball |  |  |  | B5 | 120425228-1 | [6 empty] | 10", ANSI 600 | FE-FE
Hammond | Peotone | B105 | 012318 | Gearbox | Quarter Turn
Hammond | Peotone | B105 | 012319 | Valve Actuator | Electric
Hammond | Peotone | B106 | 012320 | Valve | Ball |  |  |  | B5 | 120425230-1 | [6 empty] | 10", ANSI 600 | FE-FE
Hammond | Peotone | B106 | 012321 | Gearbox | Quarter Turn
Hammond | Peotone | B107 | 012322 | Valve | Ball |  |  |  | B5 | 120425230-2 | [6 empty] | 10", ANSI 600 | FE-FE
Hammond | Peotone | B107 | 012323 | Gearbox | Quarter Turn
Hammond | Peotone | B108 | 012324 | Valve | Plug |  |  |  | 241-202G | 120460968004 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | B108 | 012325 | Valve Actuator | Electric
Hammond | Peotone | B109 | 012326 | Valve | Plug |  | Cameron |  | 241RF | 120383685002 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | B110 | 012327 | Valve | Expanding Gate |  | SPX | M & J | EG54 | 1000002953497 | [6 empty] | 3", ANSI 600 | FE-FE
Hammond | Peotone | B110 | 012328 | Valve Actuator | Electric
Hammond | Peotone | B2 | 012329 | Valve | Plug |  | Cameron | Cameron | 241RF | 12021675002 | [6 empty] | 3", ANSI 600 | FE-FE
Hammond | Peotone | B3 | 012330 | Valve | Plug |  | Cameron | Cameron | 241RF | 120383685009 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | B4 | 012331 | Valve | Plug |  | Cameron | Cameron | 241RF | 120383685011 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | B5 | 012332 | Valve | Plug |  | Flowquip |  | 241RF | 120460966001 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | C001 | 012333 | Valve | Swing Check |  | Crown-Judd |  | J-245-5053ST15-A30D83P30-X167 | 239590-01 | [6 empty] | 24", ANSI 600 | FE-FE
Hammond | Peotone | C002 | 012334 | Valve | Swing Check |  | Crown-Judd |  |  | 238555-01 | [6 empty] | 20", ANSI 600 | FE-FE
Hammond | Peotone | C11 | 012335 | Valve | Swing Check |  | Crown-Judd |  | J-2S-5000ST15-A30BC64X5-X167 | 237993-01 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | C12 | 012336 | Valve | Swing Check |  | Crown-Judd | [9 empty] | 3", ANSI 600 | FE-FE
Hammond | Peotone | C13 | 012337 | Valve | Swing Check |  | Crown-Judd |  | J-2S-5000ST15-A30BC64X5-X167 | 237993-01 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | D1 | 012338 | Valve | Plug |  |  |  | 241RF | 120460966003 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | D2 | 012339 | Valve | Plug |  |  |  | 241RF | 120460966002 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | D3 | 012340 | Valve | Ball |  |  |  | 1423HRF | 120431127005 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Peotone | D4 | 012341 | Valve | Plug |  | General Twinseal | General Twinseal |  | 120397001014 | [6 empty] | 6", ANSI 600 | FE-FE
Hammond | Peotone | DT-301 | 012342 | Transmitter | Density |  | Micro Motion |  | FDM11A722DAB3A12EZZZ | 14473657
Hammond | Peotone | L101 | 012343 | Trap
Hammond | Peotone | L101 | 012344 | Closure | Quick Opening |  | T.D. Williamson |  | 19-6730-0600-54 | 30OUYD038 | [6 empty] | 30", ANSI 600 | FE-FE
Hammond | Peotone | LIT-501 | 012345 | Transmitter | Level |  | Rosemount |  |  | 201541160
Hammond | Peotone | LSHH-501 | 012346 | Switch | Level |  | Magnetrol |  | 962-2DAO-030/9A1-A11A-024 | 746411-01-001
Hammond | Peotone | LSHH-502 | 012347 | Switch | Level
Hammond | Peotone | PIT-601 | 012348 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CGA22A1AM5B4DFE5Q8 | 2673558
Hammond | Peotone | PIT-602 | 012349 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CGA22A1AM5B4DFE5Q8 | 2673550
Hammond | Peotone | PIT-603 | 012350 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CGA22A1AM5B4DFE5Q8 | 2673556
Hammond | Peotone | PIT-604 | 012351 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CGA22A1AM5B4DFE5Q8 | 2673554
Hammond | Peotone | PIT-606 | 012352 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CGA22A1AM5B4DFE5Q8 | 2673552
Hammond | Peotone | PRV-601 | 012353 | Valve |  |  | Daniel |  | V761B1DG3HAAAEC | 150046172 | [6 empty] | 10", ANSI 600 | FE-FE
Hammond | Peotone | SP-101 | 012354 | Vertical Can-Sump Pump |  |  | RuhrPumpen | RuhrPumpen | 600VLT | 122600238-2
Hammond | Peotone | SP-101 | 012355 | Motor | Vertical-Sump |  | US Motors
Hammond | Peotone | ST-101 | 012356 | Tank | Sump |  | Smith |  |  | 62034A
Hammond | Peotone | TIT-701 | 012357 | Transmitter | Temperature |  | Rosemount | Rosemount | 3144PD1A1E5M5T1C2XA | 845900
Hammond | Peotone | TIT-702 | 012358 | Transmitter | Temperature |  | Rosemount | Rosemount | 3144PD1A1E5M5T1C2XA | 845695
Hammond | Peotone | TIT-703 | 012359 | Transmitter | Temperature |  | Rosemount | Rosemount | 3144PD1A1E5B4 | 854607
Hammond | Peotone | TIT-704 | 012360 | Transmitter | Temperature |  | Rosemount | Rosemount
Hammond | Peotone | TRV-102 | 012361 | Thermal Relief |  |  | Anderson Greenwood Crosby | Anderson Greenwood Crosby | 81S1M88-4 | M13137211
Hammond | Peotone | TRV-103 | 012362 | Thermal Relief |  |  | Anderson Greenwood Crosby | Anderson Greenwood Crosby | 81S1M88-4 | 120431127005
Hammond | Peotone | VM-1 | 012363 | Transmitter | Hazardous Atmosphere |  | General Monitors | General Monitors | S4000CH | 1565811
Hammond | Peotone | VM-2 | 012364 | Transmitter | Hazardous Atmosphere |  | General Monitors | General Monitors | S4000CH | 1565918
Hammond | Peotone | VM-3 | 012365 | Transmitter | Hazardous Atmosphere |  | General Monitors | General Monitors | S4000CH | 1565903
Hammond | Peotone | ZS-201 | 012366 | Switch | Position |  | T.D. Williamson
Hammond | Peotone | ZS-202 | 012367 | Switch | Position |  | T.D. Williamson
Hammond | Manhattan | B1 | 012368 | Valve | Plug |  |  |  | 241RF | 120486600004 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Manhattan | B104 | 012369 | Valve | Plug |  |  |  | 241RF | 120285524004 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Manhattan | B104 | 012370 | Valve Actuator | Electric |  | Limitorque
Hammond | Manhattan | B2 | 012371 | Valve | Plug |  |  |  | 241RF | 120486600003 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Manhattan | C001 | 012372 | Valve | Swing Check |  | Crown-Judd |  | X167 | 237993-03 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Manhattan | D1 | 012373 | Valve | Ball |  | Cameron | Orbit | Figure 1423H RF | 120431127006 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Manhattan | D2 | 012374 | Valve | Plug |  |  |  | 241RF | 120285524007 | [6 empty] | 2", ANSI 600 | FE-FE
Hammond | Manhattan | D3 | 012375 | Valve | Plug |  |  |  | 211-202G | 120397001015 | [6 empty] | 6", ANSI 600 | FE-FE
Hammond | Manhattan | LIT-501 | 012376 | Transmitter | Level |  | SAAB | Tank Radar Pro | RTG40B | 201541561
Hammond | Manhattan | LSHH-501 | 012377 | Switch | Level |  | Magnetrol |  | 961-2DA0-030 | 746411-01-002
Hammond | Manhattan | LSHH-502 | 012378 | Switch | Level
Hammond | Manhattan | PCV601 | 012379 | Valve | Control |  | SPX | Ball-Trol | 754-AB-1VNL | 1000002994691 | [6 empty] | 12", ANSI 600 | FE-FE
Hammond | Manhattan | PCV601 | 012380 | Valve Actuator | Electraulic |  | Rexa | Rexa | X2R200.000-90-D.P40DP40 | 1402313-01-01
Hammond | Manhattan | PCV601 | 012381 | Panel | Control |  | Rexa
Hammond | Manhattan | PIT-601 | 012382 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CG5A22A1AM5B4DFE5Q8 | 2673551
Hammond | Manhattan | PIT-603 | 012383 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CG5A22A1AM5B4DFE5Q8 | 2673559
Hammond | Manhattan | PIT-605 | 012384 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CG5A22A1AM5B4DFE5Q8 | 2673553
Hammond | Manhattan | PIT-606 | 012385 | Transmitter | Pressure |  | Rosemount | Rosemount | 3051CG5A22A1AM5B4DFE5Q8 | 2673555
Hammond | Manhattan | R101 | 012386 | Trap
Hammond | Manhattan | SP-101 | 012387 | Vertical Can-Sump Pump |  |  | RuhrPumpen | RuhrPumpen | 600VLT | 122600238-1
Hammond | Manhattan | SP-101 | 012388 | Motor | Vertical-Sump |  | US Motors |  | 14745600-100
Hammond | Manhattan | ST-101 | 012389 | Tank | Sump |  | Smith |  |  | 62034B
Hammond | Manhattan | STR-101 | 012390 | Strainer |  |  | Weamco | Weamco | Strainer Vessel | 1408-0898 | [6 empty] | 24", ANSI 600 | FE-FE
Hammond | Manhattan | TIT-701 | 012391 | Transmitter | Temperature |  | Rosemount | Rosemount | 3144PD1A1E5M5T1C2XA | 854694
Hammond | Manhattan | TIT-703 | 012392 | Transmitter | Temperature |  | Rosemount | Rosemount |  | 854605
Hammond | Manhattan | TRV-101 | 012393 | Thermal Relief |  |  | Anderson Greenwood Crosby |  | 81S1M88-4 | M13137209
Hammond | Manhattan | TRV-102 | 012394 | Thermal Relief |  |  | Anderson Greenwood Crosby |  | 81S1M88-4 | M13137210
Hammond | Manhattan | TRV-103 | 012395 | Thermal Relief |  |  | Anderson Greenwood Crosby |  | 81S1M88-4 | M13137212
Hammond | Manhattan | VM1 | 012396 | Transmitter | Hazardous Atmosphere |  | General Monitors | General Monitors | S4000CH | 1565951
Hammond | Manhattan | VM2 | 012397 | Transmitter | Hazardous Atmosphere |  | General Monitors | General Monitors | S4000CH | 1565821
Hammond | Manhattan | VM3 | 012398 | Transmitter | Hazardous Atmosphere |  | General Monitors | General Monitors | S4000CH | 1565820
Hammond | Manhattan | BS-1 | 012399 | Battery Cells | 24VDC |  | La Marche | A12B-30-24V-B1-19N-01485 | 24VDC/30A | 294488-2(5214)
Hammond | Manhattan | BS-1 | 012400 | Battery Charger | 24VDC |  | Alcad | VTX 1M 125-5
Hammond | Manhattan | MCC-1 | 012401 | 480V 3PH Motor Control Center | 600 AMP |  | Eaton
Hammond | Manhattan | Instrument Cabinet | 012402 | Cabinet
Hammond | Manhattan | Chart Recorder | 012403 | Chart Recorder
Hammond | Manhattan | Comms UPS | 012404 | Battery Cells | UPS
Hammond | Manhattan | HMI PC | 012405 | PC
Hammond | Manhattan | Inverter | 012406 | Inverter |  |  | Exeltech | XP 600 | XP6-1-2-6-1-20
Hammond | Manhattan | ZI-201 | 012407 | Switch | Position |  | T.D. Williamson
IRW | Irwin | C002 | 012408 | Valve | Swing Check |  | Cameron | Tom Wheatley | Model 510/511 | 110148003007 | [6 empty] | 3", ANSI 600 | FE-FE
IRW | Irwin | C003 | 012409 | Valve | Swing Check |  | Cameron | Tom Wheatley | Model 510/511 | [7 empty] | 2", ANSI 300 | FE-FE
IRW | Irwin | C004 | 012410 | Valve | Swing Check |  | Cameron | Tom Wheatley | Model 510/511 | 120451001044 | [6 empty] | 2", ANSI 300 | FE-FE
IRW | Irwin | ATS-83 | 012411 | Switch | Automatic Transfer |  | Asco |  | 7000 Series
IRW | Irwin | B106 | 012412 | Gearbox | Quarter Turn |  |  | Dynatorque
IRW | Irwin | B107 | 012413 | Gearbox | Quarter Turn |  |  | Dynatorque