## New Slot Import
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
PEO | Peotone | B1 | Station Repressure Line Upstream Isolation Valve | PM
PEO | Peotone | B2 | Station Repressure Line Downstream Isolation Valve | PM
PEO | Peotone | B103 | Launcher Inlet Valve | PM
PEO | Peotone | B105 | Pipeline Drainback Valve | PM
PEO | Peotone | B106 | PRV-601 Upstream Isolation Valve | PM
PEO | Peotone | B107 | PRV-601 Downstream Isolation Valve | PM
PEO | Peotone | B108 | Station Sump Injection Valve | PM
PEO | Peotone | B109 | Pipeline Sump Injection Valve | PM
PEO | Peotone | B110 | Station Repressure Valve | PM
PEO | Peotone | B3 | Sump Pump Truck Loading Valve | PM
PEO | Peotone | B4 | Sump Pump Discharge Valve | PM
PEO | Peotone | B5 | Launcher Fill Valve | PM
PEO | Peotone | C001 | Mainline Check Valve | PM
PEO | Peotone | C002 | Station Check Valve | PM
PEO | Peotone | C11 | Pipeline Sump Injection Check Valve | PM
PEO | Peotone | C12 | Flow Tee Check Valve | PM
PEO | Peotone | C13 | Station Sump Injection Check Valve | PM
PEO | Peotone | D1 | Bypass Line Drain Valve | PM
PEO | Peotone | D2 | Station Drain Valve | PM
PEO | Peotone | D3 | Launcher Drain Valve | PM
PEO | Peotone | D4 | Sump Inlet Valve | PM
PEO | Peotone | DT-301 | Mainlin Gravitometer | DOT
PEO | Peotone | L101 | 30" Launcher | PM
PEO | Peotone | LIT-501 | Sump Tank Level Transmitter | DOT
PEO | Peotone | LSHH-501 | Sump Tank Level Switch High High | DOT
PEO | Peotone | LSHH-502 | Sump Pump Seal Fail Switch | PM
PEO | Peotone | PIT-601 | Ustream Mainline Pressure Transmitter | DOT
PEO | Peotone | PIT-602 | Meter Pressure Transmitter | DOT
PEO | Peotone | PIT-603 | Downstream Mainline Pressure Transmitter | DOT
PEO | Peotone | PIT-604 | Manhattan Line Pressure Transmitter | DOT
PEO | Peotone | PIT-606 | Sump Discharge Pressure Transmitter | DOT
PEO | Peotone | PRV-601 | Bypass Relief Valve | DOT
PEO | Peotone | SP-101 | Sump Pump | PM
PEO | Peotone | ST-101 | Sump Tank | PM
PEO | Peotone | TIT-701 | Station Mainline Temperature Transmitter | DOT
PEO | Peotone | TIT-702 | Meter Temperature Transmitter | DOT
PEO | Peotone | TIT-703 | Ground Temperature Transmitter | DOT
PEO | Peotone | TIT-704 | Incoming Mainline Temperature Transmitter | DOT
PEO | Peotone | TRV-102 | Meter RunThermal Relief | DOT
PEO | Peotone | TRV-103 | Launcher Thermal Relief | DOT
PEO | Peotone | VM-1 | Vapor Monitor at Mainline | PM
PEO | Peotone | VM-2 | Vapor Monitor at Launcher | PM
PEO | Peotone | VM-3 | Vapor Monitor at Sump | PM
PEO | Peotone | ZI-201 | Manual Sphere Detector at Launcher | PM
PEO | Peotone | ZS-201 | Mainline Incoming Sphere Detector | PM
PEO | Peotone | ZS-202 | Mainline Outgoing Sphere Detector | PM
MAN | Manhattan | B1 | Sump Discharge Valve | PM
MAN | Manhattan | B104 | Sump Injection Valve | PM
MAN | Manhattan | B2 | Sump Pump Truck Loading Valve | PM
MAN | Manhattan | C001 | Sump Injection Check Valve | PM
MAN | Manhattan | D1 | Receiver Drain Valve | PM
MAN | Manhattan | D2 | Strainer Drain Valve | PM
MAN | Manhattan | D3 | Sump Inlet Valve | PM
MAN | Manhattan | LIT-501 | Sump Tank Level Transmitter | DOT
MAN | Manhattan | LSHH-501 | Sump Tank Level Switch High High | DOT
MAN | Manhattan | LSHH-502 | Sump Pump Seal Fail Switch | PM
MAN | Manhattan | PCV601 | Station Control Valve | PM
MAN | Manhattan | PIT-601 | Incoming Line Pressure Transmitter | DOT
MAN | Manhattan | PIT-603 | Station Meter Pressure Transmitter | DOT
MAN | Manhattan | PIT-605 | Outgoing Delivery Pressure Transmitter | DOT
MAN | Manhattan | PIT-606 | Sump Pump Discharge Pressure Transmitter | DOT
MAN | Manhattan | R101 | Receiver | PM
MAN | Manhattan | SP-101 | Sump Pump | PM
MAN | Manhattan | ST-101 | Sump Tank | PM
MAN | Manhattan | STR-101 | Strainer | PM
MAN | Manhattan | TIT-701 | Meter Temperature Transmitter | DOT
MAN | Manhattan | TIT-703 | Ground Temperature Transmitter | DOT
MAN | Manhattan | TRV-101 | Receiver Thermal Relief | DOT
MAN | Manhattan | TRV-102 | Thermal Relief at Strainer | DOT
MAN | Manhattan | TRV-103 | Thermal Relief Downstream of Control Valve | DOT
MAN | Manhattan | VM1 | Vapor Monitor at Sump | PM
MAN | Manhattan | VM2 | Vapor Monitor at Receiver | PM
MAN | Manhattan | VM3 | Vapor Monitor at Station Piping | PM
MAN | Manhattan | ZI-201 | Manual Pig Sig at Receiver | PM
MAN | Manhattan | BS-1 | 24VDC Battery System/Charger | PM
MAN | Manhattan | MCC-1 | Motor Control Center | PM
MAN | Manhattan | Instrument Cabinet | Instrument Cabinet | PM
MAN | Manhattan | Chart Recorder | Chart Recorder | PM
MAN | Manhattan | HMI PC | HMI PC | PM
MAN | Manhattan | Comms UPS | Communications UPS | PM
IRW | Irwin | C002 | Flow Tee Check Valve | PM
IRW | Irwin | C003 | Sump Injection Check Valve | PM
IRW | Irwin | C004 | Sump Pump Discharge Check Valve | PM
IRW | Irwin | ATS-83 | Automatic Transfer Switch | PM