## New Equipment
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | SIZE - CLASS | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Houston | Aldine | A103 | 010789 | Valve | Ball
Houston | Aldine | A104 | 010790 | Valve | Ball
Houston | Aldine | A105 | 010791 | Valve | Ball
Houston | Aldine | C1 | 010792 | Valve | Spring Loaded Check
Houston | Aldine | SP-101 | 010793 | Vertical Can-Sump Pump
Houston | Aldine | STR-101 | 010794 | Strainer
Houston | Aldine | B1 | 010795 | Valve | Plug
Houston | Aldine | B104 | 010796 | Valve | Plug
Houston | Aldine | B104 | 010797 | Valve Actuator | Electric
Houston | Aldine | B105 | 010798 | Valve | Plug
Houston | Aldine | B105 | 010799 | Valve Actuator | Electric
Houston | Aldine | B106 | 010800 | Valve | Plug
Houston | Aldine | B107 | 010801 | Valve | Plug
Houston | Aldine | B2 | 010802 | Valve | Plug
Houston | Aldine | B3 | 010803 | Valve | Plug
Houston | Aldine | B4 | 010804 | Valve | Plug
Houston | Aldine | BP101 | 010805 | Valve | Plug
Houston | Aldine | BP102 | 010806 | Valve | Plug
Houston | Aldine | BP103 | 010807 | Valve | Plug
Houston | Aldine | C2 | 010808 | Valve | Swing Check
Houston | Aldine | C3 | 010809 | Valve | Swing Check
Houston | Aldine | C4 | 010810 | Valve | Swing Check
Houston | Aldine | C5 | 010811 | Valve | Swing Check
Houston | Aldine | D1 | 010812 | Valve | Plug
Houston | Aldine | D2 | 010813 | Valve | Plug
Houston | Aldine | D3 | 010814 | Valve | Plug
Houston | Aldine | D4 | 010815 | Valve | Plug
Houston | Aldine | D5 | 010816 | Valve | Plug
Houston | Aldine | D6 | 010817 | Valve | Plug
Houston | Aldine | DT-301 | 010818 | Transmitter | Density
Houston | Aldine | LIT-501 | 010819 | Transmitter | Level
Houston | Aldine | LSHH-501 | 010820 | Switch | Level
Houston | Aldine | PIT-601 | 010821 | Transmitter | Pressure
Houston | Aldine | PIT-602 | 010822 | Transmitter | Pressure
Houston | Aldine | PIT-603 | 010823 | Transmitter | Pressure
Houston | Aldine | PIT-604 | 010824 | Transmitter | Pressure
Houston | Aldine | PIT-605 | 010825 | Transmitter | Pressure
Houston | Aldine | PIT-606 | 010826 | Transmitter | Pressure
Houston | Aldine | PIT-607 | 010827 | Transmitter | Pressure
Houston | Aldine | PRV-601 | 010828 | Valve | Surge Relief
Houston | Aldine | PRV-602 | 010829 | Valve | Surge Relief
Houston | Aldine | ST-101 | 010830 | Tank | Sump
Houston | Aldine | TIT-702 | 010831 | Transmitter | Temperature
Houston | Aldine | TIT-703 | 010832 | Transmitter | Temperature
Houston | Aldine | TIT-704 | 010833 | Transmitter | Temperature
Houston | Aldine | TIT-705 | 010834 | Transmitter | Temperature
Houston | Aldine | TIT-706 | 010835 | Transmitter | Temperature
Houston | Aldine | TP-101 | 010836 | Pump | Positive Displacement
Houston | Aldine | TRV-101 | 010837 | Thermal Relief
Houston | Aldine | TRV-102 | 010838 | Thermal Relief
Houston | Aldine | TRV-103 | 010839 | Thermal Relief
Houston | Aldine | TRV-104 | 010840 | Thermal Relief
Houston | Aldine | TRV-105 | 010841 | Thermal Relief
Houston | Aldine | TRV-106 | 010842 | Thermal Relief
Houston | Aldine | VM-1 | 010843 | Transmitter | Hazardous Atmosphere
Houston | Aldine | VM-2 | 010844 | Transmitter | Hazardous Atmosphere
Houston | Aldine | VM-3 | 010845 | Transmitter | Hazardous Atmosphere
Houston | Aldine | VM-4 | 010846 | Transmitter | Hazardous Atmosphere
Houston | Aldine | ZS-201 | 010847 | Switch | Position
Houston | Aldine | ZS-202 | 010848 | Switch | Position
Houston | Aldine | M78 | 010849 | Flow Meter | Turbine
Hammond | Chatsworth | PSL-601 | 010850 | Switch | Pressure
Hammond | Chatsworth | TT-701 | 010851 | Transmitter | Temperature
Hammond | Chatsworth | VM-1 | 010852 | Transmitter | Hazardous Atmosphere
Hammond | Chatsworth | VM-2 | 010853 | Transmitter | Hazardous Atmosphere
Hammond | Chatsworth | VM-3 | 010854 | Transmitter | Hazardous Atmosphere
Hammond | Chatsworth | VM-4 | 010855 | Transmitter | Hazardous Atmosphere
Greenville | Durant | PSH-601A | 010856 | Switch | Pressure
Greenville | Durant | PSH-609 | 010857 | Switch | Pressure
Greenville | Durant | VM-1 | 010858 | Transmitter | Hazardous Atmosphere
Greenville | Durant | VM-2 | 010859 | Transmitter | Hazardous Atmosphere
Greenville | Durant | VM-3 | 010860 | Transmitter | Hazardous Atmosphere
Greenville | Durant | VM-4 | 010861 | Transmitter | Hazardous Atmosphere