## NewEquipment
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Glenpool | Vinita | 10 | 010684 | Valve | Gate
Glenpool | Vinita | 11 | 010685 | Valve | Gate
Glenpool | Vinita | 12 | 010686 | Valve | Gate
Glenpool | Vinita | 15 | 010687 | Valve | Gate
Glenpool | Vinita | 20 | 010688 | Valve | Gate
Glenpool | Vinita | LSH-504 | 010689 | Switch | Level
Glenpool | Vinita | PT-602 | 010690 | Transmitter | Pressure
Glenpool | Vinita | ST-101 | 010691 | Tank | Sump
Glenpool | Vinita | U20 | 010692 | Valve | Gate
Glenpool | Vinita | U21 | 010693 | Valve | Gate
Glenpool | Vinita | U22 | 010694 | Valve | Gate
Glenpool | Vinita | U23 | 010695 | Valve | Gate
Glenpool | Vinita | U24 | 010696 | Valve | Gate
Glenpool | Vinita | VM1 | 010697 | Transmitter | Hazardous Atmosphere
Glenpool | Vinita | VM2 | 010698 | Transmitter | Hazardous Atmosphere
Glenpool | Vinita | VM3 | 010699 | Transmitter | Hazardous Atmosphere
Glenpool | Vinita | VM4 | 010700 | Transmitter | Hazardous Atmosphere
Glenpool | Vinita | VM5 | 010701 | Transmitter | Hazardous Atmosphere
Glenpool | Vinita | BS-1 | 010702 | Battery Cells | 24VDC
Glenpool | Vinita | BS-1 | 010703 | Battery Charger | 24VDC

## NewSlots
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
VIN | Vinita | 10 | Sump Pump Discharge Valve | PM
VIN | Vinita | 11 | Transmix Tank Valve From Sump Pump | PM
VIN | Vinita | 12 | Transmix Tank Valve to Transfer Pump | PM
VIN | Vinita | 15 | Transfer Pump Injection Valve | PM
VIN | Vinita | 20 | Transmix Tank Vac Truck Connection | PM
VIN | Vinita | LSH-504 | Transmix Tank Level Switch High | PM
VIN | Vinita | PT-602 | Units Suction Pressure Transmitter | DOT
VIN | Vinita | ST-101 | Sump Tank | PM
VIN | Vinita | TRV-108 | Transfer Pump Suction Thermal Relief | PM
VIN | Vinita | U20 | Station Case Drain Valve | PM
VIN | Vinita | U21 | Sump Tank Inlet Valve | PM
VIN | Vinita | U22 | PU-1 Suction Side Drain Valve | PM
VIN | Vinita | U23 | PU-1 Discharge Side Drain Valve | PM
VIN | Vinita | U24 | PU-1 Fill Valve | PM
VIN | Vinita | VM1 | Vapor Monitor | PM
VIN | Vinita | VM2 | Vapor Monitor | PM
VIN | Vinita | VM3 | Vapor Monitor | PM
VIN | Vinita | VM4 | Vapor Monitor | PM
VIN | Vinita | VM5 | Vapor Monitor | PM
VIN | Vinita | BS-1 | 24VDC Battery System | PM