## New Slot Import
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
ADN | Aldine | A103 | Ball Valve
ADN | Aldine | A104 | Ball Valve
ADN | Aldine | A105 | Ball Valve
ADN | Aldine | C1 | Main Line Check Valve
ADN | Aldine | SP-101 | Sump Pump
ADN | Aldine | STR-101 | Strainer
ADN | Aldine | B1 | 2" Plug Valve
ADN | Aldine | B104 | 2" Plug Valve
ADN | Aldine | B105 | 3" Plug Valve
ADN | Aldine | B106 | 6" Plug Valve
ADN | Aldine | B107 | 6" Plug Valve
ADN | Aldine | B2 | Prover Fill Valve
ADN | Aldine | B3 | 3" Plug Valve
ADN | Aldine | B4 | 3" Plug Valve
ADN | Aldine | BP101 | Prover Inlet Valve
ADN | Aldine | BP102 | Prover Outlet Valve
ADN | Aldine | BP103 | Prover Bypass Valve
ADN | Aldine | C2 | 3" Valve
ADN | Aldine | C3 | 3" Valve
ADN | Aldine | C4 | 2" Valve
ADN | Aldine | C5 | 3" Valve
ADN | Aldine | D1 | 2" Plug Valve
ADN | Aldine | D2 | 2" Plug Valve
ADN | Aldine | D3 | 2" Plug Valve
ADN | Aldine | D4 | 2" Plug Valve
ADN | Aldine | D5 | 2" Plug Valve
ADN | Aldine | D6 | 6" Plug Valve
ADN | Aldine | DT-301 | Density Transmitter
ADN | Aldine | LIT-501 | Sump Level Transmitter
ADN | Aldine | LSHH-501 | Sump Level Switch Hi Hi
ADN | Aldine | PIT-601 | Pressure Transmitter
ADN | Aldine | PIT-602 | Pressure Transmitter
ADN | Aldine | PIT-603 | Pressure Transmitter
ADN | Aldine | PIT-604 | Prover Pressure Transmitter
ADN | Aldine | PIT-605 | Pressure Transmitter
ADN | Aldine | PIT-606 | Pressure Transmitter
ADN | Aldine | PIT-607 | Pressure Transmitter
ADN | Aldine | PRV-601 | Mainline Bypass Relief Valve
ADN | Aldine | PRV-602 | Surge Relief Valve
ADN | Aldine | ST-101 | Sump Tank
ADN | Aldine | TIT-702 | Main Line Downstream Temperature Transmiter
ADN | Aldine | TIT-703 | Temperature Transmiter
ADN | Aldine | TIT-704 | Prover Temperature Transmiter
ADN | Aldine | TIT-705 | Temperature Transmiter
ADN | Aldine | TIT-706 | Temperature Transmiter
ADN | Aldine | TP-101 | Transfer Pump
ADN | Aldine | TRV-101 | Thermal Relief
ADN | Aldine | TRV-102 | Thermal Relief
ADN | Aldine | TRV-103 | Thermal Relief
ADN | Aldine | TRV-104 | Thermal Relief
ADN | Aldine | TRV-105 | Thermal Relief
ADN | Aldine | TRV-106 | Thermal Relief
ADN | Aldine | VM-1 | Strainer Vapor Monitor
ADN | Aldine | VM-2 | Vapor Monitor
ADN | Aldine | VM-3 | Vapor Monitor
ADN | Aldine | VM-4 | Vapor Monitor
ADN | Aldine | ZS-201 | Upstream Pig Sig
ADN | Aldine | ZS-202 | Downstream Pig Sig
ADN | Aldine | M78 | Meter 78
CHA | Chatsworth | PSL-601 | Station Suction Pressure Switch Low
CHA | Chatsworth | TT-701 | Station Outlet Product Temperature
CHA | Chatsworth | VM-1 | Vapor Monitor
CHA | Chatsworth | VM-2 | Vapor Monitor
CHA | Chatsworth | VM-3 | Vapor Monitor
CHA | Chatsworth | VM-4 | Vapor Monitor
DUR | Durant | PSH-601A | Station Unblock Pressure Switch
DUR | Durant | PSH-609 | Case Pressure Switch
DUR | Durant | VM-1 | Vapor Monitor
DUR | Durant | VM-2 | Vapor Monitor
DUR | Durant | VM-3 | Vapor Monitor
DUR | Durant | VM-4 | Vapor Monitor