## New Slot Import
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
CED | Cedar Bayou | A111 | 12" Ball Valve | PM
CED | Cedar Bayou | B102 | B101 Bypass Valve | DOT | Pipeline Block Valve
CED | Cedar Bayou | B104 | B103 Bypass Valve | DOT | Pipeline Block Valve
CED | Cedar Bayou | B105 | PRV301 Bypass Valve | PM
CED | Cedar Bayou | C112 | 28" Check Valve | PM
CED | Cedar Bayou | DT-301 | Density Transmitter | PM
CED | Cedar Bayou | DT-4461 | Density Transmitter | PM
CED | Cedar Bayou | FS-401 | Flow Switch | PM
CED | Cedar Bayou | FT-3151 | Flow Transmitter | PM
CED | Cedar Bayou | FT-3152 | Flow Transmitter | PM
CED | Cedar Bayou | PIT-3150 | Pressure Indicator Transmitter | PM
CED | Cedar Bayou | PIT-3151 | Pressure Indicator Transmitter | PM
CED | Cedar Bayou | PIT-601 | Pressure Indicator Transmitter | PM
CED | Cedar Bayou | PIT-602 | Pressure Indicator Transmitter | PM
CED | Cedar Bayou | PIT603 | Pressure Indicator Transmitter | PM
CED | Cedar Bayou | PIT-8302 | Pressure Indicator Transmitter | PM
CED | Cedar Bayou | PRV301 | 12" Control Valve | PM
CED | Cedar Bayou | PRV601 | Pressure Relief Valve | PM
CED | Cedar Bayou | PSV-3151 | Thermal Relief Valve | PM
CED | Cedar Bayou | PSV-3152 | Thermal Relief Valve | PM
CED | Cedar Bayou | TIT-702 | Ground Temperature | PM
CED | Cedar Bayou | TT-3151 | Temperature Transmitter | PM
CED | Cedar Bayou | TT-4461 | Temperature Transmitter | PM
CED | Cedar Bayou | TT-701 | Temperature Transmitter | PM
CED | Cedar Bayou | TT-8302 | Temperature Transmitter | PM
CED | Cedar Bayou | VM-901 | Vapor Monitor | PM
CED | Cedar Bayou | ZS-201A | Position Switch | PM
CED | Cedar Bayou | ZS-201B | Position Switch | PM
CED | Cedar Bayou | ZS-202 | Position Switch | PM
CED | Cedar Bayou | ZS-203 | Position Switch | PM
WAC | Waco | A100 | 2" Valve | PM
WAC | Waco | A101 | 2" Valve | PM
WAC | Waco | A102 | 2" Valve | PM
WAC | Waco | A103 | 2" Valve | PM
WAC | Waco | B102 | Delivery Block Valve | DOT | Pipeline Block Valve
WAC | Waco | BP101 | Prover Inlet Valve | PM
WAC | Waco | BP102 | Prover Outlet Valve | PM
WAC | Waco | BP103 | Prover Bypass Valve | PM
WAC | Waco | C1 | Station Runaround Check Valve | PM
WAC | Waco | C101 | Check Valve Downstream of B108 | PM
WAC | Waco | C102 | Check Valve Downstream of B107 | PM
WAC | Waco | C103 | Check Valve Downstream of B105 | PM
WAC | Waco | C104 | Check Valve Downstream of B104 | PM
WAC | Waco | C105 | Check Valve Downstream of B109 | PM
WAC | Waco | DT-301 | Pipeline Gravity | PM
WAC | Waco | LT-520 | Sump Level Transmitter | PM
WAC | Waco | PCV-601 | Control Valve | PM
WAC | Waco | PIT-604 | Pressure Transmitter | PM
WAC | Waco | PIT-605 | Pressure Transmitter | PM
WAC | Waco | P-101 | Prover | PM
WAC | Waco | PSH-602 | Station Pressure Switch High | PM
WAC | Waco | PT-601 | Incoming Line Pressure Transmitter | PM
WAC | Waco | PT-602 | Station Pressure Transmitter | PM
WAC | Waco | PT-603 | Outgoing Line Pressure Transmitter | PM
WAC | Waco | PT-605 | Meter Pressure Transmitter | PM
WAC | Waco | PT-606 | Prover Pressure Transmitter | PM
WAC | Waco | SP-101 | Sump Pump | PM
WAC | Waco | ST-101 | Sump Tank | PM
WAC | Waco | STR-101 | Strainer | PM
WAC | Waco | TIT-701 | Meter Temperature Transmitter | PM
WAC | Waco | TIT-703 | Prover Temperature Transmitter | PM
WAC | Waco | TRV-101 | FHR Line Thermal Relief | PM
WAC | Waco | TRV-102 | Beginning of Manifold Thermal Relief | PM
WAC | Waco | TRV-103 | End of Manifold Thermal Relief | PM
WAC | Waco | TRV-104 | Meter Run Thermal Relief | PM
WAC | Waco | TRV-106 | Prover Outlet Thermal Relief | PM
WAC | Waco | VM-902 | Vapor Monitor Near Sump | PM
WAC | Waco | VM-903 | Vapor Monitor Near Manifold | PM
WAC | Waco | X101 | Meter Run Inlet Valve | PM
GRP | Grapevine | 105 | Plug Valve | PM
GRP | Grapevine | 106 | Plug Valve | PM
GRP | Grapevine | A10 | Gate Valve | PM
GRP | Grapevine | A11 | Ball Balve | PM
GRP | Grapevine | A113 | Ball Balve | PM
GRP | Grapevine | A114 | Valve | PM
GRP | Grapevine | A12 | Gate Valve | PM
GRP | Grapevine | B114 | Gate Valve | PM
GRP | Grapevine | B115 | Gate Valve | PM
GRP | Grapevine | C107 | Valve | PM
GRP | Grapevine | DT-302 | 8" Arlington Gravity | PM
GRP | Grapevine | PCV-101 | Brodie Meter Back Pressure | PM
GRP | Grapevine | PIT-602 | Arlington 8 Inch | PM
GRP | Grapevine | PIT-603 | Greenville 12 Inch | PM
GRP | Grapevine | PIT-606 | Station Manifold Pressure | PM
GRP | Grapevine | PIT-620 | 12" Ft Worth Line Pressure | PM
GRP | Grapevine | TIT-702 | 12" Ft Worth Temperature | PM
GRP | Grapevine | TRP-0101 | Trap | PM
GRP | Grapevine | TRP-0102 | Trap | PM
GRP | Grapevine | TRP-0103 | Trap | PM
GRP | Grapevine | TRP-0104 | Trap | PM
GRP | Grapevine | TRV-111 | 8” Launcher Barrel Thermal Relief | PM
GRP | Grapevine | TRV-113 | Arlington Receiver Thermal Relief | PM
GRP | Grapevine | TRV-114 | Arlington Manifold Thermal Relief | PM
GRP | Grapevine | TRV-115 | B117 Thermal Relief | PM
GRP | Grapevine | TRV-116 | Nustar Tank Line Thermal Relief | PM
GRP | Grapevine | U15 | Ball Balve | PM
GRP | Grapevine | U16 | Gate Valve | PM
GRP | Grapevine | VM-901 | Vapor Monitor | PM
GRP | Grapevine | X111 | Gate Valve | PM
GRP | Grapevine | ZS-2 | Sphere Detector | PM
GRP | Grapevine | ZS-3 | Sphere Detector | PM
GRP | Grapevine | M101 | TK-255 Fill Valve | PM
GRP | Grapevine | M102 | TK-256 Fill Valve | PM
GRP | Grapevine | M103 | TK-255 Suction Valve to Booster | PM
GRP | Grapevine | M104 | TK-256 Suction Valve to Booster | PM
GRP | Grapevine | M105 | Nustar Tank Fill Valve | PM
GRP | Grapevine | M106 | Nustar Tank Suction Valve to Booster | PM
HAC | Harbor Canal | FY-401 | Ultrasonic Flowmeter | PM
HAC | Harbor Canal | LSH-501 | B-101 and S-101 Seal Pot | PM
HAC | Harbor Canal | PCV-601 | Back Pressure Valve | PM
HAC | Harbor Canal | PIT-601 | Station Incoming Pressure | PM
HAC | Harbor Canal | TIT-701 | Station Temperature Transmitter | PM
HAC | Harbor Canal | TRV-601 | Harbor Canal Thermal Relief Valve | PM
ARL | Arlington | I029 | Strainer Drain Valve | PM
ARL | Arlington | M2N1 | Valve | PM
ARL | Arlington | 14 | Double Block and Bleed Valve | PM
ARL | Arlington | 78 | Double Block and Bleed Valve | PM
ARL | Arlington | 1112 | Double Block and Bleed Valve | PM
ARL | Arlington | 2N12 | Motor Operated 8" Plug Valve | PM
ARL | Arlington | B014 | Double Block and Bleed Valve | PM
ARL | Arlington | DT-321 | 10" Preview Gravity | PM
ARL | Arlington | H011 | Double Block and Bleed Valve | PM
ARL | Arlington | H012 | Double Block and Bleed Valve | PM
ARL | Arlington | H013 | Double Block and Bleed Valve | PM
ARL | Arlington | I006 | Strainer Drain Valve | PM
ARL | Arlington | I007 | Strainer Drain Valve | PM
ARL | Arlington | I008 | Strainer Drain Valve | PM
ARL | Arlington | I011 | Strainer Drain Valve | PM
ARL | Arlington | I012 | Strainer Drain Valve | PM
ARL | Arlington | ST-101 | Sump Tank | PM
ARL | Arlington | TRV-17 | Thermal Relief | PM
ARL | Arlington | TT-785 | Temperature Transmitter | PM
GVL | Greenville | A95 | Ball Valve | PM
GVL | Greenville | A96 | Ball Valve | PM
GVL | Greenville | B103 | Gate Valve | PM
GVL | Greenville | C110 | Swing Check Valve | PM
GVL | Greenville | C111 | Swing Check Valve | PM
GVL | Greenville | C114 | Swing Check Valve | PM
GVL | Greenville | M131 | Gate Valve | PM
GVL | Greenville | M141 | Gate Valve | DOT | Pipeline Block Valve
GVL | Greenville | M149 | Gate Valve | DOT | Pipeline Block Valve
GVL | Greenville | M150 | Gate Valve | PM
GVL | Greenville | M151 | Gate Valve | PM
GVL | Greenville | PSH-623 | High Pressure Switch | PM
GVL | Greenville | PSL-626 | Low Pressure Switch | PM
GVL | Greenville | PT-621A | Station Suction Pressure Transmitter | PM
GVL | Greenville | SC-2 | Gate Valve | PM
GVL | Greenville | SD2 | Spring Loaded Check Valve | PM
GVL | Greenville | TRV-120 | Prover 34 Inch | PM
GVL | Greenville | TRV-121 | Prover 16 Inch | PM
GVL | Greenville | TT-590 | Tank 290 Temperature Transmitter | PM
GVL | Greenville | TT-701 | Tank 220 Temperature Transmitter | PM
GVL | Greenville | TT-702 | Tank 221 Temperature Transmitter | PM
GVL | Greenville | TT-703 | Tank 222 Temperature Transmitter | PM
GVL | Greenville | TT-704 | Tank 223 Temperature Transmitter | PM
GVL | Greenville | TT-705 | Tank 224 Temperature Transmitter | PM
GVL | Greenville | TT-706 | Tank 225 Temperature Transmitter | PM
GVL | Greenville | TT-707 | Tank 230 Temperature Transmitter | PM
GVL | Greenville | TT-708 | Tank 231 Temperature Transmitter | PM
GVL | Greenville | TT-709 | Tank 232 Temperature Transmitter | PM
GVL | Greenville | TT-710 | Tank 233 Temperature Transmitter | PM
GVL | Greenville | TT-711 | Tank 234 Temperature Transmitter | PM
GVL | Greenville | TT-712 | Tank 235 Temperature Transmitter | PM
GVL | Greenville | TT-713 | Tank 250 Temperature Transmitter | PM
GVL | Greenville | TT-714 | Tank 251 Temperature Transmitter | PM
GVL | Greenville | TT-715 | Tank 270 Temperature Transmitter | PM
GVL | Greenville | TT-716 | Tank 236 Temperature Transmitter | PM
GVL | Greenville | TT-717 | Tank 237 Temperature Transmitter | PM
GVL | Greenville | X105 | Valve | PM
WDR | Wood River | 2301 | Gate Valve | PM
WDR | Wood River | 2310 | Gate Valve | PM
WDR | Wood River | 2311 | Gate Valve | PM
WDR | Wood River | 2330 | Valve | PM
WDR | Wood River | 2331 | Valve | PM
WDR | Wood River | A100 | Gate Valve | PM
WDR | Wood River | A108 | Gate Valve | PM
WDR | Wood River | A11 | Gate Valve | PM
WDR | Wood River | A110 | Gate Valve | PM
WDR | Wood River | A12 | Gate Valve | PM
WDR | Wood River | A14 | Gate Valve | PM
WDR | Wood River | A21 | Gate Valve | PM
WDR | Wood River | A22 | Gate Valve | PM
WDR | Wood River | A23 | Gate Valve | PM
WDR | Wood River | A24 | Gate Valve | PM
WDR | Wood River | A27 | Gate Valve | PM
WDR | Wood River | A28 | Gate Valve | PM
WDR | Wood River | A30 | Gate Valve | PM
WDR | Wood River | A31 | Gate Valve | PM
WDR | Wood River | A32 | Gate Valve | PM
WDR | Wood River | A41 | Gate Valve | PM
WDR | Wood River | A43 | Gate Valve | PM
WDR | Wood River | A5 | Gate Valve | PM
WDR | Wood River | A52 | Gate Valve | PM
WDR | Wood River | A54 | Gate Valve | PM
WDR | Wood River | A70 | Gate Valve | PM
WDR | Wood River | A71 | Gate Valve | PM
WDR | Wood River | A73 | Gate Valve | PM
WDR | Wood River | A74 | Gate Valve | PM
WDR | Wood River | A75 | Gate Valve | PM
WDR | Wood River | A76 | Gate Valve | PM
WDR | Wood River | A77 | Gate Valve | PM
WDR | Wood River | A78 | Gate Valve | PM
WDR | Wood River | A79 | Gate Valve | PM
WDR | Wood River | A80 | Gate Valve | PM
WDR | Wood River | A81 | Gate Valve | PM
WDR | Wood River | A82 | Gate Valve | PM
WDR | Wood River | A83 | Gate Valve | PM
WDR | Wood River | A84 | Gate Valve | PM
WDR | Wood River | A85 | Gate Valve | PM
WDR | Wood River | A86 | Gate Valve | PM
WDR | Wood River | A87 | Gate Valve | PM
WDR | Wood River | A88 | Gate Valve | PM
WDR | Wood River | A89 | Gate Valve | PM
WDR | Wood River | A9 | Gate Valve | PM
WDR | Wood River | A90 | Gate Valve | PM
WDR | Wood River | A92 | Gate Valve | PM
WDR | Wood River | C102 | Valve | PM
WDR | Wood River | C105 | Valve | PM
WDR | Wood River | C106 | Valve | PM
WDR | Wood River | C107 | Valve | PM
WDR | Wood River | C108 | Valve | PM
WDR | Wood River | C109 | Valve | PM
WDR | Wood River | C170 | Valve | PM
WDR | Wood River | C171 | Valve | PM
WDR | Wood River | C172 | Valve | PM
WDR | Wood River | C173 | Valve | PM
WDR | Wood River | C174 | Valve | PM
WDR | Wood River | C175 | Valve | PM
WDR | Wood River | C176 | Valve | PM
WDR | Wood River | C177 | Valve | PM
WDR | Wood River | C200 | Valve | PM
WDR | Wood River | C202 | Valve | PM
WDR | Wood River | C203 | Valve | PM
WDR | Wood River | DP-2 | Valve | PM
WDR | Wood River | DSD1 | Valve | PM
WDR | Wood River | DT-302 | Density Transmitter | PM
WDR | Wood River | FS1618 | Flow Switch | PM
WDR | Wood River | G102 | Valve | PM
WDR | Wood River | M195 | Gate Valve | PM
WDR | Wood River | M196 | Gate Valve | PM
WDR | Wood River | PSH-617 | High Pressure Switch | PM
WDR | Wood River | PSHH-621 | High High Pressure Switch | PM
WDR | Wood River | PSL-618 | Low Pressure Switch | PM
WDR | Wood River | R1618 | Gate Valve | PM
WDR | Wood River | T114 | Valve | PM
WDR | Wood River | TRP-001 | Trap | PM
WDR | Wood River | TRP-002 | Trap | PM
WDR | Wood River | TRP-003 | Trap | PM
WDR | Wood River | TRV-130 | Thermal Relief | PM
WDR | Wood River | U13 | Gate Valve | PM
WDR | Wood River | U14 | Gate Valve | PM
WDR | Wood River | U15 | Gate Valve | PM
WDR | Wood River | U20 | Gate Valve | PM
WDR | Wood River | U30 | Gate Valve | PM
WDR | Wood River | U31 | Gate Valve | PM
WDR | Wood River | U32 | Gate Valve | PM
WDR | Wood River | U4 | Gate Valve | PM
WDR | Wood River | U5 | Gate Valve | PM
WDR | Wood River | U7 | Gate Valve | PM
WDR | Wood River | X102 | Valve | PM
WDR | Wood River | X114 | Plug Valve | PM
ALD | Allendale | DT-303 | Density Transmitter | PM
ALD | Allendale | DT-301 | Meter #70 Stream 1 Gravity | PM
ALD | Allendale | DT-302 | Density Transmitter | PM
ALD | Allendale | FS-401 | Flow Switch | PM
ALD | Allendale | LS-504 | Level Switch | PM
ALD | Allendale | LS-505 | Level Switch | PM
ALD | Allendale | LSH-501 | Level Switch | PM
ALD | Allendale | LSH-503 | Level Switch | PM
ALD | Allendale | LSHH-504 | Level Switch | PM
ALD | Allendale | LSL-502 | Level Switch | PM
ALD | Allendale | LT-504 | Level Switch | PM
ALD | Allendale | MOV21 | Plug Valve | PM
ALD | Allendale | MOV22 | Plug Valve | PM
ALD | Allendale | MOV23 | Plug Valve | PM
ALD | Allendale | MOV24 | Plug Valve | PM
ALD | Allendale | MOV36 | Gate Valve | PM
ALD | Allendale | MOV42 | Block Valve 6" East Line | PM
ALD | Allendale | PIT-601 | Pressure Transmitter | PM
ALD | Allendale | PIT-603 | 10 Inch Line Station Suction Pressure | PM
ALD | Allendale | PIT-622 | Meter #70 Stream 1 Pressure | PM
ALD | Allendale | PIT-623 | Pressure Transmitter | PM
ALD | Allendale | PIT-624 | Pressure Transmitter | PM
ALD | Allendale | PIT-625 | Pressure Transmitter | PM
ALD | Allendale | PIT-626 | Pressure Transmitter | PM
ALD | Allendale | PIT-627 | Pressure Transmitter | PM
ALD | Allendale | PIT-629 | 16 Inch LHRC Line Discharge Line Pressure | PM
ALD | Allendale | PIT-630 | 10 Inch Line Station Discharge Pressure Control | PM
ALD | Allendale | PS-630 | Pressure Switch | PM
ALD | Allendale | PS-632 | Pressure Switch | PM
ALD | Allendale | PT-606 | Pressure Transmitter | PM
ALD | Allendale | PT-608 | Pressure Transmitter | PM
ALD | Allendale | PT-609 | Pressure Transmitter | PM
ALD | Allendale | PT-610 | Pressure Transmitter | PM
ALD | Allendale | PT-611 | Unit 3 Case Pressure | PM
ALD | Allendale | PT-612 | Unit 5 Case Pressure | PM
ALD | Allendale | PT-613 | Pressure Transmitter | PM
ALD | Allendale | PT-614 | Pressure Transmitter | PM
ALD | Allendale | PT-631 | 12 Inch Line Discharge Pressure | PM
ALD | Allendale | TIT-707 | Temperature Transmitter | PM
ALD | Allendale | TIT-708 | Temperature Transmitter | PM
ALD | Allendale | TIT-709 | Temperature Transmitter | PM
ALD | Allendale | TIT-710 | Temperature Transmitter | PM
ALD | Allendale | TIT-711 | Temperature Transmitter | PM
ALD | Allendale | TIT-712 | Meter #70 Stream 1 Temperature | PM
ALD | Allendale | TRV-101 | LCR 16 | PM
ALD | Allendale | TRV-102 | Booster Pump | PM
ALD | Allendale | TRV-103 | Oil Header | PM
ALD | Allendale | TRV-104 | Oil Header | PM
ALD | Allendale | TRV-105 | Prover | PM
ALD | Allendale | TT-701 | Temperature Transmitter | PM
ALD | Allendale | TT-702 | Temperature Transmitter | PM
ALD | Allendale | TT-703 | Temperature Transmitter | PM
ALD | Allendale | TT-704 | Temperature Transmitter | PM
ALD | Allendale | TT-705 | Temperature Transmitter | PM
ALD | Allendale | TT-706 | Temperature Transmitter | PM
ALD | Allendale | TT-709 | Temperature Transmitter | PM
ALD | Allendale | VM-901 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-902 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-903 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-904 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-905 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-906 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-907 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-907 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-908 | Hazardous Atmosphere Transmitter | PM
ALD | Allendale | VM-909 | Hazardous Atmosphere Transmitter | PM
HMD | Hammond | A1 | Gate Valve | PM
HMD | Hammond | A108 | Gate Valve | PM
HMD | Hammond | A109 | Gate Valve | PM
HMD | Hammond | A11 | Gate Valve | PM
HMD | Hammond | A110 | Gate Valve | PM
HMD | Hammond | A111 | Gate Valve | PM
HMD | Hammond | A112 | Gate Valve | PM
HMD | Hammond | A113 | Gate Valve | PM
HMD | Hammond | A115 | Gate Valve | PM
HMD | Hammond | A116 | Gate Valve | PM
HMD | Hammond | A117 | Gate Valve | PM
HMD | Hammond | A121 | Gate Valve | PM
HMD | Hammond | A122 | Gate Valve | PM
HMD | Hammond | A123 | Gate Valve | PM
HMD | Hammond | A124 | Gate Valve | PM
HMD | Hammond | A125 | Gate Valve | PM
HMD | Hammond | A126 | Gate Valve | PM
HMD | Hammond | A127 | Gate Valve | PM
HMD | Hammond | A128 | Gate Valve | PM
HMD | Hammond | A150 | Gate Valve | PM
HMD | Hammond | A18 | Gate Valve | PM
HMD | Hammond | A19 | Gate Valve | PM
HMD | Hammond | A2 | Gate Valve | PM
HMD | Hammond | A20 | Gate Valve | PM
HMD | Hammond | A29 | Gate Valve | PM
HMD | Hammond | A3 | Gate Valve | PM
HMD | Hammond | A30 | Gate Valve | PM
HMD | Hammond | A31 | Gate Valve | PM
HMD | Hammond | A32 | Gate Valve | PM
HMD | Hammond | A33 | Gate Valve | PM
HMD | Hammond | A34 | Gate Valve | PM
HMD | Hammond | A35 | Gate Valve | PM
HMD | Hammond | A36 | Gate Valve | PM
HMD | Hammond | A37 | Gate Valve | PM
HMD | Hammond | A4 | Gate Valve | PM
HMD | Hammond | A40 | Gate Valve | PM
HMD | Hammond | A41 | Gate Valve | PM
HMD | Hammond | A42 | Gate Valve | PM
HMD | Hammond | A43 | Gate Valve | PM
HMD | Hammond | A44 | Gate Valve | PM
HMD | Hammond | A45 | Gate Valve | PM
HMD | Hammond | A46 | Gate Valve | PM
HMD | Hammond | A47 | Gate Valve | PM
HMD | Hammond | A48 | Gate Valve | PM
HMD | Hammond | A49 | Gate Valve | PM
HMD | Hammond | A50 | Gate Valve | PM
HMD | Hammond | A53 | Gate Valve | PM
HMD | Hammond | A54 | Gate Valve | PM
HMD | Hammond | A55 | Gate Valve | PM
HMD | Hammond | A58 | Gate Valve | PM
HMD | Hammond | A59 | Gate Valve | PM
HMD | Hammond | A60 | Gate Valve | PM
HMD | Hammond | A61 | Gate Valve | PM
HMD | Hammond | A62 | Gate Valve | PM
HMD | Hammond | A64 | Gate Valve | PM
HMD | Hammond | A65 | Gate Valve | PM
HMD | Hammond | A66 | Gate Valve | PM
HMD | Hammond | A69 | Gate Valve | PM
HMD | Hammond | A7 | Gate Valve | PM
HMD | Hammond | A70 | Gate Valve | PM
HMD | Hammond | A8 | Gate Valve | PM
HMD | Hammond | A9 | Gate Valve | PM
HMD | Hammond | A90 | Gate Valve | PM
HMD | Hammond | BP113 | Plug Valve | PM
HMD | Hammond | C108 | Swing Check Valve | PM
HMD | Hammond | M141 | Gate Valve | PM
HMD | Hammond | M158 | Gate Valve | PM
HMD | Hammond | M186 | Gate Valve | PM
HMD | Hammond | M188 | Gate Valve | PM
HMD | Hammond | M208 | Gate Valve | PM
HMD | Hammond | M225 | Gate Valve | PM
HMD | Hammond | P109 | Gate Valve | PM
HMD | Hammond | P110 | Gate Valve | PM
HMD | Hammond | P204 | Gate Valve | PM
HMD | Hammond | RV633 | Vavle | PM
HMD | Hammond | U1 | Gate Valve | PM
HMD | Hammond | U10 | Gate Valve | PM
HMD | Hammond | U12 | Gate Valve | PM
HMD | Hammond | U13 | Gate Valve | PM
HMD | Hammond | U14 | Gate Valve | PM
HMD | Hammond | U16 | Gate Valve | PM
HMD | Hammond | U17 | Gate Valve | PM
HMD | Hammond | U18 | Gate Valve | PM
HMD | Hammond | U2 | Gate Valve | PM
HMD | Hammond | U29 | Gate Valve | PM
HMD | Hammond | U3 | Gate Valve | PM
HMD | Hammond | U30 | Gate Valve | PM
HMD | Hammond | U31 | Gate Valve | PM
HMD | Hammond | U32 | Gate Valve | PM
HMD | Hammond | U33 | Gate Valve | PM
HMD | Hammond | U34 | Gate Valve | PM
HMD | Hammond | U35 | Gate Valve | PM
HMD | Hammond | U36 | Gate Valve | PM
HMD | Hammond | U37 | Gate Valve | PM
HMD | Hammond | U38 | Gate Valve | PM
HMD | Hammond | U39 | Gate Valve | PM
HMD | Hammond | U40 | Gate Valve | PM
HMD | Hammond | U41 | Gate Valve | PM
HMD | Hammond | U5 | Gate Valve | PM
HMD | Hammond | U7 | Gate Valve | PM
HMD | Hammond | U9 | Gate Valve | PM
HMD | Hammond | X227 | Gate Valve | PM
HMD | Hammond | 2901 | Gate Valve | PM
HMD | Hammond | B101 | Vavle | PM
HMD | Hammond | B102 | Gate Valve | PM
HMD | Hammond | B103 | Vavle | PM
HMD | Hammond | B104 | Gate Valve | PM
HMD | Hammond | B105 | Gate Valve | PM
HMD | Hammond | B107 | Gate Valve | PM
HMD | Hammond | BP106 | Plug Valve | PM
HMD | Hammond | BP112 | Gate Valve | PM
HMD | Hammond | BP113 | Gate Valve | PM
HMD | Hammond | C102 | Swing Check | PM
HMD | Hammond | C103 | Swing Check | PM
HMD | Hammond | C104 | Swing Check | PM
HMD | Hammond | C105 | Swing Check | PM
HMD | Hammond | C106 | Swing Check | PM
HMD | Hammond | C109 | Swing Check | PM
HMD | Hammond | C110 | Swing Check | PM
HMD | Hammond | C111 | Swing Check | PM
HMD | Hammond | C128 | Vavle | PM
HMD | Hammond | M158 | Gate Valve | PM
HMD | Hammond | M177 | Gate Valve | PM
HMD | Hammond | M178 | Gate Valve | PM
HMD | Hammond | M179 | Vavle | PM
HMD | Hammond | M180 | Vavle | PM
HMD | Hammond | M181 | Vavle | PM
HMD | Hammond | P101 | Gate Valve | PM
HMD | Hammond | P106 | Gate Valve | PM
HMD | Hammond | P109 | Gate Valve | PM
HMD | Hammond | P110 | Gate Valve | PM
HMD | Hammond | P111 | Gate Valve | PM
HMD | Hammond | LIT-552 | Sump Tank Level Transmitter | DOT
HMD | Hammond | LSHH-502 | Sump Level Switch Hi Hi | DOT