## WebTMAExport
Area Name | Repair Center Code | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order # | Slot ID
Port Arthur | 01 | Hankamer | ZT-603 | 008383 | Position Transmitter | Transmitter | Position | [8 empty] | HAN-ZT-603
Port Arthur | 01 | Hankamer | ZSO-603 | 008382 | Position Switch | Switch | Position | [8 empty] | HAN-ZSO-603
Port Arthur | 01 | Hankamer | VTR-101 | 008381 | Transformer | Transformer | [9 empty] | HAN-VTR-101
Port Arthur | 01 | Hankamer | VFD-REACTOR | 008380 | VFD Reactor | Reactor | VFD | [8 empty] | HAN-VFD-REACTOR
Port Arthur | 01 | Hankamer | SV-520 | 008379 | Solenoid Valve | Valve | Solenoid | [8 empty] | HAN-SV-520
Port Arthur | 01 | Hankamer | SV-510 | 008378 | Solenoid Valve | Valve | Solenoid | [8 empty] | HAN-SV-510
Port Arthur | 01 | Hankamer | MLP-2-Motor | 008377 | Horizontal Motor | Motor | Horizontal | [8 empty] | HAN-MLP-2-Motor
Port Arthur | 01 | Hankamer | PU2-LUB | 008376 | Lube Oil System | Lube Oil System | [9 empty] | HAN-PU2-LUB
Port Arthur | 01 | Hankamer | MLP-1-Motor | 008375 | Horizontal Motor | Motor | Horizontal | [8 empty] | HAN-MLP-1-Motor
Port Arthur | 01 | Hankamer | PU1-LUB | 008374 | Lube Oil System | Lube Oil System | [9 empty] | HAN-PU1-LUB
Port Arthur | 01 | Hankamer | PSL-622 | 008373 | Pressure Switch | Switch | Pressure | [8 empty] | HAN-PSL-622
Port Arthur | 01 | Hankamer | PSL-612 | 008372 | Pressure Switch | Switch | Pressure | [8 empty] | HAN-PSL-612
Port Arthur | 01 | Hankamer | PSH-624 | 008371 | Pressure Switch | Switch | Pressure | [8 empty] | HAN-PSH-624
Port Arthur | 01 | Hankamer | PSH-614 | 008370 | Pressure Switch | Switch | Pressure | [8 empty] | HAN-PSH-614
Port Arthur | 01 | Hankamer | LSHH-520 | 008369 | Level Switch | Switch | Level | [8 empty] | HAN-LSHH-520
Port Arthur | 01 | Hankamer | LSHH-510 | 008368 | Level Switch | Switch | Level | [8 empty] | HAN-LSHH-510
Port Arthur | 01 | Hankamer | ESDP-1 | 008367 | A/C Distribution Panel | Panel | A/C Distribution | [8 empty] | HAN-ESDP-1
Port Arthur | 01 | Hankamer | ATS | 008366 | Automatic Transfer Switch | Switch | Automatic Transfer | ASCO Power Technologies | ASCO 7000 Series | ASCO 7000 Series | [5 empty] | HAN-ATS
Port Arthur | 01 | Hankamer | V52 | 007558 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14 | [5 empty] | HAN-V52
Port Arthur | 01 | Port Arthur | TK-120 | 000120 | External Floater Tank | Tank | External Floater | [8 empty] | PTA-TK-120
Wood River | 01 | Wood River | TRV-113 | 006923 | Thermal Relief | Thermal Relief | [9 empty] | WDR-TRV-113
Glenpool | 02 | Springfield | B27 | 009534 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | SPR-B27
Glenpool | 02 | Okmulgee | B27 | 009532 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Limitorque | Limitorque | B320-50 | L561567 | 6 TO 1 Ratio |  |  | 14523-003 | OKM-B27
Glenpool | 02 | Joplin | B27 | 009530 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | JOP-B27
Glenpool | 02 | Claremore | B27 | 009527 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Rotork | Exeeco | B11 | S2160-05-1 | 6 TO 1 Ratio |  |  |  | CLA-B27
Glenpool | 02 | Springfield | B01 | 009523 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | SPR-B01
Glenpool | 02 | Okmulgee | B01 | 009521 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | OKM-B01
Glenpool | 02 | Joplin | B01 | 009519 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | JOP-B01
Glenpool | 02 | Claremore | B01 | 009516 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | CLA-B01
Houston | 02 | Grapeland | B27 | 009536 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Limitorque | Limitorque | B320-50 | H566386 | 6 TO 1 Ratio |  |  |  | GRA-B27
Houston | 02 | Conroe | B27 | 009528 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | CON-B27
Houston | 02 | Conroe | B01 | 009517 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | CON-B01
Port Arthur | 02 | Hankamer | B27 | 009529 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | HAN-B27
Port Arthur | 02 | Hankamer | B01 | 009518 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | HAN-B01
Wood River | 02 | Weldon Spring | B27 | 009535 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Grove | Grove | Seal-O-Ring | [5 empty] | WEL-B27
Wood River | 02 | Rolla | B27 | 009533 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Rotork | Exeeco | B11 | S2193-01 | 6 TO 1 Ratio |  |  |  | ROL-B27
Wood River | 02 | Weldon Spring | B01 | 009524 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Limitorque | Limitorque | B320-50 | L424730 |  |  |  |  | WEL-B01
Wood River | 02 | Rolla | B01 | 009522 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | M & J | M & J | [6 empty] | ROL-B01
Hammond | 03 | Hammond | PRV615 | 009687 | Surge Relief Valve | Valve | Surge Relief | Daniel | [7 empty] | HMD-PRV615
Hammond | 03 | Hammond | M203 | 009540 | Gate Valve | Valve | Gate | WKM | [7 empty] | HMD-M203
Hammond | 03 | Hammond | M203 | 009539 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | [7 empty] | HMD-M203
Hammond | 03 | Hammond | AF-941 | 009293 | Flasher On-Line Instrumentation | On-Line Instrumentation | Flasher | Rotork | [7 empty] | HMD-AF-941
Hammond | 03 | Hammond | B106 | 009292 | Valve | Valve |  | Rotork | [7 empty] | HMD-B106
Hammond | 03 | Hammond | B106 | 009291 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | [7 empty] | HMD-B106
Hammond | 03 | Hammond | PRV635 | 009290 | Surge Relief Valve | Valve | Surge Relief | Brodie | [7 empty] | HMD-PRV635
Hammond | 03 | Hammond | M202 | 009285 | Valve | Valve | [9 empty] | HMD-M202
Hammond | 03 | Hammond | BS-1 | 009284 | 24VDC Battery Charger | Battery Charger | 24VDC | [8 empty] | HMD-BS-1
Wood River | 03 | Gerald | SWGR | 008312 | Switchgear | Switchgear | [9 empty] | GER-SWGR
Wood River | 03 | Gerald | SP-101 | 008311 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | F-4499-00-171 |  |  |  |  | 1356 | GER-SP-101
Wood River | 03 | Gerald | MLP-3-Motor | 008310 | Horizontal Motor | Motor | Horizontal | [8 empty] | GER-MLP-3-Motor
Wood River | 03 | Gerald | MLP-1-Motor | 008309 | Horizontal Motor | Motor | Horizontal | [8 empty] | GER-MLP-1-Motor
Glenpool | 04 | Mount Vernon | 1701 | 009549 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | MTV-1701
Glenpool | 04 | Vinita | 1501 | 009548 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | VIN-1501
Glenpool | 04 | Holdenville | 1101 | 009547 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | HOL-1101
Greenville | 04 | Durant | 901 | 009546 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Daniel | Daniel | [6 empty] | DUR-901
Greenville | 04 | Palestine | 501 | 009545 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Limitorque | Limitorque | B320-50 | H463316 | 6 TO 1 Ratio |  |  | 71674 | PAL-501
Greenville | 04 | Palestine | 501 | 009542 | Gate Valve | Valve | Gate | Daniel | M & J / Daniel | M303 | 16500 RR-8111-01 | 28", ANSI 400 | FE-WE |  |  | PAL-501
Greenville | 04 | Durant | 901 | 009541 | Gate Valve | Valve | Gate | Daniel | M & J / Daniel | M303 | 16499 RR-8748-01 | 28", ANSI 400 | FE-WE |  |  | DUR-901
Hammond | 04 | Chatsworth | 2701 | 009553 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | M & J | M & J | [6 empty] | CHA-2701
Hammond | 04 | Griffith | MIP-HMIPC1 | 009283 | PC | PC |  | Dell | [7 empty] | GRF-MIP-HMIPC1
Houston | 04 | Huntsville | 301 | 009544 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | HUN-301
Houston | 04 | Huntsville | 301 | 009543 | Gate Valve | Valve | Gate | Daniel | M & J / Daniel | M303 | 16514 RR-8764-01 | 28", ANSI 400 | FE-WE |  |  | HUN-301
Hammond | 07 | Hammond | UPS2 | 009688 | UPS | UPS | [9 empty] | HMD-UPS2
Houston | 07 | BRN_HRJ_10_MP105.13 | B101 | 009301 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 200256-1 | 10", ANSI 600 |  |  |  | BRN_HRJ_MOBV105.13-B101
Houston | 07 | BRN_HRJ_10_MP105.13 | B101 | 009300 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | [8 empty] | BRN_HRJ_MOBV105.13-B101