## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Greenville | Coalgate | 142 | 004669 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | 202 | 004670 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273201-1 | 28", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 202 | 009003 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 70 / FA25A / 86 RPM | B3416902/07 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 202 | 009002 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRA-500 | L573340 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 203 | 004671 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0228048706-1 | 6", ANSI 150 | FE-FE |  | 50990-7F01-01
Greenville | Coalgate | 203 | 009005 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 18 / FA10A / 29 RPM | B3416920/09 |  |  |  | 50990-7F01-01
Greenville | Coalgate | 203 | 009004 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRC-10 | L571526 |  |  |  | 50990-7F01-01
Greenville | Coalgate | 204 | 004672 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273206-1 | 24", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 204 | 009007 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 70 / FA25A / 115 RPM | B3416903/07 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 204 | 009006 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRA-500 | L573342 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 205 | 004673 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273207-1 | 24", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 205 | 009009 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 70 / FA25A / 115 RPM | B3416903/31 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 205 | 009008 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRA-500 | L573366 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 206 | 004674 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273216-1 | 20", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 206 | 009011 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 70 / FA25A / 115 RPM | B3416903/18 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 206 | 009010 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRA-500 | L573370 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 207 | 004675 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273217-1 | 20", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 207 | 009013 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 70 / FA25A / 115 RPM | B3416903/21 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 207 | 009012 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRA-500 | L573613 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 209 | 004676 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B4-C | 0227273226-1 | 4", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 209 | 009015 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 18 / FA10A / 29 RPM | B3416904/02 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 209 | 009014 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRC-10 | L572398 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 210 | 004677 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11492194-1 | 24", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 210 | 009017 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 25 / FA14A / 86 RPM | B3416901/17 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 210 | 009016 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRC-450/S7.26 | L576418 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 211 | 004678 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11492194-2 | 24", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 211 | 009019 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 25 / FA14A / 86 RPM | B3416901/24 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 211 | 009018 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRC-450/S7.26 | L576437 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 220 | 004679 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11492194-3 | 24", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 220 | 009021 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 25 / FA14A / 86 RPM | B3416901/26 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 220 | 009020 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRC-450/S7.26 | L576436 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 221 | 004680 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11492194-4 | 24", ANSI 600 | FE-FE |  | 50990-7F01-00
Greenville | Coalgate | 221 | 009023 | Electric Valve Actuator | Valve Actuator | Electric | Rotork | Rotork | IQ 25 / FA14A / 86 RPM | B3416901/34 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 221 | 009022 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Limitorque | Limitorque | WTRC-450/S7.26 | L576426 |  |  |  | 50990-7F01-00
Greenville | Coalgate | 242 | 004681 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | AC-1 | 004682 | HVAC | HVAC
Greenville | Coalgate | AC-2 | 004683 | HVAC | HVAC
Greenville | Coalgate | AE921 | 004684 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000CH | 1238136
Greenville | Coalgate | AE922 | 004685 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACD0760
Greenville | Coalgate | AE923 | 004686 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4745
Greenville | Coalgate | AE924 | 004687 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4727
Greenville | Coalgate | ATS | 007979 | Automatic Transfer Switch | Switch | Automatic Transfer | ASCO Power Technologies | ASCO 7000 Series | ASCO 7000 Series
Greenville | Coalgate | B01 | 009515 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Limitorque | Limitorque | B320-50 | L422685
Greenville | Coalgate | B01 | 004688 | Gate Valve | Valve | Gate | Daniel | M & J / Daniel | M303 | 16486 RR-5478-01 | 28", ANSI 400 | FE-WE
Greenville | Coalgate | B02 | 004689 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760004 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B03 | 004690 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110221410007 | 2"x1 11/16", ANSI 600 | FE-FE |  | 22647
Greenville | Coalgate | B04 | 004691 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 1100005430001 | 2"x1 11/16", ANSI 600 | FE-FE |  | 22647
Greenville | Coalgate | B05 | 004692 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760008 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B06 | 004693 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1433H RF | 110221410008 | 2"x1 11/16", ANSI 600 | FE-FE |  | 22647
Greenville | Coalgate | B07 | 004694 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110000931001 | 2"x1 11/16", ANSI 600 | FE-FE |  | 22647
Greenville | Coalgate | B08 | 004695 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201750003 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B09 | 004696 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123H RF | 110201770002 | 3", ANSI 150 | FE-FE
Greenville | Coalgate | B10 | 004697 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201750004 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B12 | 004698 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110000931002 | 2"x1 11/16", ANSI 600 | FE-FE |  | 22647
Greenville | Coalgate | B13 | 004699 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201750002 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B14 | 004700 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123H RF | 110201770001 | 3", ANSI 150 | FE-FE
Greenville | Coalgate | B15 | 004701 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201750005 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B17 | 004702 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201750001 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B19 | 004703 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760003 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B21 | 004704 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760002 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B23 | 004705 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0228328906-2 | 12", ANSI 600 | FE-FE
Greenville | Coalgate | B23 | 009024 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Master Gear | Master Gear | 6132374 | 10012-2
Greenville | Coalgate | B24 | 004706 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0228328906-1 | 12", ANSI 600 | FE-FE
Greenville | Coalgate | B24 | 009025 | Quarter Turn Gearbox | Gearbox | Quarter Turn | Master Gear | Master Gear | 6132374 | 10012-2
Greenville | Coalgate | B26 | 004707 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760007 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B27 | 009526 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Rulyn | Rulyn Gear | RLT2/6-125-18B | PN7-232064
Greenville | Coalgate | B27 | 004708 | Gate Valve | Valve | Gate | Daniel | Daniel | M303D | 00-01-00305 | 28", ANSI 400 | FE-WE
Greenville | Coalgate | B32 | 004709 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110201790001 | 6", ANSI 150 | FE-FE
Greenville | Coalgate | B33 | 004710 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110201780003 | 4", ANSI 150 | FE-FE
Greenville | Coalgate | B35 | 004711 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123H RF | 110149570003 | 2"x1 11/16", ANSI 150 | FE-FE |  | 22647
Greenville | Coalgate | B36 | 004712 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110201780001 | 4", ANSI 150 | FE-FE
Greenville | Coalgate | B37 | 004713 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110201780004 | 4", ANSI 150 | FE-FE
Greenville | Coalgate | B38 | 004714 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1133H RF |  | 2"x1 11/16", ANSI 150 | FE-FE
Greenville | Coalgate | B39 | 004715 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110201780002 | 4", ANSI 150 | FE-FE
Greenville | Coalgate | B40 | 004716 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110000931003 | 2"x1 11/16", ANSI 150 | FE-FE |  | 22647
Greenville | Coalgate | B42 | 004717 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760005 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B43 | 004718 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760006 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B44 | 004719 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110201760001 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | B46 | 004720 | Gate Valve | Valve | Gate | Velan | Velan | Figure F15-0064C-02TY | None | 8", ANSI 150 | FE-FE
Greenville | Coalgate | B47 | 004721 | Gate Valve | Valve | Gate | Velan | Velan | Figure F15-0064C-02TY | None | 8", ANSI 150 | FE-FE
Greenville | Coalgate | B48 | 004722 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110201780005 | 4", ANSI 150 | FE-FE
Greenville | Coalgate | BS | 009001 | 24VDC Battery Cells | Battery Cells | 24VDC | Fiamm | Monolite | 2SLA405
Greenville | Coalgate | BS | 004723 | 24VDC Battery Charger | Battery Charger | 24VDC | Alcad | Alcad | TLRF24-125E | 142659 | 24VDC / 125A
Greenville | Coalgate | C11 | 004724 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Figure 654 (Spring) | 021800163 | 24", ANSI 600 | FE-FE
Greenville | Coalgate | C16 | 004725 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Figure 654 (Spring) | 021800161 | 24", ANSI 600 | FE-FE
Greenville | Coalgate | C18 | 004726 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Figure 654 (Spring) | 021800162 | 24", ANSI 600 | FE-FE
Greenville | Coalgate | C20 | 004727 | Spring Loaded Lock Open Check Valve | Valve | Spring Loaded Lock Open Check | Daniel | Daniel | Figure 654 (Spring-Lock) | 022300001 | 28", ANSI 600 | FE-FE
Greenville | Coalgate | C22 | 004728 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | Figure 1565 | 28136655-1 | 6", ANSI 600 | FE-FE
Greenville | Coalgate | C25 | 004729 | Spring Loaded Lock Open Check Valve | Valve | Spring Loaded Lock Open Check | Daniel | Daniel | Figure 654 (Spring-Lock) | 022300002 | 28", ANSI 600 | FE-FE
Greenville | Coalgate | C28 | 004730 | Swing Check Valve | Valve | Swing Check |  |  |  | I9171 |  |  |  | 22663
Greenville | Coalgate | C29 | 004731 | Swing Check Valve | Valve | Swing Check |  |  |  | I9173 |  |  |  | 22663
Greenville | Coalgate | C30 | 004732 | Swing Check Valve | Valve | Swing Check |  |  |  | I7284 |  |  |  | 22663
Greenville | Coalgate | C31 | 004733 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | Figure 1565 | 28136643-1 | 4", ANSI 600 | FE-FE
Greenville | Coalgate | C34 | 004734 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | Figure 1515 | 28136667-1 | 4", ANSI 150 | FE-FE
Greenville | Coalgate | C41 | 004735 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | 910-025144-12 | I9001 | 2", ANSI 600 | FE-FE |  | 22663
Greenville | Coalgate | C45 | 004736 | Swing Check Valve | Valve | Swing Check |  |  |  | I9180 |  |  |  | 22663
Greenville | Coalgate | Chart Recorder | 008986 | Chart Recorder | Chart Recorder |  | Yokogawa
Greenville | Coalgate | Comms UPS | 010461 | UPS Battery Cells | Battery Cells | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET | WS0214140555
Greenville | Coalgate | DRA | 004737 | DRA Injection System | DRA Injection System
Greenville | Coalgate | EPM | 008985 | Electronic Power Meter | Meter | Electronic Power | General Electric |  | Power Leader
Greenville | Coalgate | ESDP-1 | 007980 | A/C Distribution Panel | Panel | A/C Distribution
Greenville | Coalgate | FSH-402 | 004738 | Flow Switch | Switch | Flow | SOR | SOR | 901A-F2A-R-F4-N7-CSTT | 20603161
Greenville | Coalgate | GENSET | 004739 | Generator | Generator |  | Olympian | D100P1 | OLY00000CNPS00596 | 130145/04
Greenville | Coalgate | HMI | 008996 | PC | PC |  | Dell
Greenville | Coalgate | LIT-502 | 004740 | Level Transmitter | Transmitter | Level | SAAB | Tank Radar Pro | TH40FD1CR0 | 8899
Greenville | Coalgate | LSHH-501 | 004741 | Level Switch | Switch | Level | SOR | SOR | 701K1-U-P6-C-FMTT | 030205497
Greenville | Coalgate | LSHH-503 | 004742 | Level Switch | Switch | Level
Greenville | Coalgate | LSHH-510 | 007981 | Level Switch | Switch | Level
Greenville | Coalgate | LSHH-520 | 007982 | Level Switch | Switch | Level
Greenville | Coalgate | LT-504 | 004743 | Level Transmitter | Transmitter | Level | SAAB | Tank Radar Pro
Greenville | Coalgate | M52 | 004744 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Greenville | Coalgate | MCC-201 | 004745 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Greenville | Coalgate | MLN-111 | 008983 | Motor Management Relay | Relay | Motor Management | General Electric | Multilin 469 | Multilin 469
Greenville | Coalgate | MLN-211 | 008982 | Motor Management Relay | Relay | Motor Management | General Electric | Multilin 469 | Multilin 469
Greenville | Coalgate | MLN-M11 | 008981 | Feeder Management Relay | Relay | Feeder Management | General Electric | Multilin 750 | Multilin 750
Greenville | Coalgate | MLN-T11 | 008980 | Feeder Management Relay | Relay | Feeder Management | General Electric | Multilin 750 | Multilin 750
Greenville | Coalgate | MLN-Y11 | 008984 | Feeder Protection Relay | Relay | Feeder Protection | General Electric | Multilin 735 | Multilin 735
Greenville | Coalgate | MLP-1-Motor | 007988 | Horizontal Motor | Motor | Horizontal
Greenville | Coalgate | MLP-1-Pump | 004761 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Greenville | Coalgate | MLP-2-Motor | 007990 | Horizontal Motor | Motor | Horizontal
Greenville | Coalgate | MLP-2-Pump | 004762 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Greenville | Coalgate | PCS-1 | 008987 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-2 | 008988 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-3 | 008989 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-4 | 008990 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCV640 | 004746 | Surge Relief Valve | Valve | Surge Relief | Daniel | Daniel | Figure S0108518S0-200 | 0210-108518S0-1-6 | 12", ANSI 600 | FE-FE
Greenville | Coalgate | PFCC-1 | 004747 | Power Factor Correction Capacitor Bank | Capacitor Bank | Power Factor Correction
Greenville | Coalgate | PFCC-2 | 004748 | Power Factor Correction Capacitor Bank | Capacitor Bank | Power Factor Correction
Greenville | Coalgate | PIT-601 | 004749 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219824
Greenville | Coalgate | PIT-602 | 004750 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219827
Greenville | Coalgate | PIT-603 | 004751 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219812
Greenville | Coalgate | PIT-604 | 004752 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1921784
Greenville | Coalgate | PIT-607 | 004753 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF | 1219594
Greenville | Coalgate | PIT-608 | 004754 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219815
Greenville | Coalgate | PIT-611 | 004755 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219816
Greenville | Coalgate | PIT-621 | 004756 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1399109
Greenville | Coalgate | PQM | 008979 | Power Quality Meter | Meter | Power Quality | General Electric | Multilin PQM | Multilin PQM
Greenville | Coalgate | PSH-614 | 007983 | Pressure Switch | Switch | Pressure
Greenville | Coalgate | PSH-624 | 007984 | Pressure Switch | Switch | Pressure
Greenville | Coalgate | PSL-612 | 007985 | Pressure Switch | Switch | Pressure
Greenville | Coalgate | PSL-622 | 007986 | Pressure Switch | Switch | Pressure
Greenville | Coalgate | PSV-641 | 004757 | Thermal Relief | Thermal Relief
Greenville | Coalgate | PSV-643 | 004758 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81PS1M88-8 | 02/27014
Greenville | Coalgate | PT-601A | 004759 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219826
Greenville | Coalgate | PT-603A | 004760 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219813
Greenville | Coalgate | PU1-LUB | 007987 | Lube Oil System | Lube Oil System
Greenville | Coalgate | PU2-LUB | 007989 | Lube Oil System | Lube Oil System
Greenville | Coalgate | PV603 | 004763 | Ball Valve | Valve | Ball | Fisher | Fisher | V260C
Greenville | Coalgate | PV603 | 008999 | Electraulic Valve Actuator | Valve Actuator | Electraulic | Rexa | Rexa | R100000-90-.5DP9-P-0 | C020306-2-6
Greenville | Coalgate | PV-603 Panel | 008998 | Control Panel | Panel | Control | Rexa
Greenville | Coalgate | PV-603 Transformer | 009000 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Greenville | Coalgate | SP-101 | 004764 | Vertical Can-Sump Pump | Vertical Can-Sump Pump |  | RuhrPumpen | RuhrPumpen | 600 VLT | 200056-6 |  |  |  | Willbros#50990602300
Greenville | Coalgate | SP-101 | 008690 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | Not Found |  |  |  |  | Willbros
Greenville | Coalgate | SSS-1 | 008991 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | ST-101 | 004765 | Sump Tank | Tank | Sump
Greenville | Coalgate | STR-101 | 004766 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel | 0201-062E
Greenville | Coalgate | Sub-Station PLC | 008994 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Greenville | Coalgate | SV104 | 004767 | Solenoid Valve | Valve | Solenoid | Cirlcle Seal | Liquid 40 SUS | 31840-200PNEA2C
Greenville | Coalgate | SV107 | 004768 | Solenoid Valve | Valve | Solenoid | Cirlcle Seal | Liquid 40 SUS | 31840-200PNEA2C
Greenville | Coalgate | SV-510 | 007991 | Solenoid Valve | Valve | Solenoid
Greenville | Coalgate | SV-520 | 007992 | Solenoid Valve | Valve | Solenoid
Greenville | Coalgate | T52 | 004769 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | TK-294 | 000294 | Transmix Tank | Tank | Transmix | [6 empty] | 2002-01-01
Greenville | Coalgate | TP-101 | 004770 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 | 52040 | 3 1/2" Plunger, 126 GPM
Greenville | Coalgate | TR-1 | 004771 | Thermal Relief | Thermal Relief |  | Farris Engineering |  | 27EA34-M40/S4 | 445120-3-KE
Greenville | Coalgate | TR-101 | 004772 | Transformer | Transformer
Greenville | Coalgate | TR-2 | 004773 | Thermal Relief | Thermal Relief |  | Farris Engineering |  | 27EA34-M20/S4 | 543365-1-KE
Greenville | Coalgate | TR-203 | 008997 | 480V to 240V/120V Transformer | Transformer | 480V to 240V/120V
Greenville | Coalgate | TT-701 | 004774 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0415572
Greenville | Coalgate | TT-702 | 004775 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0415573
Greenville | Coalgate | TT-704 | 004776 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2 | 0490788
Greenville | Coalgate | TT-707 | 004777 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 644HNAJ6F6X2 | 0109615
Greenville | Coalgate | V142 | 004778 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | V242 | 004779 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | V52 | 004780 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | VFD1 | 008992 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | VFD-100 | 004781 | Variable Frequency Drive | Variable Frequency Drive |  | Robicon | Harmony Drive 5000HP, 3733KW | P/N 459795.00 | 04737
Greenville | Coalgate | VFD2 | 008993 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | VFDC | 008995 | VFD Controller | Controller | VFD
Greenville | Coalgate | VFD-CT | 004782 | VFD Cooling Tower | Cooling Tower | VFD
Greenville | Coalgate | VFD-REACTOR | 007993 | VFD Reactor | Reactor | VFD |  |  |  | U37363
Greenville | Coalgate | VT-810 | 004783 | Vibration Transmitter | Transmitter | Vibration
Greenville | Coalgate | VT-813 | 004784 | Vibration Transmitter | Transmitter | Vibration
Greenville | Coalgate | VT-820 | 004785 | Vibration Transmitter | Transmitter | Vibration
Greenville | Coalgate | VT-823 | 004786 | Vibration Transmitter | Transmitter | Vibration
Greenville | Coalgate | VTR-101 | 007994 | Transformer | Transformer
Greenville | Coalgate | ZS-301 | 004787 | Sphere Detector | Sphere Detector
Greenville | Coalgate | ZS-302 | 004788 | Sphere Detector | Sphere Detector
Greenville | Coalgate | ZS-303 | 004789 | Sphere Detector | Sphere Detector
Greenville | Coalgate | ZS-304 | 004790 | Sphere Detector | Sphere Detector
Greenville | Coalgate | ZSO-603 | 007995 | Position Switch | Switch | Position
Greenville | Coalgate | ZT-603 | 007996 | Position Transmitter | Transmitter | Position
Wood River | Gerald | 2101 | 009551 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator
Wood River | Gerald | 2101 | 006316 | Gate Valve | Valve | Gate | M & J | M & J | M303 | 17716 | 24", ANSI 400
Wood River | Gerald | 2102 | 007096 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129912-1 | 24", ANSI 400 | FE-WE
Wood River | Gerald | 2102 | 009722 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 24" Gate | 71-12457-3
Wood River | Gerald | 2104 | 006317 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129922-1 | 20", ANSI 400 | WE-WE
Wood River | Gerald | 2104 | 009723 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate | 71-12401-3
Wood River | Gerald | 2105 | 006318 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129922-2 | 20", ANSI 400 | WE-WE
Wood River | Gerald | 2105 | 009724 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate
Wood River | Gerald | 2106 | 006319 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 900-51252-01-216 | 16", ANSI 400 | WE-WE
Wood River | Gerald | 2106 | 009725 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 71-12458-8
Wood River | Gerald | 2107 | 006320 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 900-51252-01-416 | 16", ANSI 400 | WE-WE
Wood River | Gerald | 2107 | 009726 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 71-12460-3
Wood River | Gerald | 2110 | 006321 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE
Wood River | Gerald | 2111 | 006322 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE
Wood River | Gerald | 2120 | 006323 | Gate Valve | Valve | Gate
Wood River | Gerald | 2121 | 006324 | Gate Valve | Valve | Gate
Wood River | Gerald | 2130 | 006325 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE
Wood River | Gerald | 2131 | 006326 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 600 | FE-WE
Wood River | Gerald | BP1 | 006327 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley |  |  | 24", ANSI 400 | FE-FE
Wood River | Gerald | BP2 | 006328 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley |  |  | 24", ANSI 400 | FE-FE
Wood River | Gerald | C1 | 006329 | Swing Check Valve | Valve | Swing Check | Tom Wheatley | Tom Wheatley |  |  | 2", ANSI 300 | FE-FE
Wood River | Gerald | C2 | 006330 | Swing Check Valve | Valve | Swing Check | Charles Wheatley | Charles Wheatley |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | C3 | 006331 | Swing Check Valve | Valve | Swing Check |  |  |  |  | 6", ANSI 400 | FE-FE
Wood River | Gerald | CV | 006332 | Ball Valve | Valve | Ball | Fisher |  | V-25 | 7469DTD27411 | 16", ANSI 600 | FE-FE
Wood River | Gerald | DRA | 006333 | DRA Injection System | DRA Injection System
Wood River | Gerald | Generic | 006334 | Generic | Generic
Wood River | Gerald | HP-101 | 010476 | Horizontal Motor | Motor | Horizontal | Tatung Company |  | WB0156FFA | 0155B2524
Wood River | Gerald | HP-101 | 006335 | Variable Volume Pump | Pump | Variable Volume | Parker | Parker | PVP3330R21 | D30Y077
Wood River | Gerald | HP-102 | 006336 | Gear Pump | Pump | Gear | Rivett
Wood River | Gerald | HP-102 | 010486 | Horizontal Motor | Motor | Horizontal
Wood River | Gerald | LS-1 | 006337 | Level Switch | Switch | Level
Wood River | Gerald | LSH-501 | 006338 | Level Switch | Switch | Level
Wood River | Gerald | LSH-530 | 006339 | Level Switch | Switch | Level
Wood River | Gerald | LSHH-502 | 006340 | Level Switch | Switch | Level | Magnetrol |  | 915-A1A2-F10/9B1-1221-024 | 450046-01-004
Wood River | Gerald | LT-501 | 006341 | Level Transmitter | Transmitter | Level | Varec | Figure 2500 | Model B | B-36203
Wood River | Gerald | LT-503 | 006342 | Level Transmitter | Transmitter | Level | K-TEK |  | SPM100/SS6/LOC/HRT/F26T/1/132 | 98-S1895C
Wood River | Gerald | MLP-1-Motor | 008309 | Horizontal Motor | Motor | Horizontal
Wood River | Gerald | MLP-1-Pump | 006366 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Wood River | Gerald | MLP-3-Motor | 008310 | Horizontal Motor | Motor | Horizontal
Wood River | Gerald | MLP-3-Pump | 006367 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Wood River | Gerald | P1 | 006343 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 400 | FE-FE |  | 1395
Wood River | Gerald | P2 | 006344 | Valve | Valve
Wood River | Gerald | P3 | 006345 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 600 | FE-FE |  | 1395
Wood River | Gerald | PIC-601 | 006346 | PID Process Controller | Process Controller | PID
Wood River | Gerald | PIC-607 | 006347 | PID Process Controller | Process Controller | PID
Wood River | Gerald | PR-601 | 006348 | Chart Recorder | Chart Recorder
Wood River | Gerald | PR-605 | 006349 | Chart Recorder | Chart Recorder
Wood River | Gerald | PR-607 | 006350 | Chart Recorder | Chart Recorder
Wood River | Gerald | PSH-601A | 006351 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1094949
Wood River | Gerald | PSH-602 | 006352 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1094944
Wood River | Gerald | PSH-607 | 006353 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K757265
Wood River | Gerald | PSH-614 | 006354 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K810017
Wood River | Gerald | PSH-634 | 006355 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K810010
Wood River | Gerald | PSHH-607 | 006356 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K810021
Wood River | Gerald | PSL-601 | 006357 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K802555
Wood River | Gerald | PSL-608 | 006358 | Pressure Switch | Switch | Pressure
Wood River | Gerald | PSL-609 | 006359 | Pressure Switch | Switch | Pressure
Wood River | Gerald | PSL-613 | 006360 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K809946
Wood River | Gerald | PSL-633 | 006361 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K809940
Wood River | Gerald | PSLL-610 | 006362 | Pressure Switch | Switch | Pressure
Wood River | Gerald | PT-601 | 006363 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1643474
Wood River | Gerald | PT-605 | 006364 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1668696
Wood River | Gerald | PT-607 | 006365 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1373935
Wood River | Gerald | SD1 | 006368 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 400 | FE-FE |  | 1395
Wood River | Gerald | SP-101 | 008311 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | F-4499-00-171 |  |  |  |  | 1356
Wood River | Gerald | SP-101 | 006369 | Vertical Can-Sump Pump | Vertical Can-Sump Pump |  | Byron Jackson |  | 6G M | 701H0135 |  |  |  | 1356
Wood River | Gerald | STR-101 | 006370 | Strainer | Strainer
Wood River | Gerald | SWGR | 008312 | Switchgear | Switchgear
Wood River | Gerald | TK-399 | 000399 | Transmix Tank | Tank | Transmix | [6 empty] | 1971-01-01
Wood River | Gerald | TP-101 | 010496 | Horizontal Motor | Motor | Horizontal | Marathon Electric |  | 364TTFS7036DDW
Wood River | Gerald | TP-101 | 006371 | Positive Displacement Pump | Pump | Positive Displacement | Gaso | Gaso | Series 1600 | 35246 | 2 1/2 - 5 x 8
Wood River | Gerald | TR-101 | 006372 | Thermal Relief | Thermal Relief |  | Hydroseal | Hydroseal | 143M0V00/R5 | 536924-1
Wood River | Gerald | TR-102 | 006373 | Thermal Relief | Thermal Relief |  | Advance Valve
Wood River | Gerald | TR-103 | 006374 | Thermal Relief | Thermal Relief |  | Hydroseal | Hydroseal | 143M0V00/R5 | 536925-1
Wood River | Gerald | TR-104 | 006375 | Thermal Relief | Thermal Relief |  | Advance Valve |  |  | RRA17-7
Wood River | Gerald | TR-105 | 006376 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81S1F46-4 | M13124436
Wood River | Gerald | TR-106 | 006377 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  |  | M13124439
Wood River | Gerald | U1 | 006378 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Wood River | Gerald | U10 | 006379 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 400 | FE-FE
Wood River | Gerald | U11 | 006380 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 6", ANSI 400 | FE-FE
Wood River | Gerald | U12 | 006381 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U13 | 006382 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | U14 | 006383 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U15 | 006384 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U16 | 006385 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U17 | 006386 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 600 | FE-FE
Wood River | Gerald | U2 | 006387 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Wood River | Gerald | U3 | 006388 | Gate Valve | Valve | Gate | Crane |  |  |  | 2", ANSI 300 | FE-FE
Wood River | Gerald | U4 | 006389 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 6", ANSI 150 | FE-FE
Wood River | Gerald | U5 | 006390 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | U6 | 006391 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 600 | FE-FE
Wood River | Gerald | U7 | 006392 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Wood River | Gerald | U8 | 006393 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | U9 | 006394 | Gate Valve | Valve | Gate | Crane |  |  |  | 3", ANSI 150 | FE-FE
Wood River | Gerald | VT-101 | 006395 | Vibration Transmitter | Transmitter | Vibration
Wood River | Gerald | VT-103 | 006396 | Vibration Transmitter | Transmitter | Vibration
Wood River | Gerald | ZS-301 | 006397 | Sphere Detector | Sphere Detector
Wood River | Gerald | ZS-302 | 006398 | Sphere Detector | Sphere Detector
Wood River | Gerald | ZS-303 | 006399 | Sphere Detector | Sphere Detector
Wood River | Gerald | ZS-304 | 006400 | Sphere Detector | Sphere Detector