## Sheet1
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Hammond | Columbus | DT-301 |  | Transmitter | Density
Hammond | Columbus | FY-401 |  | Flow Meter | Ultrasonic
Hammond | Columbus | PIT-601 |  | Transmitter | Pressure
Hammond | Columbus | TIT-701 |  | Transmitter | Temperature
Hammond | Columbus | PSH-601 |  | Switch | Pressure
Hammond | Columbus | TIT-702 |  | Transmitter | Temperature
Hammond | Columbus | B103 |  | Valve | Ball
Hammond | Columbus | B103 |  | Valve Actuator | Electric
Hammond | Columbus | PIT-602 |  | Transmitter | Pressure
Hammond | Columbus | TIT-703 |  | Transmitter | Temperature
Hammond | Columbus | PCV-601 |  | Valve | Control
Hammond | Columbus | LSH-601 |  | Switch | Level
Hammond | Columbus | TRV-602 |  | Thermal Relief
Hammond | Columbus | TRV-601 |  | Thermal Relief | Differential
Hammond | Columbus | BS |  | Battery Charger | 24VDC
Hammond | Columbus | BS |  | Battery Cells | 24VDC
Hammond | Columbus | Radio |  | Radio | 900 MHZ Spread Spectrum
Hammond | Columbus | RTU Cabinet |  | Programmable Logic Controller | Controllogix
Hammond | Columbus | RTU Cabinet |  | Communication Gear