## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Hammond | Columbus | B101 | 009927 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-85 | L907371 | 38 TO 1 Ratio
Hammond | Columbus | B101 | 009926 | Gate Valve | Valve | Gate | SPX | M & J | EG24 | 1000002616612 | 16", ANSI 300 | FE-FE
Hammond | Columbus | B102 | 009929 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-85 | L905221 | 38 TO 1 Ratio
Hammond | Columbus | B102 | 009928 | Gate Valve | Valve | Gate | SPX | M & J | EG24 | 1000002616611 | 16", ANSI 300 | FE-FE
Hammond | Columbus | B103 | 010612 | Ball Valve | Valve | Ball
Hammond | Columbus | B103 | 010613 | Electric Valve Actuator | Valve Actuator | Electric | General Electric | RCS | SURE100-30-CW | 5735090705
Hammond | Columbus | BS | 010621 | 24VDC Battery Cells | Battery Cells | 24VDC |  | Deko Unigy | 31HR4000
Hammond | Columbus | BS | 010620 | 24VDC Battery Charger | Battery Charger | 24VDC | SENS | BPS63 | 63F24-25-A740 | 312193 3911 | 24VDC / 25A
Hammond | Columbus | COUPON-1 | 008588 | Corrosion Coupon Holder | Coupon Holder | Corrosion | Weamco | Weamco | CH-100 | 1201-076A | 2", ANSI 300
Hammond | Columbus | COUPON-2 | 008589 | Corrosion Coupon Holder | Coupon Holder | Corrosion | Weamco | Weamco | CH-100 | 1201-076B | 2", ANSI 300
Hammond | Columbus | DT-301 | 010606 | Density Transmitter | Transmitter | Density | Micro Motion | Micro Motion | 7826ADACAALDBA | 264538
Hammond | Columbus | FY-401 | 010607 | Ultrasonic Flow Meter | Flow Meter | Ultrasonic | Siemens | Siemens
Hammond | Columbus | LSH-601 | 010617 | Level Switch | Switch | Level
Hammond | Columbus | PCV-601 | 010616 | Control Valve | Valve | Control | Daniel | Daniel | V710B8CG23KFARA | 1111-472615-12-1 | 8", ANSI 300 | FE-FE
Hammond | Columbus | PIT-601 | 010608 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 2253846
Hammond | Columbus | PIT-602 | 010614 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 2213334
Hammond | Columbus | PSH-601 | 010610 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1638464
Hammond | Columbus | Radio | 010622 | 900 MHZ Spread Spectrum Radio | Radio | 900 MHZ Spread Spectrum | Microwave Data Systems | MDS | iNET 900 | 1480144
Hammond | Columbus | RTU Cabinet | 010624 | Communication Gear | Communication Gear
Hammond | Columbus | RTU Cabinet | 010623 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Hammond | Columbus | TIT-701 | 010609 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4XAC204M5 | 0702255
Hammond | Columbus | TIT-702 | 010611 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5TI | 0702208
Hammond | Columbus | TIT-703 | 010615 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount
Hammond | Columbus | TRV-601 | 010619 | Differential Thermal Relief | Thermal Relief | Differential | Kepner Products Company | Kep-O-Seal | 416F-18 30 ACC
Hammond | Columbus | TRV-602 | 010618 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby | Anderson Greenwood Crosby | 81PS1F88-4 | M10-55238
Hammond | Columbus | X101 | 009931 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | SPX | M & J
Hammond | Columbus | X101 | 009930 | Gate Valve | Valve | Gate | SPX | M & J | M303D | 1000002616615 | 16", ANSI 300 | FE-FE