## WebTMAExport
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
COL | Columbus | DT-301 | Station Gravitometer | PM
COL | Columbus | FY-401 | Ultrasonic Meter | PM
COL | Columbus | PIT-601 | Station Incoming Pressure | DOT
COL | Columbus | TIT-701 | Station Line Temperature | DOT
COL | Columbus | PSH-601 | Station High Pressure Switch | DOT
COL | Columbus | TIT-702 | Ground Temperature | DOT
COL | Columbus | B103 | HAC Line Re-Pressurization Line | PM
COL | Columbus | PIT-602 | HAC Line Pressure Transmitter | DOT
COL | Columbus | TIT-703 | HAC Line Temperature Transmitter | DOT
COL | Columbus | PCV-601 | Buckeye Line (H02 Phillips) Back Pressure Valve | DOT
COL | Columbus | LSH-601 | B101 / B102 Packing Seal Fail | PM
COL | Columbus | TRV-602 | HAC Line Thermal Relief | DOT
COL | Columbus | TRV-601 | Buckeye Line (H02 Phillips) Thermal Relief Valve | DOT
COL | Columbus | BS | Battery System | PM
COL | Columbus | Radio | Radio System | PM
COL | Columbus | RTU Cabinet | Site RTU Cabinet | PM
COL