## CommUPS
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
HAN | Hankamer | Comms UPS | Communication Cabinet UPS | PM
CON | Conroe | Comms UPS | Communication Cabinet UPS | PM
GRA | Grapeland | Comms UPS | Communication Cabinet UPS | PM
MAB | Mabank | Comms UPS | Communication Cabinet UPS | PM
BON | Bonham | Comms UPS | Communication Cabinet UPS | PM
CGT | Coalgate | Comms UPS | Communication Cabinet UPS | PM
JOP | Joplin | Comms UPS | Communication Cabinet UPS | PM
SPR | Springfield | Comms UPS | Communication Cabinet UPS | PM
ROL | Rolla | Comms UPS | Communication Cabinet UPS | PM
WEL | Weldon Spring | Comms UPS | Communication Cabinet UPS | PM

## Multilin
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Glenpool | Claremore | MLN-111 | 010429 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Glenpool | Joplin | MLN-111 | 010430 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Wood River | Rolla | MLN-111 | 010431 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Glenpool | Springfield | MLN-111 | 010432 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Wood River | Weldon Spring | MLN-111 | 010433 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Glenpool | Claremore | MLN-211 | 010434 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Glenpool | Joplin | MLN-211 | 010435 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Wood River | Rolla | MLN-211 | 010436 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Glenpool | Springfield | MLN-211 | 010437 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Wood River | Weldon Spring | MLN-211 | 010438 | Relay | Motor Management | Motor Management Relay | General Electric | Multilin 469 | Multilin 469
Glenpool | Claremore | MLN-M11 | 010439 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Glenpool | Joplin | MLN-M11 | 010440 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Wood River | Rolla | MLN-M11 | 010441 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Glenpool | Springfield | MLN-M11 | 010442 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Wood River | Weldon Spring | MLN-M11 | 010443 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Glenpool | Claremore | PQM | 010444 | Meter | Power Quality | Power Quality Meter | General Electric | Multilin PQM | Multilin PQM
Glenpool | Joplin | PQM | 010445 | Meter | Power Quality | Power Quality Meter | General Electric | Multilin PQM | Multilin PQM
Wood River | Rolla | PQM | 010446 | Meter | Power Quality | Power Quality Meter | General Electric | Multilin PQM | Multilin PQM
Glenpool | Springfield | PQM | 010447 | Meter | Power Quality | Power Quality Meter | General Electric | Multilin PQM | Multilin PQM
Wood River | Weldon Spring | PQM | 010448 | Meter | Power Quality | Power Quality Meter | General Electric | Multilin PQM | Multilin PQM
Glenpool | Claremore | MLN-T11 | 010449 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Glenpool | Joplin | MLN-T11 | 010450 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Wood River | Rolla | MLN-T11 | 010451 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Glenpool | Springfield | MLN-T11 | 010452 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Wood River | Weldon Spring | MLN-T11 | 010453 | Relay | Feeder Management | Feeder Management Relay | General Electric | Multilin 750 | Multilin 750
Port Arthur | Hankamer | Comms UPS | 010456 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Houston | Conroe | Comms UPS | 010457 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Houston | Grapeland | Comms UPS | 010458 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Greenville | Mabank | Comms UPS | 010459 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Greenville | Bonham | Comms UPS | 010460 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Greenville | Coalgate | Comms UPS | 010461 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Glenpool | Joplin | Comms UPS | 010462 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Glenpool | Springfield | Comms UPS | 010463 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Wood River | Rolla | Comms UPS | 010464 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET
Wood River | Weldon Spring | Comms UPS | 010465 | UPS |  | UPS | APC | Smart-UPS 2200XL | SU2200RMXLNET

## ClaremoreUPD
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Greenville | Bonham | 142 | 004148 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Claremore | 142 | 005531 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | 142 | 004669 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Conroe | 142 | 003203 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Grapeland | 142 | 003414 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Port Arthur | Hankamer | 142 | 002849 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Joplin | 142 | 005777 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Mabank | 142 | 003633 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Okmulgee | 142 | 004887 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Rolla | 142 | 006194 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Springfield | 142 | 005987 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Weldon Spring | 142 | 006401 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Bonham | 242 | 004160 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Claremore | 242 | 005543 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | 242 | 004681 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Conroe | 242 | 003215 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Grapeland | 242 | 003426 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Port Arthur | Hankamer | 242 | 002861 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Joplin | 242 | 005789 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Mabank | 242 | 003645 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Okmulgee | 242 | 004899 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Rolla | 242 | 006206 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Springfield | 242 | 005999 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Weldon Spring | 242 | 006413 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Bonham | M52 | 004223 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Glenpool | Claremore | M52 | 005606 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Greenville | Coalgate | M52 | 004744 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Houston | Conroe | M52 | 003278 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Houston | Grapeland | M52 | 003489 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Port Arthur | Hankamer | M52 | 002924 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Glenpool | Joplin | M52 | 005852 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Greenville | Mabank | M52 | 003708 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Glenpool | Okmulgee | M52 | 004962 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Wood River | Rolla | M52 | 006269 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Glenpool | Springfield | M52 | 006062 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Wood River | Weldon Spring | M52 | 006476 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (2000 A) | 4A35142G15
Greenville | Bonham | MCC-201 | 004224 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Glenpool | Claremore | MCC-201 | 005607 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Greenville | Coalgate | MCC-201 | 004745 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Houston | Conroe | MCC-201 | 003279 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Houston | Grapeland | MCC-201 | 003490 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Port Arthur | Hankamer | MCC-201 | 002925 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Glenpool | Joplin | MCC-201 | 005853 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Greenville | Mabank | MCC-201 | 003709 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Glenpool | Okmulgee | MCC-201 | 004963 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Wood River | Rolla | MCC-201 | 006270 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Glenpool | Springfield | MCC-201 | 006063 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Wood River | Weldon Spring | MCC-201 | 006477 | 600 AMP 480V 3PH Motor Control Center | 480V 3PH Motor Control Center | 600 AMP | Cutler-Hammer | Freedom Series 2100 | Freedom Series 2100
Greenville | Bonham | PCS-1 | 008940 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | PCS-1 | 009076 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-1 | 008987 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | PCS-1 | 008800 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | PCS-1 | 008846 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | PCS-1 | 008753 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | PCS-1 | 009118 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | PCS-1 | 008893 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | PCS-1 | 009034 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | PCS-1 | 009202 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | PCS-1 | 009160 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | PCS-1 | 009244 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | PCS-2 | 008941 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | PCS-2 | 009077 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-2 | 008988 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | PCS-2 | 008801 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | PCS-2 | 008847 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | PCS-2 | 008754 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | PCS-2 | 009119 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | PCS-2 | 008894 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | PCS-2 | 009035 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | PCS-2 | 009203 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | PCS-2 | 009161 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | PCS-2 | 009245 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | PCS-3 | 008942 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | PCS-3 | 009078 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-3 | 008989 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | PCS-3 | 008802 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | PCS-3 | 008848 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | PCS-3 | 008755 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | PCS-3 | 009120 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | PCS-3 | 008895 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | PCS-3 | 009036 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | PCS-3 | 009204 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | PCS-3 | 009162 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | PCS-3 | 009246 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | PCS-4 | 008943 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | PCS-4 | 009079 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | PCS-4 | 008990 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | PCS-4 | 008803 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | PCS-4 | 008849 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | PCS-4 | 008756 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | PCS-4 | 009121 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | PCS-4 | 008896 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | PCS-4 | 009037 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | PCS-4 | 009205 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | PCS-4 | 009163 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | PCS-4 | 009247 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | PIT-602 | 004229 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Claremore | PIT-602 | 005612 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219793
Greenville | Coalgate | PIT-602 | 004750 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Conroe | PIT-602 | 003284 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Grapeland | PIT-602 | 003495 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Port Arthur | Hankamer | PIT-602 | 002931 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Joplin | PIT-602 | 005858 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Mabank | PIT-602 | 003714 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Okmulgee | PIT-602 | 004968 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Rolla | PIT-602 | 006275 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Springfield | PIT-602 | 006068 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Weldon Spring | PIT-602 | 006482 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Bonham | PIT-607 | 004232 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Glenpool | Claremore | PIT-607 | 005615 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF | 1219637
Greenville | Coalgate | PIT-607 | 004753 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Houston | Conroe | PIT-607 | 003287 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Houston | Grapeland | PIT-607 | 003498 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Port Arthur | Hankamer | PIT-607 | 002934 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Glenpool | Joplin | PIT-607 | 005861 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Greenville | Mabank | PIT-607 | 003717 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Glenpool | Okmulgee | PIT-607 | 004971 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Wood River | Rolla | PIT-607 | 006278 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Glenpool | Springfield | PIT-607 | 006071 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Wood River | Weldon Spring | PIT-607 | 006485 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF
Greenville | Bonham | PIT-608 | 004233 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Claremore | PIT-608 | 005616 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Coalgate | PIT-608 | 004754 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Conroe | PIT-608 | 003288 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Grapeland | PIT-608 | 003499 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Port Arthur | Hankamer | PIT-608 | 002935 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Joplin | PIT-608 | 005862 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Mabank | PIT-608 | 003718 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Okmulgee | PIT-608 | 004972 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Rolla | PIT-608 | 006279 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Springfield | PIT-608 | 006072 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Weldon Spring | PIT-608 | 006486 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Bonham | PIT-611 | 004234 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Claremore | PIT-611 | 005617 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219598
Greenville | Coalgate | PIT-611 | 004755 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Conroe | PIT-611 | 003289 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Grapeland | PIT-611 | 003500 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Port Arthur | Hankamer | PIT-611 | 002936 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Joplin | PIT-611 | 005863 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Mabank | PIT-611 | 003719 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Okmulgee | PIT-611 | 004973 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Rolla | PIT-611 | 006280 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Springfield | PIT-611 | 006073 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Weldon Spring | PIT-611 | 006487 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Bonham | PIT-621 | 004235 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Claremore | PIT-621 | 005618 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219790
Greenville | Coalgate | PIT-621 | 004756 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Conroe | PIT-621 | 003290 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Houston | Grapeland | PIT-621 | 003501 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Port Arthur | Hankamer | PIT-621 | 002937 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Joplin | PIT-621 | 005864 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Mabank | PIT-621 | 003720 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Okmulgee | PIT-621 | 004974 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Rolla | PIT-621 | 006281 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Glenpool | Springfield | PIT-621 | 006074 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Wood River | Weldon Spring | PIT-621 | 006488 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF
Greenville | Bonham | PT-601A | 004238 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Claremore | PT-601A | 005621 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219791
Greenville | Coalgate | PT-601A | 004759 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Houston | Conroe | PT-601A | 003293 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Houston | Grapeland | PT-601A | 003504 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Port Arthur | Hankamer | PT-601A | 002940 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Joplin | PT-601A | 005867 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Greenville | Mabank | PT-601A | 003723 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Okmulgee | PT-601A | 004977 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Wood River | Rolla | PT-601A | 006284 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Springfield | PT-601A | 006077 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Wood River | Weldon Spring | PT-601A | 006491 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Greenville | Bonham | PT-603A | 004239 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Claremore | PT-603A | 005622 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219795
Greenville | Coalgate | PT-603A | 004760 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Houston | Conroe | PT-603A | 003294 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Houston | Grapeland | PT-603A | 003505 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Port Arthur | Hankamer | PT-603A | 002941 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Joplin | PT-603A | 005868 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Greenville | Mabank | PT-603A | 003724 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Okmulgee | PT-603A | 004978 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Wood River | Rolla | PT-603A | 006285 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Springfield | PT-603A | 006078 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Wood River | Weldon Spring | PT-603A | 006492 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF
Glenpool | Claremore | PV-603 Transformer | 009089 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Greenville | Coalgate | PV-603 Transformer | 009000 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Houston | Grapeland | PV-603 Transformer | 008859 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Glenpool | Joplin | PV-603 Transformer | 009131 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Greenville | Mabank | PV-603 Transformer | 008906 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Glenpool | Okmulgee | PV-603 Transformer | 009047 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Wood River | Rolla | PV-603 Transformer | 009215 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Wood River | Weldon Spring | PV-603 Transformer | 009257 | 480V to 240V 3 Phase Transformer | Transformer | 480V to 240V 3 Phase | Jefferson Electric | Dry Type General Purpose | Catalog # 423-3197-005
Greenville | Bonham | SSS-1 | 008944 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | SSS-1 | 009080 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | SSS-1 | 008991 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | SSS-1 | 008804 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | SSS-1 | 008850 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | SSS-1 | 008757 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | SSS-1 | 009122 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | SSS-1 | 008897 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | SSS-1 | 009038 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | SSS-1 | 009206 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | SSS-1 | 009164 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | SSS-1 | 009248 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | STR-101 | 004245 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Glenpool | Claremore | STR-101 | 005628 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel | 0201-0262-H
Greenville | Coalgate | STR-101 | 004766 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Houston | Conroe | STR-101 | 003300 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Houston | Grapeland | STR-101 | 003511 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Port Arthur | Hankamer | STR-101 | 002947 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Glenpool | Joplin | STR-101 | 005874 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Greenville | Mabank | STR-101 | 003730 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Glenpool | Okmulgee | STR-101 | 004984 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel | 0201-062-1
Wood River | Rolla | STR-101 | 006291 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Glenpool | Springfield | STR-101 | 006084 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Wood River | Weldon Spring | STR-101 | 006498 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel
Greenville | Bonham | Sub-Station PLC | 008947 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Glenpool | Claremore | Sub-Station PLC | 009083 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Greenville | Coalgate | Sub-Station PLC | 008994 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Houston | Conroe | Sub-Station PLC | 008807 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Houston | Grapeland | Sub-Station PLC | 008853 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Port Arthur | Hankamer | Sub-Station PLC | 008760 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Glenpool | Joplin | Sub-Station PLC | 009125 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Greenville | Mabank | Sub-Station PLC | 008900 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Glenpool | Okmulgee | Sub-Station PLC | 009041 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Wood River | Rolla | Sub-Station PLC | 009209 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Glenpool | Springfield | Sub-Station PLC | 009167 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Wood River | Weldon Spring | Sub-Station PLC | 009251 | Flex Logic Programmable Logic Controller | Programmable Logic Controller | Flex Logic | Allen Bradley | Allen Bradley | Flex Logic
Greenville | Bonham | T52 | 004248 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Claremore | T52 | 005631 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | T52 | 004769 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Conroe | T52 | 003303 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Grapeland | T52 | 003514 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Port Arthur | Hankamer | T52 | 002950 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Joplin | T52 | 005877 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Mabank | T52 | 003733 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Okmulgee | T52 | 004986 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Rolla | T52 | 006294 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Springfield | T52 | 006087 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Weldon Spring | T52 | 006501 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Bonham | TP-101 | 004249 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Glenpool | Claremore | TP-101 | 005632 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 | 52031 | 3 1/2" Plunger, 126 GPM
Greenville | Coalgate | TP-101 | 004770 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Houston | Conroe | TP-101 | 003304 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Houston | Grapeland | TP-101 | 003515 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Port Arthur | Hankamer | TP-101 | 002951 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Glenpool | Joplin | TP-101 | 005878 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Greenville | Mabank | TP-101 | 003734 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Glenpool | Okmulgee | TP-101 | 004987 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 | 52032 | 3 1/2" Plunger, 126 GPM
Wood River | Rolla | TP-101 | 006295 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Glenpool | Springfield | TP-101 | 006088 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Wood River | Weldon Spring | TP-101 | 006502 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 |  | 3 1/2" Plunger, 126 GPM
Greenville | Bonham | TT-701 | 004253 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Claremore | TT-701 | 005636 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0416671
Greenville | Coalgate | TT-701 | 004774 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Houston | Conroe | TT-701 | 003308 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Houston | Grapeland | TT-701 | 003519 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Port Arthur | Hankamer | TT-701 | 002955 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Joplin | TT-701 | 005882 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Greenville | Mabank | TT-701 | 003738 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Okmulgee | TT-701 | 004991 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Wood River | Rolla | TT-701 | 006299 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Springfield | TT-701 | 006092 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Wood River | Weldon Spring | TT-701 | 006506 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Greenville | Bonham | TT-702 | 004254 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Claremore | TT-702 | 005637 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Greenville | Coalgate | TT-702 | 004775 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Houston | Conroe | TT-702 | 003309 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Houston | Grapeland | TT-702 | 003520 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Port Arthur | Hankamer | TT-702 | 002956 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Joplin | TT-702 | 005883 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Greenville | Mabank | TT-702 | 003739 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Okmulgee | TT-702 | 004992 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Wood River | Rolla | TT-702 | 006300 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Glenpool | Springfield | TT-702 | 006093 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Wood River | Weldon Spring | TT-702 | 006507 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2
Greenville | Bonham | TT-704 | 004255 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Glenpool | Claremore | TT-704 | 005638 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2 | 0405017
Greenville | Coalgate | TT-704 | 004776 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Houston | Conroe | TT-704 | 003310 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Houston | Grapeland | TT-704 | 003521 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Port Arthur | Hankamer | TT-704 | 002957 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Glenpool | Joplin | TT-704 | 005884 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Greenville | Mabank | TT-704 | 003740 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Glenpool | Okmulgee | TT-704 | 004993 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Wood River | Rolla | TT-704 | 006301 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Glenpool | Springfield | TT-704 | 006094 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Wood River | Weldon Spring | TT-704 | 006508 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2
Greenville | Bonham | V142 | 004257 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Claremore | V142 | 005640 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | V142 | 004778 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Conroe | V142 | 003312 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Grapeland | V142 | 003523 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Port Arthur | Hankamer | V142 | 002959 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Joplin | V142 | 005886 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Mabank | V142 | 003742 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Okmulgee | V142 | 004995 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Rolla | V142 | 006303 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Springfield | V142 | 006096 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Weldon Spring | V142 | 006510 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Bonham | V242 | 004258 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Claremore | V242 | 005641 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | V242 | 004779 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Conroe | V242 | 003313 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Grapeland | V242 | 003524 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Port Arthur | Hankamer | V242 | 002960 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Joplin | V242 | 005887 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Mabank | V242 | 003743 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Okmulgee | V242 | 004996 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Rolla | V242 | 006304 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Springfield | V242 | 006097 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Weldon Spring | V242 | 006511 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Bonham | V52 | 004259 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Claremore | V52 | 005642 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Coalgate | V52 | 004780 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Conroe | V52 | 003314 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Houston | Grapeland | V52 | 003525 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Port Arthur | Hankamer | V52 | 007558 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Joplin | V52 | 005888 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Mabank | V52 | 003744 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Okmulgee | V52 | 004997 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Rolla | V52 | 006305 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Glenpool | Springfield | V52 | 006098 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Wood River | Weldon Spring | V52 | 006512 | Medium Voltage Breaker | Breaker | Medium Voltage | Cutler-Hammer | 50VCP-W350 (1200 A) | 4A35142G14
Greenville | Bonham | VFD1 | 008945 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | VFD1 | 009081 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | VFD1 | 008992 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | VFD1 | 008805 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | VFD1 | 008851 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | VFD1 | 008758 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | VFD1 | 009123 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | VFD1 | 008898 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | VFD1 | 009039 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | VFD1 | 009207 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | VFD1 | 009165 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | VFD1 | 009249 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | VFD2 | 008946 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Claremore | VFD2 | 009082 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Coalgate | VFD2 | 008993 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Conroe | VFD2 | 008806 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Houston | Grapeland | VFD2 | 008852 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Port Arthur | Hankamer | VFD2 | 008759 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Joplin | VFD2 | 009124 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Mabank | VFD2 | 008899 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Okmulgee | VFD2 | 009040 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Rolla | VFD2 | 009208 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Glenpool | Springfield | VFD2 | 009166 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Wood River | Weldon Spring | VFD2 | 009250 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix | Allen Bradley | Allen Bradley | Controllogix
Greenville | Bonham | VFD-CT | 004261 | VFD Cooling Tower | Cooling Tower | VFD
Glenpool | Claremore | VFD-CT | 005644 | VFD Cooling Tower | Cooling Tower | VFD
Greenville | Coalgate | VFD-CT | 004782 | VFD Cooling Tower | Cooling Tower | VFD
Houston | Conroe | VFD-CT | 003316 | VFD Cooling Tower | Cooling Tower | VFD
Houston | Grapeland | VFD-CT | 003527 | VFD Cooling Tower | Cooling Tower | VFD
Port Arthur | Hankamer | VFD-CT | 002962 | VFD Cooling Tower | Cooling Tower | VFD
Glenpool | Joplin | VFD-CT | 005890 | VFD Cooling Tower | Cooling Tower | VFD
Greenville | Mabank | VFD-CT | 003746 | VFD Cooling Tower | Cooling Tower | VFD
Glenpool | Okmulgee | VFD-CT | 004999 | VFD Cooling Tower | Cooling Tower | VFD
Wood River | Rolla | VFD-CT | 006307 | VFD Cooling Tower | Cooling Tower | VFD
Glenpool | Springfield | VFD-CT | 006100 | VFD Cooling Tower | Cooling Tower | VFD
Wood River | Weldon Spring | VFD-CT | 006514 | VFD Cooling Tower | Cooling Tower | VFD
Greenville | Bonham | VFD-REACTOR | 007974 | VFD Reactor | Reactor | VFD
Glenpool | Claremore | VFD-REACTOR | 008016 | VFD Reactor | Reactor | VFD
Greenville | Coalgate | VFD-REACTOR | 007993 | VFD Reactor | Reactor | VFD
Houston | Conroe | VFD-REACTOR | 008034 | VFD Reactor | Reactor | VFD
Houston | Grapeland | VFD-REACTOR | 008347 | VFD Reactor | Reactor | VFD
Port Arthur | Hankamer | VFD-REACTOR | 008380 | VFD Reactor | Reactor | VFD
Glenpool | Joplin | VFD-REACTOR | 008417 | VFD Reactor | Reactor | VFD
Greenville | Mabank | VFD-REACTOR | 008442 | VFD Reactor | Reactor | VFD
Glenpool | Okmulgee | VFD-REACTOR | 008466 | VFD Reactor | Reactor | VFD
Wood River | Rolla | VFD-REACTOR | 008500 | VFD Reactor | Reactor | VFD
Glenpool | Springfield | VFD-REACTOR | 008518 | VFD Reactor | Reactor | VFD
Wood River | Weldon Spring | VFD-REACTOR | 008554 | VFD Reactor | Reactor | VFD