## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Hammond | East Chicago | B102 | 009939 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-40 | L930436
Hammond | East Chicago | B102 | 009938 | Plug Valve | Valve | Plug | Cameron | General Twin Seal | C821RF BB | 112029814003 | 12", ANSI 300 | FE-FE |  | 1544
Hammond | East Chicago | B103 | 009941 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-40 | L923101
Hammond | East Chicago | B103 | 009940 | Plug Valve | Valve | Plug | Cameron | General Twin Seal | C821RF BB | 112029814001 | 12", ANSI 300 | FE-FE
Hammond | East Chicago | B104 | 010594 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-40 | L923100
Hammond | East Chicago | B104 | 010593 | Plug Valve | Valve | Plug | Cameron | General Twin Seal | C821RF BB | 112029814002 | 12", ANSI 300 | FE-FE
Hammond | East Chicago | BS | 010601 | 24VDC Battery Cells | Battery Cells | 24VDC | Deko Unigy
Hammond | East Chicago | BS | 010600 | 24VDC Battery Charger | Battery Charger | 24VDC | SENS | BPS63 | 63F24-25-A740 | 2603112808
Hammond | East Chicago | Chart Recorder | 010602 | Chart Recorder | Chart Recorder |  | Yokogawa
Hammond | East Chicago | Comms Cabinet | 010605 | Communication Gear | Communication Gear
Hammond | East Chicago | COUPON-1 | 008592 | Corrosion Coupon Holder | Coupon Holder | Corrosion | Weamco | Weamco | Corrosion Coupon Holder | 9901-039A
Hammond | East Chicago | DT-301 | 010587 | Density Transmitter | Transmitter | Density | Micro Motion | 7826 | 7826ADACAALDBA | 264172
Hammond | East Chicago | FY-901 | 010590 | Ultrasonic Flow Meter | Flow Meter | Ultrasonic | Siemens | Siemens
Hammond | East Chicago | Generic | 008053 | Generic | Generic
Hammond | East Chicago | PIT-601 | 010589 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1936448
Hammond | East Chicago | PIT-602 | 010599 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1936447
Hammond | East Chicago | PIT-603 | 010597 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1917247
Hammond | East Chicago | PSH-602 | 010588 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1208589
Hammond | East Chicago | Radio | 010604 | 900 MHZ Spread Spectrum Radio | Radio | 900 MHZ Spread Spectrum | MDS | MDS | iNET 900
Hammond | East Chicago | RTU | 010603 | Controllogix Programmable Logic Controller | Programmable Logic Controller | Controllogix
Hammond | East Chicago | S201 | 009943 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | M & J | M & J
Hammond | East Chicago | S201 | 009942 | Gate Valve | Valve | Gate | M & J | OFM Rebuild | M303 | 28017-4 | 14", ANSI 150 | FE-FE
Hammond | East Chicago | TIT-701 | 010591 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PB1A1E5M5T1C2XA | 818901
Hammond | East Chicago | TRV-101 | 010596 | Thermal Relief | Thermal Relief | Differential
Hammond | East Chicago | TRV-102 | 010598 | Thermal Relief | Thermal Relief | Differential
Hammond | East Chicago | TRV-103 | 010592 | Thermal Relief | Thermal Relief | Differential
Hammond | East Chicago | TRV-104 | 010595 | Thermal Relief | Thermal Relief | Differential
Hammond | East Chicago | X101 | 009945 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | M & J | M & J
Hammond | East Chicago | X101 | 009944 | Gate Valve | Valve | Gate | M & J | T-3 Rebuild | M303 | C12V0235-1 | 14", ANSI 300 | FE-FE