## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Wood River | Gerald | 2101 | 009551 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator
Wood River | Gerald | 2101 | 006316 | Gate Valve | Valve | Gate | M & J | M & J | M303 | 17716 | 24", ANSI 400
Wood River | Gerald | 2102 | 007096 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129912-1 | 24", ANSI 400 | FE-WE
Wood River | Gerald | 2102 | 009722 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 24" Gate | 71-12457-3
Wood River | Gerald | 2104 | 006317 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129922-1 | 20", ANSI 400 | WE-WE
Wood River | Gerald | 2104 | 009723 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate | 71-12401-3
Wood River | Gerald | 2105 | 006318 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129922-2 | 20", ANSI 400 | WE-WE
Wood River | Gerald | 2105 | 009724 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate
Wood River | Gerald | 2106 | 006319 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 900-51252-01-216 | 16", ANSI 400 | WE-WE
Wood River | Gerald | 2106 | 009725 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 71-12458-8
Wood River | Gerald | 2107 | 006320 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 900-51252-01-416 | 16", ANSI 400 | WE-WE
Wood River | Gerald | 2107 | 009726 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 71-12460-3
Wood River | Gerald | 2110 | 006321 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE
Wood River | Gerald | 2111 | 006322 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE
Wood River | Gerald | 2120 | 006323 | Gate Valve | Valve | Gate
Wood River | Gerald | 2121 | 006324 | Gate Valve | Valve | Gate
Wood River | Gerald | 2130 | 006325 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE
Wood River | Gerald | 2131 | 006326 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 600 | FE-WE
Wood River | Gerald | BP1 | 006327 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley |  |  | 24", ANSI 400 | FE-FE
Wood River | Gerald | BP2 | 006328 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley |  |  | 24", ANSI 400 | FE-FE
Wood River | Gerald | C1 | 006329 | Swing Check Valve | Valve | Swing Check | Tom Wheatley | Tom Wheatley |  |  | 2", ANSI 300 | FE-FE
Wood River | Gerald | C2 | 006330 | Swing Check Valve | Valve | Swing Check | Charles Wheatley | Charles Wheatley |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | C3 | 006331 | Swing Check Valve | Valve | Swing Check |  |  |  |  | 6", ANSI 400 | FE-FE
Wood River | Gerald | CV | 006332 | Ball Valve | Valve | Ball | Fisher |  | V-25 | 7469DTD27411 | 16", ANSI 600 | FE-FE
Wood River | Gerald | DRA | 006333 | DRA Injection System | DRA Injection System
Wood River | Gerald | Generic | 006334 | Generic | Generic
Wood River | Gerald | HP-101 | 010476 | Horizontal Motor | Motor | Horizontal | Tatung Company |  | WB0156FFA | 0155B2524
Wood River | Gerald | HP-101 | 006335 | Variable Volume Pump | Pump | Variable Volume | Parker | Parker | PVP3330R21 | D30Y077
Wood River | Gerald | HP-102 | 006336 | Gear Pump | Pump | Gear | Rivett
Wood River | Gerald | HP-102 | 010486 | Horizontal Motor | Motor | Horizontal
Wood River | Gerald | LS-1 | 006337 | Level Switch | Switch | Level
Wood River | Gerald | LSH-501 | 006338 | Level Switch | Switch | Level
Wood River | Gerald | LSH-530 | 006339 | Level Switch | Switch | Level
Wood River | Gerald | LSHH-502 | 006340 | Level Switch | Switch | Level | Magnetrol |  | 915-A1A2-F10/9B1-1221-024 | 450046-01-004
Wood River | Gerald | LT-501 | 006341 | Level Transmitter | Transmitter | Level | Varec | Figure 2500 | Model B | B-36203
Wood River | Gerald | LT-503 | 006342 | Level Transmitter | Transmitter | Level | K-TEK |  | SPM100/SS6/LOC/HRT/F26T/1/132 | 98-S1895C
Wood River | Gerald | MLP-1-Motor | 008309 | Horizontal Motor | Motor | Horizontal
Wood River | Gerald | MLP-1-Pump | 006366 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Wood River | Gerald | MLP-3-Motor | 008310 | Horizontal Motor | Motor | Horizontal
Wood River | Gerald | MLP-3-Pump | 006367 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Wood River | Gerald | P1 | 006343 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 400 | FE-FE |  | 1395
Wood River | Gerald | P2 | 006344 | Valve | Valve
Wood River | Gerald | P3 | 006345 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 600 | FE-FE |  | 1395
Wood River | Gerald | PIC-601 | 006346 | PID Process Controller | Process Controller | PID
Wood River | Gerald | PIC-607 | 006347 | PID Process Controller | Process Controller | PID
Wood River | Gerald | PR-601 | 006348 | Chart Recorder | Chart Recorder
Wood River | Gerald | PR-605 | 006349 | Chart Recorder | Chart Recorder
Wood River | Gerald | PR-607 | 006350 | Chart Recorder | Chart Recorder
Wood River | Gerald | PSH-601A | 006351 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1094949
Wood River | Gerald | PSH-602 | 006352 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1094944
Wood River | Gerald | PSH-607 | 006353 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K757265
Wood River | Gerald | PSH-614 | 006354 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K810017
Wood River | Gerald | PSH-634 | 006355 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K810010
Wood River | Gerald | PSHH-607 | 006356 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K810021
Wood River | Gerald | PSL-601 | 006357 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K802555
Wood River | Gerald | PSL-608 | 006358 | Pressure Switch | Switch | Pressure
Wood River | Gerald | PSL-609 | 006359 | Pressure Switch | Switch | Pressure
Wood River | Gerald | PSL-613 | 006360 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K809946
Wood River | Gerald | PSL-633 | 006361 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K809940
Wood River | Gerald | PSLL-610 | 006362 | Pressure Switch | Switch | Pressure
Wood River | Gerald | PT-601 | 006363 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1643474
Wood River | Gerald | PT-605 | 006364 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1668696
Wood River | Gerald | PT-607 | 006365 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1373935
Wood River | Gerald | SD1 | 006368 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 400 | FE-FE |  | 1395
Wood River | Gerald | SP-101 | 008311 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | F-4499-00-171 |  |  |  |  | 1356
Wood River | Gerald | SP-101 | 006369 | Vertical Can-Sump Pump | Vertical Can-Sump Pump |  | Byron Jackson |  | 6G M | 701H0135 |  |  |  | 1356
Wood River | Gerald | STR-101 | 006370 | Strainer | Strainer
Wood River | Gerald | SWGR | 008312 | Switchgear | Switchgear
Wood River | Gerald | TK-399 | 000399 | Transmix Tank | Tank | Transmix | [6 empty] | 1971-01-01
Wood River | Gerald | TP-101 | 010496 | Horizontal Motor | Motor | Horizontal | Marathon Electric |  | 364TTFS7036DDW
Wood River | Gerald | TP-101 | 006371 | Positive Displacement Pump | Pump | Positive Displacement | Gaso | Gaso | Series 1600 | 35246 | 2 1/2 - 5 x 8
Wood River | Gerald | TR-101 | 006372 | Thermal Relief | Thermal Relief |  | Hydroseal | Hydroseal | 143M0V00/R5 | 536924-1
Wood River | Gerald | TR-102 | 006373 | Thermal Relief | Thermal Relief |  | Advance Valve
Wood River | Gerald | TR-103 | 006374 | Thermal Relief | Thermal Relief |  | Hydroseal | Hydroseal | 143M0V00/R5 | 536925-1
Wood River | Gerald | TR-104 | 006375 | Thermal Relief | Thermal Relief |  | Advance Valve |  |  | RRA17-7
Wood River | Gerald | TR-105 | 006376 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81S1F46-4 | M13124436
Wood River | Gerald | TR-106 | 006377 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  |  | M13124439
Wood River | Gerald | U1 | 006378 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Wood River | Gerald | U10 | 006379 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 400 | FE-FE
Wood River | Gerald | U11 | 006380 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 6", ANSI 400 | FE-FE
Wood River | Gerald | U12 | 006381 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U13 | 006382 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | U14 | 006383 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U15 | 006384 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U16 | 006385 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Wood River | Gerald | U17 | 006386 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 600 | FE-FE
Wood River | Gerald | U2 | 006387 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Wood River | Gerald | U3 | 006388 | Gate Valve | Valve | Gate | Crane |  |  |  | 2", ANSI 300 | FE-FE
Wood River | Gerald | U4 | 006389 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 6", ANSI 150 | FE-FE
Wood River | Gerald | U5 | 006390 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | U6 | 006391 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 600 | FE-FE
Wood River | Gerald | U7 | 006392 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Wood River | Gerald | U8 | 006393 | Ball Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Wood River | Gerald | U9 | 006394 | Gate Valve | Valve | Gate | Crane |  |  |  | 3", ANSI 150 | FE-FE
Wood River | Gerald | VT-101 | 006395 | Vibration Transmitter | Transmitter | Vibration
Wood River | Gerald | VT-103 | 006396 | Vibration Transmitter | Transmitter | Vibration
Wood River | Gerald | ZS-301 | 006397 | Sphere Detector | Sphere Detector
Wood River | Gerald | ZS-302 | 006398 | Sphere Detector | Sphere Detector
Wood River | Gerald | ZS-303 | 006399 | Sphere Detector | Sphere Detector
Wood River | Gerald | ZS-304 | 006400 | Sphere Detector | Sphere Detector