## Sheet1
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Hammond | Griffith | A7 | 010655 | Valve
Hammond | Griffith | A8 | 010656 | Valve
Hammond | Griffith | Hydraulic Skid | 010657 | Hydraulic Skid / Accumulators
Hammond | Griffith | TRV-V | 010658 | Thermal Relief
Hammond | Griffith | Meter 44 | 010659 | Flow Meter | Turbine
Hammond | Griffith | RTU-Cabinet | 010660 | Control Cabinet
Hammond | Griffith | RTU-Cabinet | 010661 | Novatech RTU
Hammond | Griffith | Meter Cabinet | 010662 | Flow Computer
Hammond | Griffith | Meter Cabinet | 010663 | Cabinet | Metering
Hammond | Griffith | SCC | 010664 | Sequence Control Cabinet
Hammond | Griffith | MCC | 010665 | 480V 3PH Motor Control Center
Hammond | Griffith | BS | 010666 | Battery Charger | 24VDC
Hammond | Griffith | BS | 010667 | Battery Cells | 24VDC
Hammond | Griffith | Sampler PC | 010668 | PC
Hammond | Griffith | Comms Cabinet | 010669 | Communication Gear