## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Hammond | Griffith | A1 | 007500 | Valve | Valve
Hammond | Griffith | A2 | 007501 | Gate Valve | Valve | Gate | Pacific |  |  |  | 2", ANSI 150 | FE-FE
Hammond | Griffith | A3 | 007502 | Valve | Valve | [5 empty] | 2", ANSI 150 | FE-FE
Hammond | Griffith | A4 | 007503 | Gate Valve | Valve | Gate | Crane |  |  |  | 2", ANSI 600 | FE-FE
Hammond | Griffith | A5 | 007504 | Gate Valve | Valve | Gate |  |  |  |  | 2", ANSI 150 | FE-FE
Hammond | Griffith | A7 | 010655 | Valve | Valve
Hammond | Griffith | A8 | 010656 | Ball Valve | Valve | Ball | Orbit
Hammond | Griffith | AS1 | 007505 | Auto Sampler On-Line Instrumentation | On-Line Instrumentation | Auto Sampler | APLI2 |  | AS-1 | 97112401 | 12 Can
Hammond | Griffith | B102 | 007506 | Valve | Valve
Hammond | Griffith | B102 | 010239 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 18" Gate | 71-13273-1
Hammond | Griffith | BP104 | 007507 | Gate Valve | Valve | Gate | WKM | SAF-T-SEAL |  |  | 16", ANSI 150 |  |  | 1543
Hammond | Griffith | BP105 | 007508 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811PC |  | 16", ANSI 150 |  |  | 1543
Hammond | Griffith | BP106 | 007509 | Gate Valve | Valve | Gate | WKM | SAF-T-SEAL | UP103RP |  | 16", ANSI 150 |  |  | 1569
Hammond | Griffith | BS | 010666 | 24VDC Battery Charger | Battery Charger | 24VDC | SAFT / Nife Corporation | SLRF 24-50 |  | 123176
Hammond | Griffith | BS | 010667 | 24VDC Battery Cells | Battery Cells | 24VDC
Hammond | Griffith | C102 | 007510 | Swing Check Valve | Valve | Swing Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Swing Check) |  | 12", ANSI 150 |  |  | 2720
Hammond | Griffith | C103 | 007511 | Swing Check Valve | Valve | Swing Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Swing Check) |  | 16", ANSI 150 |  |  | 2720
Hammond | Griffith | C104 | 007512 | Swing Check Valve | Valve | Swing Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Swing Check) |  | 16", ANSI 150 |  |  | 2720
Hammond | Griffith | C105 | 007513 | Swing Check Valve | Valve | Swing Check | Crane |  |  |  | 2", ANSI 150 | FE-FE
Hammond | Griffith | C106 | 007514 | Swing Check Valve | Valve | Swing Check | Crane |  |  |  | 2", ANSI 150 | FE-FE
Hammond | Griffith | Chart Recorder | 007517 | Chart Recorder | Chart Recorder |  | Yokagawa
Hammond | Griffith | Comms Cabinet | 010669 | Communication Gear | Communication Gear
Hammond | Griffith | COUPON-1 | 008601 | Corrosion Coupon Holder | Coupon Holder | Corrosion | Weamco | Weamco | CH-200 | 9804-295A
Hammond | Griffith | DT-301 | 007518 | Density Transmitter | Transmitter | Density | Solartron |  | 7845K | 453396
Hammond | Griffith | Generic | 007519 | Generic | Generic
Hammond | Griffith | HP-101 | 007520 | Variable Volume Pump | Pump | Variable Volume
Hammond | Griffith | HP-102 | 007521 | Variable Volume Pump | Pump | Variable Volume
Hammond | Griffith | Hydraulic Skid | 010657 | Hydraulic Skid / Accumulators | Hydraulic Skid / Accumulators
Hammond | Griffith | LSH-501 | 007522 | Level Switch | Switch | Level
Hammond | Griffith | M1002 | 010242 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811G |  | 16", ANSI 150
Hammond | Griffith | M1002 | 010243 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1003 | 010244 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811G |  | 16", ANSI 150
Hammond | Griffith | M1003 | 010245 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1004 | 010246 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811G |  | 16", ANSI 150
Hammond | Griffith | M1004 | 010247 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1005 | 010248 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811G |  | 16", ANSI 150
Hammond | Griffith | M1005 | 010249 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1006 | 010250 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811G |  | 16", ANSI 150
Hammond | Griffith | M1006 | 010251 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1007 | 010252 | Plug Valve | Valve | Plug | General Twin Seal
Hammond | Griffith | M1007 | 010253 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1008 | 010254 | Plug Valve | Valve | Plug | General Twin Seal
Hammond | Griffith | M1008 | 010255 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1009 | 010256 | Plug Valve | Valve | Plug | General Twin Seal
Hammond | Griffith | M1009 | 010257 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1010 | 010258 | Plug Valve | Valve | Plug | General Twin Seal
Hammond | Griffith | M1010 | 010259 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1013 | 010264 | Plug Valve | Valve | Plug | General Twin Seal
Hammond | Griffith | M1013 | 010265 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | M1014 | 010266 | Plug Valve | Valve | Plug | General Twin Seal
Hammond | Griffith | M1014 | 010267 | Electric Valve Actuator | Valve Actuator | Electric
Hammond | Griffith | MCC | 010665 | 480V 3PH Motor Control Center | 480V 3PH Motor Control Center
Hammond | Griffith | Meter 44 | 010659 | Turbine Flow Meter | Flow Meter | Turbine
Hammond | Griffith | Meter Cabinet | 010662 | Flow Computer | Flow Computer
Hammond | Griffith | Meter Cabinet | 010663 | Metering Cabinet | Cabinet | Metering
Hammond | Griffith | MIP-HMIPC1 | 009283 | PC | PC |  | Dell
Hammond | Griffith | PCV-401 | 007516 | Valve | Valve
Hammond | Griffith | PCV-602 | 007515 | Valve | Valve
Hammond | Griffith | PIC-602 | 007525 | PID Process Controller | Process Controller | PID
Hammond | Griffith | PIC-604 | 007526 | PID Process Controller | Process Controller | PID
Hammond | Griffith | PIC-606 | 007527 | PID Process Controller | Process Controller | PID
Hammond | Griffith | PIT-602 | 007533 | Pressure Transmitter | Transmitter | Pressure
Hammond | Griffith | PIT-606 | 007534 | Pressure Transmitter | Transmitter | Pressure
Hammond | Griffith | Prover-30" | 008718 | Tube Turn Closure | Closure | Tube Turn | Sypris Technologies |  | Tube Turn
Hammond | Griffith | Prover-30" | 009288 | Micrologix Programmable Logic Controller | Programmable Logic Controller | Micrologix | Allen Bradley
Hammond | Griffith | PSH-604 | 007530 | Pressure Switch | Switch | Pressure
Hammond | Griffith | R101 | 007535 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 130649-1 | 18", ANSI 400 |  |  | 1576
Hammond | Griffith | R101 | 010268 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-85 | L1026857
Hammond | Griffith | RTU-Cabinet | 010660 | Review | Review
Hammond | Griffith | RTU-Cabinet | 010661 | Novatech RTU | Novatech RTU
Hammond | Griffith | S101 | 007536 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 130650-1 | 24", ANSI 400
Hammond | Griffith | S101 | 010269 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | L120-40 | L1054258 | 34 TO 1 Ratio
Hammond | Griffith | Sampler PC | 010668 | PC | PC
Hammond | Griffith | SCC | 010664 | Sequence Control Cabinet | Sequence Control Cabinet
Hammond | Griffith | SP-101 | 007537 | Vertical Can-Sump Pump | Vertical Can-Sump Pump |  | Johnston |  | Not Found | RP34278 |  |  |  | 2910
Hammond | Griffith | SP-101 | 008351 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | 9300131-C-736 |  |  |  |  | 2910
Hammond | Griffith | TRV-101 | 007538 | Thermal Relief | Thermal Relief
Hammond | Griffith | TRV-102 | 007539 | Thermal Relief | Thermal Relief |  | Admiral Valve Co. |  | 264-E03-MG | FF0271
Hammond | Griffith | TRV-103 | 007540 | Thermal Relief | Thermal Relief
Hammond | Griffith | TRV-104 | 007541 | Thermal Relief | Thermal Relief
Hammond | Griffith | TRV-105 | 007542 | Thermal Relief | Thermal Relief
Hammond | Griffith | TRV-V | 010658 | Thermal Relief | Thermal Relief
Hammond | Griffith | TT-606 | 007544 | Temperature Transmitter | Transmitter | Temperature
Hammond | Griffith | U1 | 007545 | Valve | Valve
Hammond | Griffith | U2 | 007546 | Valve | Valve
Hammond | Griffith | U3 | 007547 | Valve | Valve
Hammond | Griffith | X102 | 009985 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811PC |  | 16", ANSI 150 |  |  | 1543
Hammond | Griffith | X102 | 009986 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic
Hammond | Griffith | X103 | 009987 | Plug Valve | Valve | Plug | General Valve | General Twin Seal | C-811PC |  | 16", ANSI 150 |  |  | 1543
Hammond | Griffith | X103 | 009988 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic
Hammond | Griffith | X104 | 009989 | Plug Valve | Valve | Plug
Hammond | Griffith | X104 | 009990 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic
Hammond | Griffith | X105 | 009991 | Plug Valve | Valve | Plug |  |  |  |  | 16", ANSI 150
Hammond | Griffith | X105 | 009992 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic