## Sheet1
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Hammond | Irwin | PCV-602 | 010637 | Valve | Control
Hammond | Irwin | BS | 010638 | Battery Charger | 24VDC
Hammond | Irwin | BS | 010639 | Battery Cells | 24VDC
Hammond | Irwin | TCC-1 | 010640 | Programmable Logic Controller | Controllogix
Hammond | Irwin | TCC-2 | 010641 | Cabinet | Terminal Control
Hammond | Irwin | Metering Cabinet | 010642 | Flow Computer
Hammond | Irwin | Metering Cabinet | 010643 | Cabinet | Metering
Hammond | Irwin | Instrument Cabinet | 010644 | Cabinet | Instrument
Hammond | Irwin | PCV601 Panel | 010645 | Cabinet | Control
Hammond | Irwin | Inverter | 010646 | Inverter
Hammond | Irwin | MCC | 010647 | 480V 3PH Motor Control Center
Hammond | Irwin | HMI PC | 010648 | PC
Hammond | Irwin | Sampler PC | 010649 | PC
Hammond | Irwin | Chart Recorder | 010650 | Chart Recorder
Hammond | Irwin | Gen Set | 010651 | Generator
Hammond | Irwin | Comm Cabinet | 010652 | Communication Gear
Hammond | Irwin | MIP-1 | 010653 | Programmable Logic Controller | Controllogix
Hammond | Irwin | PCS | 010654 | Programmable Logic Controller | Controllogix