## WebTMAExport
Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
IRW | Irwin | PCV-602 | Backpressure Brodie Valve | PM
IRW | Irwin | BS | Battery System | PM
IRW | Irwin | TCC-1 | Terminal Control Cabinet | PM
IRW | Irwin | Metering Cabinet | Metering Cabinet | PM
IRW | Irwin | Instrument Cabinet | Instrument Cabinet | PM
IRW | Irwin | PCV601 Panel | Rexa Control Cabinet | PM
IRW | Irwin | Inverter | Inverter | PM
IRW | Irwin | MCC | Motor Control Center | PM
IRW | Irwin | HMI PC | Station and Metering PC | PM
IRW | Irwin | Sampler PC | Sampler PC | PM
IRW | Irwin | Chart Recorder | Station Chart Recorder | PM
IRW | Irwin | Gen Set | Station Backup Generator | PM
IRW | Irwin | Comm Cabinet | Communications Equipment | PM
IRW | Irwin | MIP-1 | Metering Interface PLC | PM
IRW | Irwin | PCS | Process Control System PLC | PM