## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Wood River | Lebanon | 1901 | 006109 | Gate Valve | Valve | Gate | M & J | M & J | M303 | 17715 | 24", ANSI 400 | FE-WE
Wood River | Lebanon | 1901 | 009550 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator
Wood River | Lebanon | 1902 | 006110 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129904-1 | 24", ANSI 400 | FE-WE |  | 1344
Wood River | Lebanon | 1902 | 009737 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 24" Gate | 71-12582-5
Wood River | Lebanon | 1903 | 010380 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | C14V0181-1 | 24", ANSI 400 | WE-WE
Wood River | Lebanon | 1903 | 010381 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator
Wood River | Lebanon | 1904 | 006111 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 153461-1 | 20", ANSI 400 | FE-FE
Wood River | Lebanon | 1904 | 009738 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate | 78-21450-1
Wood River | Lebanon | 1905 | 006112 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 153461-2 | 20", ANSI 400 | FE-FE
Wood River | Lebanon | 1905 | 009739 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate | 78-21451-1
Wood River | Lebanon | 1906 | 006113 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 1534589-1 | 16", ANSI 400 | FE-FE
Wood River | Lebanon | 1906 | 009740 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 78-21452-1
Wood River | Lebanon | 1907 | 006114 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 1534589-2 | 16", ANSI 400 | FE-FE
Wood River | Lebanon | 1907 | 009741 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 78-21453-1
Wood River | Lebanon | 1910 | 006115 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 153462-3 | 20", ANSI 400 | FE-FE
Wood River | Lebanon | 1911 | 006116 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 153461-4 | 20", ANSI 400 | FE-FE
Wood River | Lebanon | 1930 | 006117 | Gate Valve | Valve | Gate | Cameron | Grove | G12 | 153461-5 | 20", ANSI 400 | FE-FE
Wood River | Lebanon | 1931 | 006118 | Gate Valve | Valve | Gate | Cameron | Grove | G12 |  | 20", ANSI 600 | FE-FE
Wood River | Lebanon | AC-1 | 006119 | HVAC | HVAC
Wood River | Lebanon | AC-2 | 006120 | HVAC | HVAC
Wood River | Lebanon | BP1 | 006121 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 24", ANSI 400 | FE-FE |  | 9643
Wood River | Lebanon | BP2 | 006122 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 24", ANSI 400 | FE-FE |  | 9643
Wood River | Lebanon | C1 | 006123 | Swing Check Valve | Valve | Swing Check |  |  |  |  | 6", ANSI 600 | FE-FE
Wood River | Lebanon | C2 | 006124 | Swing Check Valve | Valve | Swing Check |  |  |  |  | 2", ANSI 600 | FE-FE
Wood River | Lebanon | C3 | 006125 | Swing Check Valve | Valve | Swing Check |  |  |  |  | 2", ANSI 300 | FE-FE
Wood River | Lebanon | Chart Recorder | 006144 | Chart Recorder | Chart Recorder
Wood River | Lebanon | DRA | 006127 | DRA Injection System | DRA Injection System
Wood River | Lebanon | Generic | 006128 | Generic | Generic
Wood River | Lebanon | HP-101 | 006129 | Variable Volume Pump | Pump | Variable Volume | Parker |  | PVP3330R210 | C16E627P
Wood River | Lebanon | HP-101 | 010477 | Horizontal Motor | Motor | Horizontal
Wood River | Lebanon | HP-102 | 006130 | Variable Volume Pump | Pump | Variable Volume | Parker |  | PVP3330R221 | 926W004
Wood River | Lebanon | HP-102 | 010487 | Horizontal Motor | Motor | Horizontal
Wood River | Lebanon | LSH-501 | 006131 | Level Switch | Switch | Level
Wood River | Lebanon | LSH-504 | 006132 | Level Switch | Switch | Level
Wood River | Lebanon | LSH-510 | 006133 | Level Switch | Switch | Level
Wood River | Lebanon | LSH-530 | 006134 | Level Switch | Switch | Level
Wood River | Lebanon | LSHH-502 | 006135 | Level Switch | Switch | Level | Magnetrol |  | 91SA1A2F10/9B1-1221-024 | 450046-01-007
Wood River | Lebanon | LT-501 | 006137 | Level Transmitter | Transmitter | Level | Varec |  | N82000202 | 68128
Wood River | Lebanon | LT-503 | 006138 | Level Transmitter | Transmitter | Level | K-TEK |  | SPM100/SS6/LOC/HRT/F26T-132 | 9702-0364-0707-10A4-03065
Wood River | Lebanon | M52 | 006139 | Medium Voltage Breaker | Breaker | Medium Voltage
Wood River | Lebanon | MLP-1-Motor | 008423 | Horizontal Motor | Motor | Horizontal
Wood River | Lebanon | MLP-1-Pump | 006162 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Wood River | Lebanon | MLP-3-Motor | 008424 | Horizontal Motor | Motor | Horizontal
Wood River | Lebanon | MLP-3-Pump | 006163 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Wood River | Lebanon | P1 | 006140 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) | 911-205006-182 | 20", ANSI 400 | FE-FE |  | 9643
Wood River | Lebanon | P3 | 006141 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) | 911-205144-182 | 20", ANSI 600 | FE-FE |  | 9643
Wood River | Lebanon | PCV-607 | 006126 | Ball Valve | Valve | Ball | Fisher |  |  | DTD#36072 - 866/415 | 16", ANSI 600 | FE-FE
Wood River | Lebanon | Process Controller | 006142 | PID Process Controller | Process Controller | PID
Wood River | Lebanon | PSH-601 | 006147 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190
Wood River | Lebanon | PSH-602 | 006148 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K1886386
Wood River | Lebanon | PSH-607 | 006149 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15195 | K810032
Wood River | Lebanon | PSH-614 | 006150 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15196 | K810030
Wood River | Lebanon | PSH-634 | 006151 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15197 | K810022
Wood River | Lebanon | PSHH-607 | 006152 | Pressure Switch | Switch | Pressure
Wood River | Lebanon | PSL-601 | 006153 | Pressure Switch | Switch | Pressure
Wood River | Lebanon | PSL-608 | 006154 | Pressure Switch | Switch | Pressure
Wood River | Lebanon | PSL-609 | 006155 | Pressure Switch | Switch | Pressure
Wood River | Lebanon | PSL-613 | 006156 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K809920
Wood River | Lebanon | PSL-633 | 006157 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K809935
Wood River | Lebanon | PSLL-610 | 006158 | Pressure Switch | Switch | Pressure
Wood River | Lebanon | PT-601 | 006159 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1409103
Wood River | Lebanon | PT-605 | 006160 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1482634
Wood River | Lebanon | PT-607 | 006161 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1411399
Wood River | Lebanon | SD1 | 006164 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5R (Spring) |  | 20", ANSI 400 | FE-FE |  | 9643
Wood River | Lebanon | SP-101 | 006165 | Vertical Can-Sump Pump | Vertical Can-Sump Pump |  | Byron Jackson |  | 6G M VTP | 731-H-0808
Wood River | Lebanon | SP-101 | 008426 | Vertical-Sump Motor | Motor | Vertical-Sump | General Electric |  | 5K184FL2904B |  |  |  |  | 9702
Wood River | Lebanon | STR-101 | 006166 | Strainer | Strainer
Wood River | Lebanon | SWGR | 008427 | Switchgear | Switchgear
Wood River | Lebanon | TK-397 | 000397 | Transmix Tank | Tank | Transmix
Wood River | Lebanon | TP-101 | 006167 | Positive Displacement Pump | Pump | Positive Displacement | Gaso | Gaso | Series 1654 | 39664 | 2 1/2 - 5 x 8
Wood River | Lebanon | TP-101 | 010497 | Horizontal Motor | Motor | Horizontal | Alllis Chalmers |  | 647 Type RGZ | 51-380-404
Wood River | Lebanon | TR-1 | 006168 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81S1M88-4 | M06-10897
Wood River | Lebanon | TR-6 | 006169 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81S1M88-4 | M04-38554
Wood River | Lebanon | TR-2 | 006170 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 91PS1M88-8 | M15104140
Wood River | Lebanon | TR-3 | 006171 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81S1F46-A | M13124437
Wood River | Lebanon | TR-5 | 006172 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby
Wood River | Lebanon | TR-4 | 006173 | Thermal Relief | Thermal Relief |  | Hydroseal | Hydroseal
Wood River | Lebanon | U1 | 006174 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 2", ANSI 600 | FE-FE
Wood River | Lebanon | U11 | 006175 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 2", ANSI 600 | FE-FE
Wood River | Lebanon | U12 | 006176 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U13 | 006177 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U14 | 006178 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U15 | 006179 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U16 | 006180 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U17 | 006181 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 6", ANSI 150 | FE-FE
Wood River | Lebanon | U2 | 006182 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 6", ANSI 600 | FE-FE
Wood River | Lebanon | U3 | 006183 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U4 | 006184 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U5 | 006185 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 2", ANSI 600 | FE-FE
Wood River | Lebanon | U6 | 006186 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | U7 | 006187 | Plug Valve | Valve | Plug | General Valve | General Twin Seal |  |  | 4", ANSI 600 | FE-FE
Wood River | Lebanon | VT-101 | 006188 | Vibration Transmitter | Transmitter | Vibration
Wood River | Lebanon | VT-103 | 006189 | Vibration Transmitter | Transmitter | Vibration
Wood River | Lebanon | ZS-301 | 006190 | Sphere Detector | Sphere Detector
Wood River | Lebanon | ZS-302 | 006191 | Sphere Detector | Sphere Detector
Wood River | Lebanon | ZS-303 | 006192 | Sphere Detector | Sphere Detector
Wood River | Lebanon | ZS-304 | 006193 | Sphere Detector | Sphere Detector