## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Wood River | Rolla | AE921 | 006209 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACD0755
Wood River | Rolla | AE922 | 006210 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACD0757
Wood River | Rolla | AE923 | 006211 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4588
Wood River | Rolla | AE924 | 006212 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4622
Wood River | Rolla | B27 | 009533 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Rotork | Exeeco | B11 | S2193-01 | 6 TO 1 Ratio
Wood River | Rolla | B27 | 006233 | Gate Valve | Valve | Gate |  |  |  | 20600025 | 24", ANSI 400
Wood River | Rolla | BS | 009216 | 24VDC Battery Cells | Battery Cells | 24VDC | Fiamm | Monolite | 2SLA405
Wood River | Rolla | BS | 006248 | 24VDC Battery Charger | Battery Charger | 24VDC | Alcad | Alcad | TLRF24-125E | 142662
Wood River | Rolla | GENSET | 006264 | Generator | Generator |  | Olympian | Olympian | D100P1 | 0LY00000JNPS00605
Wood River | Rolla | LIT-502 | 006265 | Level Transmitter | Transmitter | Level | SAAB | Tank Radar Pro |  | 8896
Wood River | Rolla | LSHH-501 | 006266 | Level Switch | Switch | Level | SOR | SOR | 701K1-U-P6-C-FMTT | 30701238
Wood River | Rolla | PIT-601 | 006274 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219667
Wood River | Rolla | PIT-602 | 006275 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219830
Wood River | Rolla | PIT-603 | 006276 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219661
Wood River | Rolla | PIT-604 | 006277 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219662
Wood River | Rolla | PIT-607 | 006278 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF | 1219597
Wood River | Rolla | PIT-608 | 006279 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219663
Wood River | Rolla | PIT-611 | 006280 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1347256
Wood River | Rolla | PIT-621 | 006281 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219828
Wood River | Rolla | PSV-641 | 006282 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby | Anderson Greenwood Crosby | 81PSI M88-8 | 02/27019
Wood River | Rolla | PSV-643 | 006283 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby | Anderson Greenwood Crosby | 81PSI M88-4 | 02/27033
Wood River | Rolla | PT-601A | 006284 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219829
Wood River | Rolla | PT-603A | 006285 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219660
Wood River | Rolla | PV603 | 009214 | Electraulic Valve Actuator | Valve Actuator | Electraulic | Rexa | Rexa | R100000-90-.5DP9-P-0 | C020306-3-5
Wood River | Rolla | SP-101 | 008695 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  |  | 4 200056-9 |  |  |  | Willbros
Wood River | Rolla | TP-101 | 006295 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 | 52041 | 3 1/2" Plunger, 126 GPM
Wood River | Rolla | TR-101 | 006297 | Transformer | Transformer |  | Farris Engineering |  | 27EA34-N4054 | 445120-1-KE
Wood River | Rolla | TR-2 | 006298 | Thermal Relief | Thermal Relief |  | Farris Engineering |  | 27EA34-N4055 | 445120-9-KE
Wood River | Rolla | TT-701 | 006299 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0416733
Wood River | Rolla | TT-702 | 006300 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0416659
Wood River | Rolla | TT-704 | 006301 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2 | 0405015
Wood River | Rolla | TT-707 | 006302 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 644HNAJ6F6 | 0116606
Wood River | Rolla | VFD-100 | 006306 | Variable Frequency Drive | Variable Frequency Drive |  | Robicon | Harmony Drive 5000HP, 3733KW | P/N 459795.00 | 04808
Wood River | Rolla | VFD-CT | 006307 | VFD Cooling Tower | Cooling Tower | VFD | Cincinatti Heat Exchangers | Robicon P/N 165196.00 | AFH714-D | 502 37540
Wood River | Rolla | VFD-REACTOR | 008500 | VFD Reactor | Reactor | VFD |  |  |  | 4 37371