## Sheet1
AREANAME | LOCATIONNAME | SLOTNum | TAGNum | TYPE DESC | SUBTYPEDESC | DESCRIPTION | MANUFACTURER | Make | MODELNUM | SERIALNUM | DATEPURCHASED | PONum | ALT_TAG | PART_VENDOR | VENDOR_NAME | ACCOUNTNUM | SYSTEM | SUBSYSTEM | STATUS | WARRANTYDATE | PART 1 NAME | PART 1 MODEL # | PART 1 MFG | PART 1 TYPE | PART 1 SERIAL | PART 2 NAME | PART 2 MODEL # | PART 2 TYPE | PART 2 SERIAL | UDF 1 | UDF 2 | UDF 3 | UDF 4 | UDF 5 | UDF 6 | UDF 7 | UDF 8 | UDF 9 | UDF 10 | UDF CHAR 30-1 (GPM) | UDF CHAR 30-2 (HEAD) | UDF CHAR 30-3 (STAGES) | UDF CHAR 30-4 (SPEED) | UDF CHAR 60-1 (Mounting Flange to Sump Tank) | UDF CHAR 60-2 (Discharge Flange) | UDF CHAR 1000-1 (Mount Flange to Bottom of Pump) | UDF 1000-2 | UDF 1000-3 | UDF CHAR 1000-4 | UDF CHAR 1000-5 | UDF DATE | UDF 0DP | UDF BOOLEAN
Hammond | Schererville | ZS-301 | 010625 | Switch | Detector
Hammond | Schererville | R103 | 010626 | Valve | Gate
Hammond | Schererville | R104 | 010627 | Valve | Gate
Hammond | Schererville | HMI-PC | 010628 | PC
Hammond | Schererville | BS | 010629 | Battery Charger | 24VDC
Hammond | Schererville | BS | 010630 | Battery Cells | 24VDC
Hammond | Schererville | RTU Cabinet | 010631 | Programmable Logic Controller | Controllogix
Hammond | Schererville | RTU Cabinet | 010632 | Flow Computer
Hammond | Schererville | MCC | 010633 | 480V 3PH Motor Control Center
Hammond | Schererville | Comm Cabinet | 010634 | Communication Gear
Hammond | Schererville | Comm Cabinet | 010635 | UPS
Hammond | Schererville | Inverter | 010636 | Inverter