## WebTMAExport
Area Name | Building Code | Building Name | Area # | Area Description | Area Type Code | Area Sub-type Code | Slot Function (Area Function?) | Pipeline Service (Don't Remember Original Name)
Arlington | ARL | Arlington | I005 | 10" Trap Drain | PM
Arlington | ARL | Arlington | I020 | 2301 Roof Draw | PM
Arlington | ARL | Arlington | I021 | 2301 Shell Valve | PM
Arlington | ARL | Arlington | T01A | 2301 Shell Valve Bypass 2309 | PM
Arlington | ARL | Arlington | I019 | 2301 Water Draw | PM
Arlington | ARL | Arlington | I023 | 2302 Roof Draw | PM
Arlington | ARL | Arlington | T02A | 2302 Shell Valve from H002 | PM
Arlington | ARL | Arlington | T02 | 2302 Shell Valve Tank Headers | PM
Arlington | ARL | Arlington | T03 | 2303 Shell Valve | PM
Arlington | ARL | Arlington | M103 | 2303 Tank Valve Inlet from H102 | PM
Arlington | ARL | Arlington | I033 | 2303 Water Draw | PM
Arlington | ARL | Arlington | T04 | 2304 Shell Valve | PM
Arlington | ARL | Arlington | I040 | 2304 Tank Valve | PM
Arlington | ARL | Arlington | I038 | 2304 Valve on Shell Tee | PM
Arlington | ARL | Arlington | I039 | 2304 Water Draw | PM
Arlington | ARL | Arlington | T09 | 2309 Shell Valve | PM
Arlington | ARL | Arlington | 1003 | 2309 to BP 10 | PM
Arlington | ARL | Arlington | 1103 | 2309 to Suction of BP 11 | PM
Arlington | ARL | Arlington | I022 | 2309 Water Draw | PM
Arlington | ARL | Arlington | 257 | 2311 Shell Valve | PM
Arlington | ARL | Arlington | I037 | 2311 Tank Valve | PM
Arlington | ARL | Arlington | 1035 | 2311 Valve on Shell Tee | PM
Arlington | ARL | Arlington | 1036 | 2311 Water Draw | PM
Arlington | ARL | Arlington | I026 | 2312 Roof Draw | PM
Arlington | ARL | Arlington | T12 | 2312 Shel Valve | PM
Arlington | ARL | Arlington | I025 | 2312 Valve on Shell tee | PM
Arlington | ARL | Arlington | 1025 | 2312 Valve on Shell Tee | PM
Arlington | ARL | Arlington | I027 | 2312 Water Draw | PM
Arlington | ARL | Arlington | T13 | 2313 Shell Valve | PM
Arlington | ARL | Arlington | M113 | 2313 Tank Valve Inlet from H102 | PM
Arlington | ARL | Arlington | I028 | 2313 Water Draw | PM
Arlington | ARL | Arlington | 1032 | 2314 Roof Draw | PM
Arlington | ARL | Arlington | T14 | 2314 Shell Valve | PM
Arlington | ARL | Arlington | I030 | 2314 Valve on Shell Tee | PM
Arlington | ARL | Arlington | I031 | 2314 Water Draw | PM
Arlington | ARL | Arlington | BP-804 | 3" & 6" Prover Header Inlet | PM
Arlington | ARL | Arlington | TRV-35 | 3" & 6" Prover Inlet Line Thermal | PM
Arlington | ARL | Arlington | BP-805 | 3" & 6" Prover Outlet | PM
Arlington | ARL | Arlington | TRV-22 | 3" & 6" Prover Outlet Line Thermal | PM
Arlington | ARL | Arlington | 3N01 | 3" Gas Header Tank 2301 | PM
Arlington | ARL | Arlington | 3N03 | 3" Gas Header Tank 2303 | PM
Arlington | ARL | Arlington | 3N04 | 3" Gas Header Tank 2304 | PM
Arlington | ARL | Arlington | 3N11 | 3" Gas Header Tank 2311 | PM
Arlington | ARL | Arlington | 3N12 | 3" Gas Header Tank 2312 | PM
Arlington | ARL | Arlington | 3N13 | 3" Gas Header Tank 2313 | PM
Arlington | ARL | Arlington | 3N14 | 3" Gas Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-10 | 3" Gas Header Thermal | PM
Arlington | ARL | Arlington | M3N4 | 3" Header Booster Pumps Discharge | PM
Arlington | ARL | Arlington | M3N2 | 3" Header Gas Side to BP10 | PM
Arlington | ARL | Arlington | M3N1 | 3" Header Gas Side to Unit 4 | PM
Arlington | ARL | Arlington | M3N3 | 3" Header M85 Inlet to Gas Header | PM
Arlington | ARL | Arlington | M3S2 | 3" Header Oil Side to BP10 | PM
Arlington | ARL | Arlington | M3S1 | 3" Header Oil Side to Unit 4 | PM
Arlington | ARL | Arlington | 1004 | 3" Header to BP10 Suction | PM
Arlington | ARL | Arlington | VM-906 | 3" Header Vapor Monitor | PM
Arlington | ARL | Arlington | PIT-633 | 3" Line Pressure | PM
Arlington | ARL | Arlington | PS-633 | 3" Line Pressure Switch | PM
Arlington | ARL | Arlington | PIT-635 | 3" Meter Pressure | PM
Arlington | ARL | Arlington | 3S01 | 3" Oil Header Tank 2301 | PM
Arlington | ARL | Arlington | 3S02 | 3" Oil Header Tank 2302 | PM
Arlington | ARL | Arlington | 3S03 | 3" Oil Header Tank 2303 | PM
Arlington | ARL | Arlington | 3S04 | 3" Oil Header Tank 2304 | PM
Arlington | ARL | Arlington | 3S11 | 3" Oil Header Tank 2311 | PM
Arlington | ARL | Arlington | 3S12 | 3" Oil Header Tank 2312 | PM
Arlington | ARL | Arlington | 3S13 | 3" Oil Header Tank 2313 | PM
Arlington | ARL | Arlington | 3S14 | 3" Oil Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-9 | 3" Oil Header Thermal | PM
Arlington | ARL | Arlington | TRV-5 | 3" Piping Thermal Upstream of Meter | PM
Arlington | ARL | Arlington | BP303 | 3" Prover Bypass | PM
Arlington | ARL | Arlington | BP302 | 3" Prover Return | PM
Arlington | ARL | Arlington | TRV-4 | 3" Strainer Thermal | PM
Arlington | ARL | Arlington | BP301 | 3" to Prover | PM
Arlington | ARL | Arlington | I015 | 3" Trap Drain | PM
Arlington | ARL | Arlington | VM-910 | 3" Trap Vapor Monitor | PM
Arlington | ARL | Arlington | 4N01 | 6" Gas Header Tank 2301 | PM
Arlington | ARL | Arlington | 4N03 | 6" Gas Header Tank 2303 | PM
Arlington | ARL | Arlington | 4N04 | 6" Gas Header Tank 2304 | PM
Arlington | ARL | Arlington | 4N11 | 6" Gas Header Tank 2311 | PM
Arlington | ARL | Arlington | 4N12 | 6" Gas Header Tank 2312 | PM
Arlington | ARL | Arlington | 4N13 | 6" Gas Header Tank 2313 | PM
Arlington | ARL | Arlington | 4N14 | 6" Gas Header Tank 2314 | PM
Arlington | ARL | Arlington | M4N2 | 6" Header Gas Side to Nowhere | PM
Arlington | ARL | Arlington | M4N1 | 6" Header Gas Side to Unit 5 | PM
Arlington | ARL | Arlington | M4N4 | 6" Header Gas side to Unit 7 | PM
Arlington | ARL | Arlington | M4S2 | 6" Header Oil Side to Nowhere | PM
Arlington | ARL | Arlington | M4S1 | 6" Header Oil Side to Unit 5 | PM
Arlington | ARL | Arlington | M4S4 | 6" Header Oil Side to Unit 7 | PM
Arlington | ARL | Arlington | M4N3 | 6" Header Tombstone Valve Gas Side | PM
Arlington | ARL | Arlington | PIT-643 | 6" Line Pressure | PM
Arlington | ARL | Arlington | PS-643 | 6" Line Pressure Switch | PM
Arlington | ARL | Arlington | PIT-645 | 6" Meter Pressure | PM
Arlington | ARL | Arlington | 4S01 | 6" Oil Header Tank 2301 | PM
Arlington | ARL | Arlington | 4S02 | 6" Oil Header Tank 2302 | PM
Arlington | ARL | Arlington | 4S03 | 6" Oil Header Tank 2303 | PM
Arlington | ARL | Arlington | 4S04 | 6" Oil Header Tank 2304 | PM
Arlington | ARL | Arlington | 4S11 | 6" Oil Header Tank 2311 | PM
Arlington | ARL | Arlington | 4S12 | 6" Oil Header Tank 2312 | PM
Arlington | ARL | Arlington | 4S13 | 6" Oil Header Tank 2313 | PM
Arlington | ARL | Arlington | 4S14 | 6" Oil Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-8 | 6" Oil Header Thermal | PM
Arlington | ARL | Arlington | BP403 | 6" Prover Bypass | PM
Arlington | ARL | Arlington | BP402 | 6" Prover Returnk | PM
Arlington | ARL | Arlington | TRV-7 | 6" Strainer Thermal | PM
Arlington | ARL | Arlington | BP401 | 6" to Prover | PM
Arlington | ARL | Arlington | I016 | 6" Trap Drain | PM
Arlington | ARL | Arlington | TRV-33 | 8" Direct Fuels Line | PM
Arlington | ARL | Arlington | I013 | 8" Irving Trap Drain | PM
Arlington | ARL | Arlington | PIT-602 | Additional Unit 2 Suction Pressure | PM
Arlington | ARL | Arlington | TRV-34 | Between M85 and Gas/Oil/Tmix Manifold | PM
Arlington | ARL | Arlington | 81 | Blinded Valve off of Direct Fuels Tightline TEE | PM
Arlington | ARL | Arlington | 80 | Blinder Valve OOS 8" Piping Northside of Pump House | PM
Arlington | ARL | Arlington | BP11 | Booster Pump 11 | PM
Arlington | ARL | Arlington | BP10 | Boster Pump 10 | PM
Arlington | ARL | Arlington | TT-710 | BP 10 Case Temp RTD | PM
Arlington | ARL | Arlington | LSH-510 | BP 10 Seal Fail | PM
Arlington | ARL | Arlington | TRV-30 | BP 10 Suction Thermal | PM
Arlington | ARL | Arlington | TRV-32 | BP 10 Suction Thermal from 3" Header | PM
Arlington | ARL | Arlington | 1012 | BP 10 to M90 | PM
Arlington | ARL | Arlington | B015 | BP 10/M87 to S/L or 3" Gas Header | PM
Arlington | ARL | Arlington | TRV-39 | BP 11 Discharge Thermal | PM
Arlington | ARL | Arlington | LSH-511 | BP 11 Seal Fail | PM
Arlington | ARL | Arlington | 1036 | BP 11 to M90 | PM
Arlington | ARL | Arlington | 1011 | BP10 to S/L Manifold or 3" Gas Header | PM
Arlington | ARL | Arlington | 1111 | BP11 to M87 | PM
Arlington | ARL | Arlington | PT-651 | Direct Fuel 8" Line Pressure | PM
Arlington | ARL | Arlington | B502 | Direct Fuels 8" block Valve | PM
Arlington | ARL | Arlington | B102 | Downstream of M90 to Unit 1 | PM
Arlington | ARL | Arlington | B017 | Downstream of Valve 211 | PM
Arlington | ARL | Arlington | M85 | Explore 8" | PM
Arlington | ARL | Arlington | M93 | Fort Worth 3" | PM
Arlington | ARL | Arlington | M2N4 | From Boosters to S/L Gas Header | PM
Arlington | ARL | Arlington | M2S3 | From Boosters to S/L Oil Header | PM
Arlington | ARL | Arlington | PIT-614 | Grapevine 8" Case Pressure | PM
Arlington | ARL | Arlington | PIT-613 | Grapevine 8" Line Pressure | PM
Arlington | ARL | Arlington | PS-613 | Grapevine 8" Line Pressure Switch | PM
Arlington | ARL | Arlington | OI14 | Grapevine 8" Trap Drain | PM
Arlington | ARL | Arlington | S101 | Grapevine 8" Trap Oulet | PM
Arlington | ARL | Arlington | B104 | Grapevine 8" Upstream of PCV 611 | PM
Arlington | ARL | Arlington | ZS-211 | Grapeving 8" Trap Pig Sig | PM
Arlington | ARL | Arlington | B503 | Inlet to OOS PRV for Direct Fuels 8" | PM
Arlington | ARL | Arlington | TRV-6 | Irving 8" between PCV601 and M85 | PM
Arlington | ARL | Arlington | PIT-604 | Irving 8" Case Pressure | PM
Arlington | ARL | Arlington | PIT-603 | Irving 8" Line pressure | PM
Arlington | ARL | Arlington | PS-603 | Irving 8" Line Pressure Switch | PM
Arlington | ARL | Arlington | OI13 | Irving 8" Trap Drain | PM
Arlington | ARL | Arlington | VM-911 | Irving 8" Trap Vapor Monitor | PM
Arlington | ARL | Arlington | FT-84A | M84 Coil A | PM
Arlington | ARL | Arlington | FT-84B | M84 Coil B | PM
Arlington | ARL | Arlington | PCV-621 | M84 Control Valve | PM
Arlington | ARL | Arlington | DT-325 | M84 Density Transmitter | PM
Arlington | ARL | Arlington | X202 | M84 Downstream Valve | PM
Arlington | ARL | Arlington | BP-203 | M84 Prover Bypass | PM
Arlington | ARL | Arlington | BP-202 | M84 Prover Return | PM
Arlington | ARL | Arlington | PRV-621 | M84 Relief | PM
Arlington | ARL | Arlington | TT-725 | M84 Temperature Transmitter | PM
Arlington | ARL | Arlington | H201 | M84 Tightline to Direct Fuels 10" | PM
Arlington | ARL | Arlington | BP-201 | M84 to Prover | PM
Arlington | ARL | Arlington | H200 | M84 to S/L Header | PM
Arlington | ARL | Arlington | X201 | M84 Upstream Valve | PM
Arlington | ARL | Arlington | BP-004 | M85 & M87 Prover Header Inlet | PM
Arlington | ARL | Arlington | BP-005 | M85 & M87 Prover Header Outlet | PM
Arlington | ARL | Arlington | TRV-20 | M85 & M87 Prover Inlet Line Thermal | PM
Arlington | ARL | Arlington | TRV-23 | M85 & M87 Prover Outle Line Thermal | PM
Arlington | ARL | Arlington | FT-85A | M85 Coil A | PM
Arlington | ARL | Arlington | FT-85B | M85 Coil B | PM
Arlington | ARL | Arlington | PCV-601 | M85 Control Valve | PM
Arlington | ARL | Arlington | DT-301 | M85 Density Transmitter | PM
Arlington | ARL | Arlington | PIT-601 | M85 Pressure Transmitter | PM
Arlington | ARL | Arlington | BP003 | M85 Prover Bypass | PM
Arlington | ARL | Arlington | BP001 | M85 Prover Inlet | PM
Arlington | ARL | Arlington | BP002 | M85 Prover Outlet | PM
Arlington | ARL | Arlington | PRV-601 | M85 Relief | PM
Arlington | ARL | Arlington | FS-401 | M85 Relief Flow Switch | PM
Arlington | ARL | Arlington | TT-701 | M85 Temperatur Transmitter | PM
Arlington | ARL | Arlington | H002 | M85 to 2302 | PM
Arlington | ARL | Arlington | M2N3 | M85 to S/l Gas Header | PM
Arlington | ARL | Arlington | H003 | M85 to S/L or 3" Gas Header | PM
Arlington | ARL | Arlington | H001 | M85 to Tmix Valve | PM
Arlington | ARL | Arlington | X001 | M85 Upstream Valve | PM
Arlington | ARL | Arlington | TI-701 | M87 Certified | PM
Arlington | ARL | Arlington | FT-87A | M87 Coil A | PM
Arlington | ARL | Arlington | FT-87B | M87 Coil B | PM
Arlington | ARL | Arlington | PCV-602 | M87 Control Valve | PM
Arlington | ARL | Arlington | DT-305 | M87 Density Transmitter | PM
Arlington | ARL | Arlington | B011 | M87 Downstream of PCV 602 | PM
Arlington | ARL | Arlington | 1S01 | M87 Header Tank 2301 | PM
Arlington | ARL | Arlington | 1S02 | M87 Header Tank 2302 | PM
Arlington | ARL | Arlington | 1S03 | M87 Header Tank 2303 | PM
Arlington | ARL | Arlington | 1S04 | M87 Header Tank 2304 | PM
Arlington | ARL | Arlington | 1S11 | M87 Header Tank 2311 | PM
Arlington | ARL | Arlington | 1S12 | M87 Header Tank 2312 | PM
Arlington | ARL | Arlington | 1S13 | M87 Header Tank 2313 | PM
Arlington | ARL | Arlington | 1S14 | M87 Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-14 | M87 Header Thrmal | PM
Arlington | ARL | Arlington | 1101 | M87 Header to Suction BP 11 | PM
Arlington | ARL | Arlington | PT-605 | M87 Pressure Transmitter | PM
Arlington | ARL | Arlington | BP013 | M87 Prover Bypass | PM
Arlington | ARL | Arlington | BP012 | M87 Prover Inlet | PM
Arlington | ARL | Arlington | BP011 | M87 Prover Outlet | PM
Arlington | ARL | Arlington | TT-705 | M87 Temperature transmitter | PM
Arlington | ARL | Arlington | TRV-19 | M87 Thermal | PM
Arlington | ARL | Arlington | B012 | M87 to Gas/Oil/Tmix Maniflod | PM
Arlington | ARL | Arlington | B013 | M87 to Unit 2 | PM
Arlington | ARL | Arlington | X011 | M87 Upstream Valve | PM
Arlington | ARL | Arlington | X012 | M87 Upstream Valve | PM
Arlington | ARL | Arlington | VM-903 | M87/M90 Header Vapor Monitor | PM
Arlington | ARL | Arlington | VM-904 | M884 Vapor Monitor | PM
Arlington | ARL | Arlington | FT-90A | M90 Coil A | PM
Arlington | ARL | Arlington | FT-90B | M90 Coil B | PM
Arlington | ARL | Arlington | PCV-611 | M90 Control Valve | PM
Arlington | ARL | Arlington | DT-315 | M90 Density Transmitter | PM
Arlington | ARL | Arlington | 1N01 | M90 Header Tank 2301 | PM
Arlington | ARL | Arlington | 1N02 | M90 Header Tank 2302 | PM
Arlington | ARL | Arlington | 1N03 | M90 Header Tank 2303 | PM
Arlington | ARL | Arlington | 1N04 | M90 Header Tank 2304 | PM
Arlington | ARL | Arlington | 1N11 | M90 Header Tank 2311 | PM
Arlington | ARL | Arlington | 1N12 | M90 Header Tank 2312 | PM
Arlington | ARL | Arlington | 1N13 | M90 Header Tank 2313 | PM
Arlington | ARL | Arlington | 1N14 | M90 Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-13 | M90 Header Thermal | PM
Arlington | ARL | Arlington | 1002 | M90 Header to Suction fo BP 10 | PM
Arlington | ARL | Arlington | 1102 | M90 Header to Suction for BP 11 | PM
Arlington | ARL | Arlington | M1N1 | M90 Header Valve | PM
Arlington | ARL | Arlington | PIT-615 | M90 Pressure Transmitter | PM
Arlington | ARL | Arlington | BP103 | M90 Prover Bypass | PM
Arlington | ARL | Arlington | BP-104 | M90 Prover Header Inlet | PM
Arlington | ARL | Arlington | BP-105 | M90 Prover Header Outlet | PM
Arlington | ARL | Arlington | BP102 | M90 Prover Return | PM
Arlington | ARL | Arlington | TT-715 | M90 Temperature Transmitter | PM
Arlington | ARL | Arlington | H101 | M90 To M103/M113 | PM
Arlington | ARL | Arlington | H102 | M90 to M85 Oil/Gas/Tmix Header | PM
Arlington | ARL | Arlington | BP101 | M90 to Prover | PM
Arlington | ARL | Arlington | X101 | M90 Upstream Valve | PM
Arlington | ARL | Arlington | VM-905 | M90 Vapor Monitor | PM
Arlington | ARL | Arlington | FT-93B | M93 Coil B | PM
Arlington | ARL | Arlington | PCV-631 | M93 Control Valve | PM
Arlington | ARL | Arlington | TIT-735 | M93 Temperature Transmitter | PM
Arlington | ARL | Arlington | X301 | M93 Upstream Valve | PM
Arlington | ARL | Arlington | TI-745 | M94 Certified | PM
Arlington | ARL | Arlington | FT-94A | M94 Coil A | PM
Arlington | ARL | Arlington | FT-94B | M94 Coil B | PM
Arlington | ARL | Arlington | PCV-641 | M94 Control Valve | PM
Arlington | ARL | Arlington | DT-345 | M94 Density Transmitter | PM
Arlington | ARL | Arlington | TIT-745 | M94 Temperature Transmittier | PM
Arlington | ARL | Arlington | PIT-612 | N/L Units Suction | PM
Arlington | ARL | Arlington | 268 | OOS Valve for 2303 | PM
Arlington | ARL | Arlington | 266B | OOS Valve for 2313 | PM
Arlington | ARL | Arlington | VM-902 | Prover Area Vapor Moniter | PM
Arlington | ARL | Arlington | TRV-21 | Prover Header Inlet Thermal | PM
Arlington | ARL | Arlington | PT-685 | Prover Pressure Transmitter | PM
Arlington | ARL | Arlington | I003 | PRV 601 Inlet | PM
Arlington | ARL | Arlington | I004 | PRV 601 Outlet | PM
Arlington | ARL | Arlington | I001 | PRV 621 Inlet | PM
Arlington | ARL | Arlington | 2N01 | S/L Gas Header Tank 2301 | PM
Arlington | ARL | Arlington | 2N03 | S/L Gas Header Tank 2303 | PM
Arlington | ARL | Arlington | 2N04 | S/L Gas Header Tank 2304 | PM
Arlington | ARL | Arlington | 2N11 | S/L Gas Header Tank 2311 | PM
Arlington | ARL | Arlington | 2N13 | S/L Gas Header Tank 2313 | PM
Arlington | ARL | Arlington | 2N14 | S/L Gas Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-11 | S/L Gas Header Thermal | PM
Arlington | ARL | Arlington | M2N2 | S/L Gas Header Tombstone Valve | PM
Arlington | ARL | Arlington | I009 | S/L Header Fill Line | PM
Arlington | ARL | Arlington | I010 | S/L Header Fill Line | PM
Arlington | ARL | Arlington | 2N09 | S/L Header Tank 2309 | PM
Arlington | ARL | Arlington | TRV-38 | S/L Header Thermal between M2N1 & 2N09 | PM
Arlington | ARL | Arlington | TRV-37 | S/L Header Thermal between M2S1 & M2S2 | PM
Arlington | ARL | Arlington | PT-623 | S/L Meter/Line Pressure | PM
Arlington | ARL | Arlington | 2S01 | S/L OIl Header Tank 2301 | PM
Arlington | ARL | Arlington | 2S02 | S/L Oil Header Tank 2302 | PM
Arlington | ARL | Arlington | 2S03 | S/L Oil Header Tank 2303 | PM
Arlington | ARL | Arlington | 2S04 | S/L Oil Header Tank 2304 | PM
Arlington | ARL | Arlington | 2S11 | S/L Oil Header Tank 2311 | PM
Arlington | ARL | Arlington | 2S12 | S/L Oil Header Tank 2312 | PM
Arlington | ARL | Arlington | 2S13 | S/L Oil Header Tank 2313 | PM
Arlington | ARL | Arlington | 2S14 | S/L Oil Header Tank 2314 | PM
Arlington | ARL | Arlington | TRV-12 | S/L Oil Header Thermal | PM
Arlington | ARL | Arlington | M2S2 | S/L Oil header to 2309 | PM
Arlington | ARL | Arlington | M2S1 | S/L Oil Header Valve | PM
Arlington | ARL | Arlington | ZS-221 | S/L Pig Sig | PM
Arlington | ARL | Arlington | BP-204 | S/L Prover Header Inlet | PM
Arlington | ARL | Arlington | BP-205 | S/L Prover Header Outlet | PM
Arlington | ARL | Arlington | B200 | S/L to 3" Oil Header | PM
Arlington | ARL | Arlington | X204 | Spare M84 Run Downstream Valve | PM
Arlington | ARL | Arlington | X203 | Spare M84 Run Upstream Valve | PM
Arlington | ARL | Arlington | LT-520 | Sump Level Tranmitter | PM
Arlington | ARL | Arlington | VM-901 | Sump Vapor Monitor | PM
Arlington | ARL | Arlington | M94 | The 6" | PM
Arlington | ARL | Arlington | I017 | Truck Unload Valve to 2302 | PM
Arlington | ARL | Arlington | I024 | Truck Unload Valve to 2312 | PM
Arlington | ARL | Arlington | B801 | Unit 1 & 2 Isolation Valve | PM
Arlington | ARL | Arlington | B802 | Unit 1 & 2 Isolation Valve | PM
Arlington | ARL | Arlington | B103 | Unit 1 & 3 Isolation Valve | PM
Arlington | ARL | Arlington | PIT-611 | Unit 1 Case | PM
Arlington | ARL | Arlington | 111 | Unit 1 Discharge Valve | PM
Arlington | ARL | Arlington | LSH-501 | Unit 1 Seal Fail | PM
Arlington | ARL | Arlington | PIT-610 | Unit 1 Suction | PM
Arlington | ARL | Arlington | 101 | Unit 1 Suction Valve | PM
Arlington | ARL | Arlington | PIT-621 | Unit 2 Case Pressure | PM
Arlington | ARL | Arlington | 211 | Unit 2 Discharge Valve | PM
Arlington | ARL | Arlington | LSH-502 | Unit 2 Seal Fail | PM
Arlington | ARL | Arlington | PIT-620 | Unit 2 Suction Pressure | PM
Arlington | ARL | Arlington | 201 | Unit 2 Suction Valve | PM
Arlington | ARL | Arlington | PIT-631 | Unit 3 Case Pressure | PM
Arlington | ARL | Arlington | 311 | Unit 3 Discharge Valve | PM
Arlington | ARL | Arlington | LSH-503 | Unit 3 Seal Fail | PM
Arlington | ARL | Arlington | PIT-630 | Unit 3 Suction Pressure | PM
Arlington | ARL | Arlington | 301 | Unit 3 Suction Valve | PM
Arlington | ARL | Arlington | VM-908 | Unit 3 Vapor Monitor | PM
Arlington | ARL | Arlington | 411 | Unit 4 Discharge Valve | PM
Arlington | ARL | Arlington | LSH-504 | Unit 4 Seal Fail | PM
Arlington | ARL | Arlington | PS-640 | Unit 4 Suction Switch | PM
Arlington | ARL | Arlington | 401 | Unit 4 Suction Valve | PM
Arlington | ARL | Arlington | 511 | Unit 5 Discharge Valve | PM
Arlington | ARL | Arlington | LSH-505 | Unit 5 Seal Fail | PM
Arlington | ARL | Arlington | PIT-650 | Unit 5 Suction Pressure | PM
Arlington | ARL | Arlington | 501 | Unit 5 Suction Valve | PM
Arlington | ARL | Arlington | B803 | Unit 5 to 3" Valve | PM
Arlington | ARL | Arlington | B804 | Unit 5 to 6" Valve | PM
Arlington | ARL | Arlington | VM-907 | Unit 5 Vapor Monitor | PM
Arlington | ARL | Arlington | PT-671 | Unit 7 Case Pressure | PM
Arlington | ARL | Arlington | 711 | Unit 7 Discharge Valve | PM
Arlington | ARL | Arlington | LSH-507 | Unit 7 Seal Fail | PM
Arlington | ARL | Arlington | PS-670 | Unit 7 Suction Switch | PM
Arlington | ARL | Arlington | 701 | Unit 7 Suction Valve | PM
Arlington | ARL | Arlington | B018 | Upstream of M87 Control Valve | PM
Arlington | ARL | Arlington | B101 | Upstream of M90 X101 | PM
Arlington | ARL | Arlington | B016 | Upstream of Valve 201 | PM
Arlington | ARL | Arlington | B504 | Used to line up for a Delivery from Direct Fuels | PM
Arlington | ARL | Arlington | B505 | Used to line up for a Delivery from Direct Fuels | PM
Arlington | ARL | Arlington | I018 | Vac Truck off Load Valve | PM
Arlington | ARL | Arlington | B800 | Valve Used For M87 to Grapevine | PM
Arlington | ARL | Arlington | VM-909 | Vapor Monitor Unit 1 | PM
Arlington | ARL | Arlington | VT-873 | Vibraion Transmitter PIB Unit 7 | PM
Arlington | ARL | Arlington | VT-810 | Vibration Transmitter MIB Unit 1 | PM
Arlington | ARL | Arlington | VT-802 | Vibration Transmitter MIB Unit 2 | PM
Arlington | ARL | Arlington | VT-830 | Vibration Transmitter MIB Unit 3 | PM
Arlington | ARL | Arlington | VT-840 | Vibration Transmitter MIB Unit 4 | PM
Arlington | ARL | Arlington | VT-850 | Vibration Transmitter MIB Unit 5 | PM
Arlington | ARL | Arlington | VT-870 | Vibration Transmitter MIB Unit 7 | PM
Arlington | ARL | Arlington | VT-813 | Vibration Transmitter PIB Unit 1 | PM
Arlington | ARL | Arlington | VT-823 | Vibration Transmitter PIB Unit 2 | PM
Arlington | ARL | Arlington | VT-833 | Vibration Transmitter PIB Unit 3 | PM
Arlington | ARL | Arlington | VT-843 | Vibration Transmitter PIB Unit 4 | PM
Arlington | ARL | Arlington | VT-853 | Vibration Transmitter PIB Unit 5 | PM