## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Wood River | Weldon Spring | 202 | 006402 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273205-1 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 203 | 006403 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0228048712-1 | 6", ANSI 150 | FE-FE |  | 50990-7L01-01
Wood River | Weldon Spring | 204 | 006404 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273214-1 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 205 | 006405 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273215-1 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 206 | 006406 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273224-1 | 16", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 207 | 006407 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0227273225-1 | 16", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 209 | 006408 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B4-C | 0227273230-1 | 4", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 210 | 006409 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11493833-9 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 211 | 006410 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11493833-10 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 220 | 006411 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 110158143-1 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | 221 | 006412 | Ball Valve | Valve | Ball | Cameron | Cooper | Type 31 | 11493833-12 | 24", ANSI 600 | FE-FE |  | 50990-7L01-00
Wood River | Weldon Spring | AE921 | 006416 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4735
Wood River | Weldon Spring | AE922 | 006417 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACL1216
Wood River | Weldon Spring | AE923 | 006418 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4719
Wood River | Weldon Spring | AE924 | 006419 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC4750
Wood River | Weldon Spring | B01 | 009524 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Limitorque | Limitorque | B320-50 | L424730
Wood River | Weldon Spring | B02 | 006421 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030005 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B03 | 006422 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423 RF | JA1017614 | 2"x1 11/16", ANSI 600 | FE-FE
Wood River | Weldon Spring | B04 | 006423 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423 RF | JA919186 | 2"x1 11/16", ANSI 600 | FE-FE
Wood River | Weldon Spring | B05 | 006424 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030004 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B06 | 006425 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423 RF | JA1020319 | 2"x1 11/16", ANSI 600 | FE-FE
Wood River | Weldon Spring | B07 | 006426 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423 RF | JA1023854 | 2"x1 11/16", ANSI 600 | FE-FE
Wood River | Weldon Spring | B08 | 006427 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202020002 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B09 | 006428 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123H RF | 110202040002 | 3", ANSI 150 | FE-FE
Wood River | Weldon Spring | B10 | 006429 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202020003 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B12 | 006430 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423 | 798565 | 2"x1 11/16", ANSI 600 | FE-FE
Wood River | Weldon Spring | B13 | 006431 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202020001 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B15 | 006433 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202020005 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B17 | 006434 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202020004 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B19 | 006435 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030007 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B21 | 006436 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030001 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B23 | 006437 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0228328912-2 | 10", ANSI 600 | FE-FE
Wood River | Weldon Spring | B24 | 006438 | Ball Valve | Valve | Ball | Dresser Flow Control | Grove | B5 | 0228328912-1 | 10", ANSI 600 | FE-FE
Wood River | Weldon Spring | B26 | 006439 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 11020203008 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B27 | 006440 | Gate Valve | Valve | Gate | Grove | Rebuilt by OFM | Seal-O-Ring | 23767 | 24", ANSI 400
Wood River | Weldon Spring | B32 | 006441 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110202060001 | 6", ANSI 150 | FE-FE
Wood River | Weldon Spring | B33 | 006442 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110202050004 | 4", ANSI 150 | FE-FE
Wood River | Weldon Spring | B35 | 006443 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 2133H RF | 862918 | 2"x1 11/16", ANSI 150 | FE-FE
Wood River | Weldon Spring | B36 | 006444 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110202050002 | 4", ANSI 150 | FE-FE
Wood River | Weldon Spring | B37 | 006445 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110202050005 | 4", ANSI 150 | FE-FE
Wood River | Weldon Spring | B38 | 006446 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1130 RF | JA1094067 | 2"x1 11/16", ANSI 150 | FE-FE
Wood River | Weldon Spring | B39 | 006447 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110202050001 | 4", ANSI 150 | FE-FE
Wood River | Weldon Spring | B40 | 006448 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H | JA1096510R | 2"x1 11/16", ANSI 150 | FE-FE
Wood River | Weldon Spring | B42 | 006449 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030003 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B43 | 006450 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030002 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B44 | 006451 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1423H RF | 110202030006 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | B48 | 006454 | Ball Valve | Valve | Ball | Cameron | Orbit | Figure 1123SH RF | 110202050003 | 4", ANSI 150 | FE-FE
Wood River | Weldon Spring | BS | 006455 | 24VDC Battery Charger | Battery Charger | 24VDC | Alcad | Alcad | TLRF24-125E | 142661
Wood River | Weldon Spring | C11 | 006456 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Undefined | 021800158 | 24", ANSI 600 | FE-FE
Wood River | Weldon Spring | C16 | 006457 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Undefined | 021800158 | 24", ANSI 600 | FE-FE
Wood River | Weldon Spring | C18 | 006458 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Undefined | 021800160 | 24", ANSI 600 | FE-FE
Wood River | Weldon Spring | C20 | 006459 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Undefined | 021700078 | 24", ANSI 600 | FE-FE
Wood River | Weldon Spring | C22 | 006460 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | Figure 1565 | 28136661 | 6", ANSI 600 | FE-FE
Wood River | Weldon Spring | C25 | 006461 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Daniel | Daniel | Undefined | 021700077 | 24", ANSI 600 | FE-FE
Wood River | Weldon Spring | C31 | 006465 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | Figure 1565 | 28136649-1 | 4", ANSI 600 | FE-FE
Wood River | Weldon Spring | C34 | 006466 | Swing Check Valve | Valve | Swing Check | Dresser Flow Control | Wheatley | Figure 1515 | 28136673-1 | 4", ANSI 150 | FE-FE
Wood River | Weldon Spring | FSH-402 | 006470 | Flow Switch | Switch | Flow | SOR |  | 901A-F2A-B-F4-N7-CSTT | 030405794
Wood River | Weldon Spring | LSHH-501 | 006473 | Level Switch | Switch | Level | SOR | SOR | 371-U24-C3A-FM | 020504255
Wood River | Weldon Spring | LSHH-503 | 006474 | Level Switch | Switch | Level | SOR | SOR | 701K1-U-P6-C-FMTT | 020504235
Wood River | Weldon Spring | LT-504 | 006475 | Level Transmitter | Transmitter | Level | SAAB |  |  | 8901
Wood River | Weldon Spring | PCV640 | 006478 | Surge Relief Valve | Valve | Surge Relief | Daniel | Daniel | Figure S0108518S0-200 | 0210-108518S02 | 10", ANSI 600 | FE-FE
Wood River | Weldon Spring | PIT-601 | 006481 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219875
Wood River | Weldon Spring | PIT-602 | 006482 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219682
Wood River | Weldon Spring | PIT-603 | 006483 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1120501
Wood River | Weldon Spring | PIT-604 | 006484 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1373936
Wood River | Weldon Spring | PIT-607 | 006485 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG4A22A1AB4E5M5DF | 1219861
Wood River | Weldon Spring | PIT-608 | 006486 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219686
Wood River | Weldon Spring | PIT-611 | 006487 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219687
Wood River | Weldon Spring | PIT-621 | 006488 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1219599
Wood River | Weldon Spring | PT-601A | 006491 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219841
Wood River | Weldon Spring | PT-603A | 006492 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5DF | 1219684
Wood River | Weldon Spring | PV603 | 006495 | Ball Valve | Valve | Ball | Fisher | Fisher | V260C | 16239988 | 16", ANSI 600 | FE-FE
Wood River | Weldon Spring | PV603 | 009256 | Electraulic Valve Actuator | Valve Actuator | Electraulic | Rexa | Rexa | R100000-90-.5DP9-P-0 | C020306-1-1
Wood River | Weldon Spring | SP-101 | 008696 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | Not Found | 200056-6 |  |  |  | Willbros
Wood River | Weldon Spring | STR-101 | 006498 | Strainer | Strainer |  | Weamco | Weamco | Strainer Vessel | 0201-062F |  | FE-FE
Wood River | Weldon Spring | TP-101 | 006502 | Positive Displacement Pump | Pump | Positive Displacement | Wheatley Gaso | Gaso | 1550 | 52068 | 3 1/2" Plunger, 126 GPM
Wood River | Weldon Spring | TR-1 | 006503 | Thermal Relief | Thermal Relief |  | Farris Engineering |  | 27EA34-M4054 | 445120-21-KE
Wood River | Weldon Spring | TR-2 | 006505 | Thermal Relief | Thermal Relief |  | Farris Engineering |  | 27EA34-M4054 | 445120-11-KE
Wood River | Weldon Spring | TT-701 | 006506 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0449295
Wood River | Weldon Spring | TT-702 | 006507 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5T1B4X1C2 | 0416666
Wood River | Weldon Spring | TT-704 | 006508 | Temperature Transmitter | Transmitter | Temperature | Rosemount | Rosemount | 3144PD1A1E5X1B4T1C2 | 0404910
Wood River | Weldon Spring | TT-707 | 006509 | Temperature Transmitter | Transmitter | Temperature |  |  |  | 0110056
Wood River | Weldon Spring | VFD-100 | 006513 | Variable Frequency Drive | Variable Frequency Drive |  | Robicon | Harmony Drive 5000HP, 3733KW | P/N 459795.00 | 04810
Wood River | Weldon Spring | VFD-REACTOR | 008554 | VFD Reactor | Reactor | VFD |  |  |  | U37373
Wood River | Weldon Spring | B01 | 006420 | Gate Valve | Valve | Gate | M & J | M & J | M303 | 17725 | 24", ANSI 400
Wood River | Weldon Spring | B27 | 009535 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator | Grove | Grove | Seal-O-Ring
Wood River | Weldon Spring | BS | 009258 | 24VDC Battery Cells | Battery Cells | 24VDC | Fiamm | Monolite | 2SLA500
Wood River | Weldon Spring | C41 | 006467 | Swing Check Valve | Valve | Swing Check | Hamer - Judd |  |  |  | 2", ANSI 600 | FE-FE
Wood River | Weldon Spring | LIT-502 | 006472 | Level Transmitter | Transmitter | Level | SAAB | Tank Radar Pro | 8893
Wood River | Weldon Spring | PSV-641 | 006489 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81PS1 M88-8
Wood River | Weldon Spring | PSV-643 | 006490 | Thermal Relief | Thermal Relief |  | Anderson Greenwood Crosby |  | 81S1 M88-4