## WebTMAExport
Area Name | Location Name | Slot # | Tag # | Description | Type Desc | Subtype Desc | Manufacturer | Make | Model # | Serial # | Size - Class | Connection Type | Date Purchased | Purchase Order #
Glenpool | Vinita | 10 | 010684 | Gate Valve | Valve | Gate | Smith |  |  |  | 2", ANSI 300 | FE-FE
Glenpool | Vinita | 11 | 010685 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Glenpool | Vinita | 12 | 010686 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Glenpool | Vinita | 15 | 010687 | Gate Valve | Valve | Gate |  |  |  |  | 2", ANSI 600 | FE-FE
Glenpool | Vinita | 1501 | 009548 | Bevel Gear Operator Gearbox | Gearbox | Bevel Gear Operator
Glenpool | Vinita | 1501 | 005653 | Gate Valve | Valve | Gate | M & J | M & J | M303 | 17723 | 24", ANSI 400
Glenpool | Vinita | 1502 | 007095 | Gate Valve | Valve | Gate | Cameron | Grove | G4 | 129901-1 | 24", ANSI 400 |  |  | 1344
Glenpool | Vinita | 1502 | 009752 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 24" Gate | 71-12457-1
Glenpool | Vinita | 1504 | 005654 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | WE-WE |  | 1344
Glenpool | Vinita | 1504 | 009753 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate | 71-12482-1
Glenpool | Vinita | 1505 | 005655 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | WE-WE |  | 1344
Glenpool | Vinita | 1505 | 009754 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 20" Gate | 71-12481-1
Glenpool | Vinita | 1506 | 005656 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 16", ANSI 400 | WE-WE |  | 1344
Glenpool | Vinita | 1506 | 009755 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 71-12456-1
Glenpool | Vinita | 1507 | 005657 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 16", ANSI 400 | WE-WE |  | 1344
Glenpool | Vinita | 1507 | 009756 | Hydraulic Valve Actuator | Valve Actuator | Hydraulic | Shafer | Shafer | 16" Gate | 71-12480-1
Glenpool | Vinita | 1510 | 005660 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | SMB-2 | 271188 |  |  |  | 3B6035C
Glenpool | Vinita | 1510 | 005658 | Gate Valve | Valve | Gate | Cameron | Grove | G12 |  | 20", ANSI 400 | FE-FE
Glenpool | Vinita | 1511 | 005661 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | SMB-2 | 271189 |  |  |  | 3B6035C
Glenpool | Vinita | 1511 | 005659 | Gate Valve | Valve | Gate | Cameron | Grove | G12 |  | 20", ANSI 400 | FE-FE
Glenpool | Vinita | 1530 | 010466 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | SMB-3 | 271893 |  |  |  | 3B6035A
Glenpool | Vinita | 1530 | 005662 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 400 | FE-WE |  | 1344
Glenpool | Vinita | 1531 | 010467 | Electric Valve Actuator | Valve Actuator | Electric | Limitorque | Limitorque | SMB-3 | 271894 |  |  |  | 3B6035B
Glenpool | Vinita | 1531 | 005663 | Gate Valve | Valve | Gate | Cameron | Grove | G4 |  | 20", ANSI 600 | FE-WE |  | 1344
Glenpool | Vinita | 20 | 010688 | Gate Valve | Valve | Gate | Crane |  |  |  | 4", ANSI 150 | FE-FE
Glenpool | Vinita | 50 | 005664 | Valve | Valve | Swing Check |  | Judd |  |  | 2", ANSI 300 | FE-FE
Glenpool | Vinita | 51 | 005665 | Valve | Valve | Swing Check |  | Wheatley |  |  | 2", ANSI 600 | FE-FE
Glenpool | Vinita | 52 | 005666 | Valve | Valve | Swing Check |  |  |  |  | 6", ANSI 400 | FE-FE
Glenpool | Vinita | BS-1 | 010702 | 24VDC Battery Cells | Battery Cells | 24VDC | Alcad |  | LCE185P
Glenpool | Vinita | BS-1 | 010703 | 24VDC Battery Charger | Battery Charger | 24VDC | La Marche |  | A12B
Glenpool | Vinita | Chart Recorder | 005685 | Chart Recorder | Chart Recorder |  | Yokogawa
Glenpool | Vinita | CV1502 | 005667 | Control Valve | Valve | Control | Fisher |  |  | DTD#36691 / 2769 | 16", ANSI 600 | FE-FE | 2011-12-01
Glenpool | Vinita | DRA | 005668 | DRA Injection System | DRA Injection System
Glenpool | Vinita | Generic | 005669 | Generic | Generic
Glenpool | Vinita | HP-101 | 010470 | Horizontal Motor | Motor | Horizontal | Elektrim |  | LR40599 | G058830
Glenpool | Vinita | HP-101 | 005670 | Variable Volume Pump | Pump | Variable Volume | Parker |  | PAVC332L4H26 | H29U075
Glenpool | Vinita | HP-102 | 010480 | Horizontal Motor | Motor | Horizontal | Emerson |  | EL22 | S402875
Glenpool | Vinita | HP-102 | 005671 | Variable Volume Pump | Pump | Variable Volume | Parker |  | PAVC332LH26 | D22T053
Glenpool | Vinita | LSH-504 | 010689 | Level Switch | Switch | Level | Magnetrol |  | 961-2BAO-030/9A1-A11A-024 | 645659-01-001
Glenpool | Vinita | LSH-510 | 005675 | Level Switch | Switch | Level
Glenpool | Vinita | LSH-530 | 005673 | Level Switch | Switch | Level
Glenpool | Vinita | LSHH-502 | 005674 | Level Switch | Switch | Level | Magnetrol |  | 91S-A1A2-F10/9B1-1221-024 | 450046-01-008
Glenpool | Vinita | LT-501 | 005676 | Level Transmitter | Transmitter | Level | MTS |  | MRA1C1B11A0U0226S | 149727-01-001
Glenpool | Vinita | LT-503 | 005677 | Level Transmitter | Transmitter | Level | K-TEK |  | AT100/S6/LW/A/R1/H0/M4A/X/EN/CE/E26T-1/132 | 99-T0276
Glenpool | Vinita | ML1 | 005678 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Spring) |  | 24", ANSI 400 | FE-FE |  | 1395
Glenpool | Vinita | ML2 | 005679 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Spring) |  | 24", ANSI 400 | FE-FE |  | 1395
Glenpool | Vinita | MLP-1-Motor | 008525 | Horizontal Motor | Motor | Horizontal
Glenpool | Vinita | MLP-1-Pump | 005702 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Glenpool | Vinita | MLP-3-Motor | 008526 | Horizontal Motor | Motor | Horizontal
Glenpool | Vinita | MLP-3-Pump | 005703 | Horizontal-Centrifugal Pump | Pump | Horizontal-Centrifugal
Glenpool | Vinita | P1 | 005680 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Spring) |  | 20", ANSI 400 | FE-FE
Glenpool | Vinita | P3 | 005682 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Spring) |  | 20", ANSI 600 | FE-FE |  | 1395
Glenpool | Vinita | PIT-601 | 005699 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4D4E5M5DF | 2763660
Glenpool | Vinita | PIT-602 | 010690 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A52A1AB4E5M5 | 0993618
Glenpool | Vinita | PIT-608 | 005700 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4D4E5M5DF | 2763662
Glenpool | Vinita | PIT-611 | 005701 | Pressure Transmitter | Transmitter | Pressure | Rosemount | Rosemount | 3051CG5A22A1AB4E5M5DF | 1545113
Glenpool | Vinita | Pressure Controller | 005683 | PID Process Controller | Process Controller | PID
Glenpool | Vinita | PSH-601A | 005688 | Pressure Switch | Switch | Pressure
Glenpool | Vinita | PSH-602 | 005689 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K697414
Glenpool | Vinita | PSH-605 | 005690 | Pressure Switch | Switch | Pressure | United Electric | United Electric | J120-194 | J120# 226426
Glenpool | Vinita | PSH-607 | 005691 | Pressure Switch | Switch | Pressure | United Electric | United Electric | J120-194 | K1412069
Glenpool | Vinita | PSH-611 | 005692 | Pressure Switch | Switch | Pressure
Glenpool | Vinita | PSHH-611 | 005693 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15194 | K726952
Glenpool | Vinita | PSL-601 | 005694 | Pressure Switch | Switch | Pressure
Glenpool | Vinita | PSL-604 | 005695 | Pressure Switch | Switch | Pressure | United Electric | United Electric | QJ120-15190 | K915893
Glenpool | Vinita | PSL-606 | 005696 | Pressure Switch | Switch | Pressure | United Electric | United Electric | J120-190 | K1028662
Glenpool | Vinita | PSL-613 | 005697 | Pressure Switch | Switch | Pressure
Glenpool | Vinita | PSLL-614 | 005698 | Pressure Switch | Switch | Pressure
Glenpool | Vinita | SD1 | 005704 | Spring Loaded Check Valve | Valve | Spring Loaded Check | Frank Wheatley | Frank Wheatley | Figure 5FR (Spring) |  | 20", ANSI 400 | FE-FE |  | 1395
Glenpool | Vinita | SP-101 | 005705 | Vertical Can-Sump Pump | Vertical Can-Sump Pump |  | RuhrPumpen | RuhrPumpen | 600 VLT | 801669-2 |  |  |  | 30025
Glenpool | Vinita | SP-101 | 008527 | Vertical-Sump Motor | Motor | Vertical-Sump | US Motors |  | F-4499-00-171 |  |  |  |  | 1356
Glenpool | Vinita | ST-101 | 010691 | Sump Tank | Tank | Sump
Glenpool | Vinita | STR-101 | 005706 | Strainer | Strainer
Glenpool | Vinita | SWGR | 008528 | Switchgear | Switchgear
Glenpool | Vinita | TK-393 | 000393 | Transmix Tank | Tank | Transmix | [6 empty] | 1971-01-01
Glenpool | Vinita | TP-101 | 010490 | Horizontal Motor | Motor | Horizontal | Marathon Electric |  | 364TTFS7030DD | 8D-988-75-162-4
Glenpool | Vinita | TP-101 | 005707 | Positive Displacement Pump | Pump | Positive Displacement | Gaso | Gaso | Series 1600 | 35227 | 2 1/2 - 5 x 8
Glenpool | Vinita | TRV-101 | 005708 | Thermal Relief | Thermal Relief |  |  | A-G-C | 951201MA | 01-22661
Glenpool | Vinita | TRV-102 | 005709 | Thermal Relief | Thermal Relief |  |  | Crosby Valve | 951101FA | VA015828601
Glenpool | Vinita | TRV-103 | 005710 | Thermal Relief | Thermal Relief |  |  | Anderson Greenwood Crosby | 961300MA | 02-30578
Glenpool | Vinita | TRV-104 | 005711 | Thermal Relief | Thermal Relief |  |  | Teledyne Farris Engineer | 2741 | 55513-KA
Glenpool | Vinita | TRV-105 | 005712 | Thermal Relief | Thermal Relief |  | Hydroseal |  | 1BV00N/D5 | 733-4
Glenpool | Vinita | TRV-107 | 005713 | Thermal Relief | Thermal Relief |  | Hydroseal |  | 1BV00N/D5 | 733-3 |  |  | 2005-02-01
Glenpool | Vinita | U1 | 005714 | Valve | Valve
Glenpool | Vinita | U10 | 005715 | Valve | Valve | Ball | Cameron | Orbit | Figure 1433H RF | JC1199051 | 2", ANSI 600 | FE-FE
Glenpool | Vinita | U11 | 005716 | Ball Valve | Valve | Ball | Cameron | Orbit | Rebuilt Valve | J-S Machine & Valve ID #2099-3 | 6", ANSI 400 | FE-FE | 2014-08-26 | JSS-JSMV-062414
Glenpool | Vinita | U12 | 005717 | Valve | Valve | Ball | Cameron | Orbit
Glenpool | Vinita | U13 | 005718 | Valve | Valve | Expanding Gate | WKM | WKM | POW-R-SEAL | 493164-1 | 2", ANSI 600 | FE-FE
Glenpool | Vinita | U14 | 005719 | Valve | Valve
Glenpool | Vinita | U15 | 005720 | Valve | Valve
Glenpool | Vinita | U16 | 005721 | Valve | Valve | Ball | Cameron | Orbit |  |  | 2", ANSI 600 | FE-FE
Glenpool | Vinita | U17 | 005722 | Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 600 | FE-FE
Glenpool | Vinita | U18 | 005723 | Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 400 | FE-FE
Glenpool | Vinita | U20 | 010692 | Gate Valve | Valve | Ball | Cameron | Orbit |  |  | 4", ANSI 600 | FE-FE
Glenpool | Vinita | U21 | 010693 | Gate Valve | Valve | Ball | Cameron | Orbit |  |  | 6", ANSI 150 | FE-FE
Glenpool | Vinita | U22 | 010694 | Gate Valve | Valve | Gate | [5 empty] | FE-FE
Glenpool | Vinita | U23 | 010695 | Gate Valve | Valve | Plug | General Valve | General Twin Seal |  |  |  | FE-FE
Glenpool | Vinita | U24 | 010696 | Gate Valve | Valve | Plug | General Valve | General Twin Seal |  |  |  | FE-FE
Glenpool | Vinita | U3 | 005724 | Valve | Valve
Glenpool | Vinita | U4 | 005725 | Valve | Valve
Glenpool | Vinita | U5 | 005726 | Valve | Valve
Glenpool | Vinita | U6 | 005727 | Valve | Valve
Glenpool | Vinita | U7 | 005728 | Valve | Valve
Glenpool | Vinita | U8 | 005729 | Valve | Valve
Glenpool | Vinita | U9 | 005730 | Valve | Valve
Glenpool | Vinita | VM1 | 010697 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | SC-100
Glenpool | Vinita | VM2 | 010698 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000CH | 1593445
Glenpool | Vinita | VM3 | 010699 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ABV6435
Glenpool | Vinita | VM4 | 010700 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | SC-100
Glenpool | Vinita | VM5 | 010701 | Hazardous Atmosphere Transmitter | Transmitter | Hazardous Atmosphere | General Monitors | General Monitors | S4000C | ACC7741
Glenpool | Vinita | VT-101 | 005731 | Vibration Transmitter | Transmitter | Vibration
Glenpool | Vinita | VT-103 | 005732 | Vibration Transmitter | Transmitter | Vibration
Glenpool | Vinita | ZS-301 | 005733 | Sphere Detector | Sphere Detector
Glenpool | Vinita | ZS-302 | 005734 | Sphere Detector | Sphere Detector
Glenpool | Vinita | ZS-303 | 005735 | Sphere Detector | Sphere Detector
Glenpool | Vinita | ZS-304 | 005736 | Sphere Detector | Sphere Detector